| Index | Pages |
| --- | --- |
| Annexure - A (For UG 50 Seats and PG Courses) | 2 - 68 |
| Annexure – B (For UG 100 Seats and PG Courses) | 69 – 135 |
| Annexure – C (For UG 150 Seats and PG Courses) | 136 - 199 |

RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA

4th “T” Block, Jayanagar, Bangalore – 560 041

ANNEXURE -A

MEDICAL  FACULTY

[FOR UG 50 SEATS AND PG COURSES]

| Courses Inspected For |
| --- |
| Faculty/Subject | Continuation of Affiliation |  |  |
| Under Graduate |
| MBBS |  |  |  |
| Post Graduate [MD, MS AND DIPLOMA] |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |
| Any other course |  |  |  |

To enclose relevant documents

Whether other Educational Institutions are also being run by the Trust / Institution in the same building / campus? Provide details

Name and address of Mangt: Institution: Whether located in the same building or campus

To enclose relevant documents: Annexure No. and Page No.

FINANCIAL STATUS OF THE INSTITUTION

(Audited financial Statement of Institution should be furnished in the following format)

##### Receipts & Expenditure for the year 2008 – 2009

| Receipts |  | Expenditure | Remarks |
| --- | --- | --- | --- |
| Sl. No. | Particulars | Amount |  | Sl. No | Particulars | Amount |  |
|  |  |  |  | CAPITAL EXPENDITURE |  |
| 1 | Grants Government Others |  |  | 1 | Building |  |  |
| 2 | Donations |  |  | 2 | Equipments |  |  |
|  |  |  |  | 3 | Others |  |  |
|  |  |  |  | REVENUE EXPENDITURE |  |
| 3 | Capitation Fee |  |  | 1 | Salary |  |  |
|  |  |  |  | 2 | MAINTAINANCE EXPENDITURE |  |
| 4 | Tuition Fee |  |  |  | i | College |  |  |
|  |  |  |  |  | ii | Hospital |  |  |
| 5 | Library Fee |  |  |  | iii | Others |  |  |
|  |  |  |  | 3 | University Fee |  |  |
| 6 | Sports Fee |  |  | 4 | Apex Bodies Fee |  |  |
|  |  |  |  | 5 | Government Fee |  |  |
| 7 | Union Fee |  |  | 6 | Deposit held by the College |  |  |
|  |  |  |  | 7 | Others |  |  |
| 8 | Others |  |  | 8 | Misc. Expenditure |  |  |
| Total |  |  | Total |  |  |

To enclose relevant documents: Annexure No.          and Page No.

| PART – I (GENERAL INFORMATION) |
| --- |
| Name of the Principal |  |
| Qualification |  |
| Experience |  |
| Status of the College: (Independent / Wing of another College) (own building or rented) |  |
| For Institution Seeking Continuation of affiliation |  |
| Date of Last Inspection |  |
| UG - (Mention the Course) |  |
| PG - (Mention the Course) |  |

| Governing Council body members (Whether it is under the management of a regularly constituted governing body, if so, furnish the list of personnel of the governing bodies) | Status of Hospital: 1. Bed Strength 2. Institution attached 3. Distance of Hospital and College 4. Primary Health Centre attached and its distance |
| --- | --- |

| Maintainance of: - | Yes | No |
| --- | --- | --- |
| a. Individual Service Registers: |  |  |
| b. Staff Attendance Registers: |  |  |
| c. Acquaintance Registers: |  |  |
| d. Staff Pay Registers: |  |  |
| e. Fee Paid Registers: |  |  |
| f. Admissions Registers: |  |  |
| g. Stock Book Register Central and Departmental |  |  |
| h. Vehicle Register |  |  |

Pay Scales:

| Staff | UGC/GOK /Apex Body | PF Benefit/Pension Benefits | Remarks |
| --- | --- | --- | --- |
| Teaching Staff |  |  |  |
| Non – Teaching Staff |  |  |  |

Percentage of UG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| 1st Year |  |  |  |
| 2nd Year |  |  |  |
| 3rd Year |  |  |  |
| Final Year |  |  |  |

Percentage of PG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |

Admission status for past three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| Sanctioned |  |  |  |
| No. of Admissions |  |  |  |
| No. of Excess Admissions |  |  |  |
| Unfilled Seats |  |  |  |

In the last five years whether affiliation of this institution has been discontinued and admissions stopped? If so why? Give reasons

Report of the Action Taken on the Conditions laid down in the previous year's Affiliation Notification: -

| Library | No. of Books | No. of Indian Journals | No. of International Journals |
| --- | --- | --- | --- |
| Central Library |  |  |  |
| Departmental Library |  |  |  |
| Do the College have got the membership of Helinet (Digital Library) | YES / NO |
|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
| Fees a. Helinet Institutional annual fee : give details |  |  |  |  |  |  |
| b. Helinet Student annual fees for total number of students for all the years : |  |  |  |  |  |  |

# Part II

INFRASTRUCTURE

| Sl.No. | Required | ACTUAL INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | COLLEGE |  |  |  |
| A1. | GENERAL |  |  |  |
| A1.1 | CAMPUS |  |  |  |
|  | Unitary campus of not less than 25 acres of land. Relaxed, The hospital, college building including library hostel for the students and interns and PGs/Residents shall be in one piece of land which shall not be less than 10 acres. |  |  |  |
| A.1.2 | ADMINISTRATIVE BLOCK |  |  |  |
|  | Accommodation shall be provided for – 1. Principal/Dean’s office (36 Sq.m.) |  |  |  |
|  | 2.Staff room, |  |  |  |
|  | 3.college council room (80 Sq.m.) |  |  |  |
|  | 4.office superintendent’s room (10 Sq.m.) |  |  |  |
|  | 5.Office (150 Sq.m.) |  |  |  |
|  | 6.Record room (100 Sq.m.) |  |  |  |
|  | 7.Separate common room for Male and Female students with attached toilets (100 Sq.m.each) |  |  |  |
|  | 8.Cafeteria (200 Sq.m.) |  |  |  |
| A.1.3 | COLLEGE COUNCIL |  |  |  |
|  | College Council comprising of the Head of departments as members and Principal/Dean as Chairperson. The Council shall meet at least four times in a year to draw up the details of curriculum and training programme and other academic matters. |  |  |  |
| A.1.4 | CENTRAL LIBRARY |  |  |  |
|  | 1.Central Library (600 Sq.m) with seating arrangement for at least 50 students 2. There shall be one room for 25 students inside and one room for 25 students outside. 3. It should have not less than 5000 text and reference books. 4. The number of journals shall be 100 out of which , one-third shall be foreign journals and subscribed on continuous basis. There shall be provision for – a. Staff reading room for 15 persons; b. Rooms for librarian and other staff c. Journal room; d. Room for copying facilities; e. Video and Cassette room (desirable); f. Air-conditioned Computer room with Medlar and Internet facility with minimum of 10 nodes. |  |  |  |
| A1.5 | LECTURE THEATRE |  |  |  |
|  | Three lecture theatres of gallery type in the Institution (Three of seating capacity for 60 students and one with seating capacity for 125 students.) Lecture theatres shall be provided with necessary independent audio-visual aids (overhead projector, slide projector, LCD projector and a microphone) These lecture theatres shall be shared by all the departments in a programmed manner. |  |  |  |
| A1.6 | HOSTELS |  |  |  |
|  | Separate Boys and Girls hostels with accommodation for at least 100 students each. Dining hall, kitchen , Common hall , reading room , Gymnasium to be present HOSTEL FOR INTERNS : For 50 students Staff Quarters, Nurse Quarters |  |  |  |
| A1.7 | AUDITORIUM /EXAMINATION HALL |  |  |  |
|  | Auditorium-cum-examination hall of 800 sq.m. area . Seating capacity 250-350 Examination hall for 125 capacity |  |  |  |
| A1.8 | CENTRAL WORKSHOP |  |  |  |
|  | Central workshop having facilities for repair of mechanical, electrical and A/c and Refrigeration equipments of college and the hospitals. It shall be manned by qualified personnel. |  |  |  |
| A.1.9 | ANIMAL HOUSE |  |  |  |
|  | Animal house may be maintained by the department of Pharmacology. Experimental work on animals can be demonstrated by Computer Aided Education |  |  |  |
| A1.10 | CENTRAL INCINERATOR/MICROWAVE |  |  |  |
|  | A Central Incinerator Plant or Microwave commensurate with hospital bed strength may be provided. Alternatively any other system approved by the respective State Pollution Control Board may be provided. |  |  |  |
| A1.11 | CENTRAL GAS PLANT/ GAS SUPPL UNIT |  |  |  |
|  | Central gas plant/ Gas suppl unit. |  |  |  |
| A1.12 | STATISTICAL UNIT |  |  |  |
|  | The Statistical Unit will be merged with Medical Record Section in the hospital. |  |  |  |
| A1.12 | MEDICAL EDUCATION UNIT |  |  |  |
|  | Medical Education Unit or Department for faculty development and providing teaching or learning resource material and medical illustration (Central Photographic Unit including Modellar, Artist equipment etc.) shall be a part of it. |  |  |  |
| A1.13 | CENTRAL RESEARCH LAB |  |  |  |
|  | One well equipped and furnished central research lab. (not less than 200 sq. mtr). |  |  |  |
| A1.14 | INTERCOM NETWORK |  |  |  |
|  | Intercom network between various sections, hospitals and college. |  |  |  |
| A1.15 | PLAY GROUND AND GYMNASIUM |  |  |  |
|  | Play ground and Gymnasium for the staff and students with a qualified physical education instructor |  |  |  |
| A1.16 | ELECTRICITY |  |  |  |
|  | Continuous electricity supply, with standby UPS or Generator arrangements and electricians are available round the clock. |  |  |  |
| A1.17 | SANITATION AND WATER SUPPLY |  |  |  |
|  | 1. Adequate sanitary facilities (toilets and bathrooms separately for women) 2. Safe continuous drinking water facilities must be provided for the teaching staff, students |  |  |  |
| A1.18 | DEMONSTRATION ROOM |  |  |  |
|  | Four demonstration rooms (capacity of 30 sq.mtr.) fitted with 1. Strip chairs 2. Over Head Projector 3. Slide Projector 4. Television 5. Video and other Audio-Visual aids. These will be shared by all other departments in the medical college. |  |  |  |
| A1.19 | LABORATORIES |  |  |  |
|  | 1. 6 laboratories (150 Sq.m. area each) with continuous working tables. and one preparation room each of 15 Sq.m.area 2. Two laboratories of 60 Sq.m.area each. (The use of these laboratories may be used in common with the various departments e.g. Histology and Histopathology; Biochemistry and Clinical Pharmacology; Heamatology and Pathology; Microbiology and Community Medicine.) |  |  |  |

PRE – CLINICAL 	- Phase – I

# ANATOMY DEPARTMENT

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| Schedule-1 |
| 1 | Dissection Hall |
|  | a) 175 Sq.mt. for well ventilated (A/C preferable) b) Ante room for students lockers (50) c) 10 washing basins d) Teaching aids e) Embalming room (12 sq.mt) f) 3 storage tanks (1.5 to 3 sq.mt) g) Cooling cabinets (10-12 bodies) (15-18) |  |  |  |
| 2 | Histology Lab 100 sq.mt |
|  | a) Accomodation for 25 to 30 students b) 30 microscopes with electrical points c) Preparation room – 18 sq.mt |  |  |  |
| 3 | Museum 100 sq.mt |
|  | a) Racks and shelves for wet and dry specimens b) Embryological section models c) Revolving stands for skiagram, CT scan and MRI d) X.Ray view boxexs multistand type to take 4 plates – 3 viewing boxes for 30 students e) Seating accommodation for 15 students f) 2 attached rooms for preperation of models and specimens |  |  |  |
| 4 | Departmental Library |
|  | Library/seminar room 30 sq.mt 80-100 books |  |  |  |
|  | Seating accommodation - Adequate |  |  |  |
| 5 | Accomodation for staff |  |  |  |
|  | a) Prof & HOD 20 sq.mt - 1 b) Asso.Prof. 10 sq.mt –1 (15 sq.mt) c) Asst. Prof /Tutors 30 sq.mt – 1 / 15 sq.mt d) Office / Clerical room – 15 sq.mt-1 e) Non-teaching staff 12 sq.mt – 1 |  |  |  |

| Schedule-1I |
| --- |
|  | Staff requirement for: 50 |  |  |  |
|  | Prof & HOD 1 |  |  |  |
|  | Asso.Prof 1 |  |  |  |
|  | Tutors 2 |  |  |  |
|  | Technicians 2 |  |  |  |
|  | Diss.Hall Attender 6 |  |  |  |
|  | Steno/store keeper 1 |  |  |  |
|  | Sweepers 6 |  |  |  |
| Schedule-1II |
| Equipment |
| 1 | Dissection Hall |
|  | a) Dissection tables 10 big b) Dissection table 02 small c) Drill machine – 2 d) Hand saw - 2 e) Band saw - 1 f) Stools -30 g) Brain Knife - 3 h) Cooling cabinet for – 8 bodies i) Storage tanks for – 10 bodies j) Plastic tanks – 05 k) Trolley table - 03 l) OHP – 2 + 2 m) X.ray viewing lobby – 3 n) Charts diagrams models, slides etc as required o) Dissecting instruments p) Meat cutting machine |  |  |  |
| Histology Laboratory |
|  | a) Microscopes – 30 b) Diss.Micro – 05 c) Microtomes (rotary) – 02 d) Microtome (sledge) – 01 e) Cabinet for slides for 1000-06 f) Incubator – 01 g) Paraffin embedding bath – 01 h) Hot plates – 02 i) Hot air oven - 01 j) Balance capacity 200 mg, sensitivity 1/50 mg – 01 capacity 6 kg sensitivity 1/5 gm – 01 Total – 02 k) Refrigerators – 02 l) Distilled water still – menesty type capacity gallon/hr.02 m) Diamond pencil – 04 n) 7 colour marking pencil – 02 |  |  |  |

| Museum |
| --- |
|  | a) Skeleton articulated - 05 b) Bones disarticulated sets – 10 c) Specimen jars as required d) Steel racks as required e) Embalming machine for cadavers – 02 f) Computer – 01 |  |  |  |

# DEPARTMENT OF PHYSIOLOGY

I. Accomodation:

| Sl. No. | Infrastructure required | Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Amphibian laboratory 100 sq.mts with preparation room 14 sq.mts |  |  |  |
| 2 | Haematology lab 100 sq.mts with preparation room 14 sq.mts |  |  |  |
| 3 | Clinical Physiology lab 60 sq.mts (90) |  |  |  |
| 4 | Mammalian lab 60 sq.mts (80) with preparation room 14 sq.mts |  |  |  |
| 5 | Departmental library cum seminar room 30 sq.mts |  |  |  |
| 6 | Prof & HOD – 20 sq.mts |  |  |  |
| 7 | Associate Prof – One room –10 sq.mts (15X2) |  |  |  |
| 8 | Asst. Prof. one room – 15 sq.mts (20) |  |  |  |
| 9 | Tutor – one room – 15 sq.mts (15) |  |  |  |
| 10 | Dept office – one room – 15 sq.mts |  |  |  |
| 11 | Demonstration room – 30 sq.mts (60 sq.mts X 2) |  |  |  |

II. Staff:

| Sl. No. | Infrastructure required | Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 1 |  |  |  |
| 3 | Asst. Prof. 1 |  |  |  |
| 4 | Lecturer in Biophysics 1 |  |  |  |
| 5 | Tutors 2 |  |  |  |
| 6 | Technician 4 |  |  |  |
| 7 | Steno 1 |  |  |  |
| 8 | Store keeper 1 |  |  |  |
| 9 | Lab attendants 3 |  |  |  |
| 10 | Sweepers 2 |  |  |  |

III. Equipment: List of equipment enclosed

B.  Laboratory:

2. Physiology Department:

(a) Furniture as required

Kymograph (presferably electrically driven) Myograph Stand, Inductorium, Simple Key Short Circulating Key, Pohl’s Commutator, Vibrating Interrupter, Muscle through, Muscle liver, Muscle grip of femur clamp, Hook and weight set, Heart liver, Frog board for dissection, enamel tray for above, frog board cork – lined with boss – head – 36 sets + 6 spares. Low voltage units, for tapping 2 and 4 volts for stimulation at each seat as required.

Note:

- Time makers can also be made available at each seat along with the low voltage unit.

- Electronic stimulators, students type can be used instead of low voltage units nife cells. This will also dispense with the need for induction coil interrupter, transistor ones are preferred.

Name of the Article

Electric time makers, 100/sec. Tuning fork, time marker, 100/sec.   4

Electrodes, X-blocks, burette clamps, enamel bowls brass uprights, with coarse and fine adjustments basin, spirit lamps, cooper wire (double cotton covered) Kymograph papter etc. as required.

(b) MAMMALLAN EXPERIMENTS

Large extension kymographs-brodie-starling complete with respiration pump, motor time marker manometer etc.

|  | As required | Actual Present |
| --- | --- | --- |
| Operation table | 1 |  |
| Volume recorders | 3 |  |
| Dale’s bath for internal organs | 6 |  |
| Isolated organs. Bath for students complete with lever etc. | 6 |  |
| Animal Weighing Machine, for small and big animals (for each) | 1 |  |
| Mary’s Tambour | 10 |  |
| Venus and arterial canula (different sizes) (each) | 10 |  |
| Smoking outfit, with fume cupboard | 1 |  |
| Varnishing outfit, for long and short paper | 1 |  |
| Anaesthesia boxes | 1 |  |
| Surgical instruments for operative procedures, syringes, pulleys, etc. |  |  |

(c) HUMAN AND OTHER EXPERIMENTS

|  | As required | Actual Present |
| --- | --- | --- |
| Microscopes, Oil immersion | 20+4 |  |
| Demonstrations eye piece | 2 |  |
| Double Demonstration eye piece | 2 |  |
| Stage incubator | 1 |  |
| Wasteren’s Pipettes for ESR on stand (with space pipettes) | 10 |  |

Name of the Article

|  | As required | Actual Present |
| --- | --- | --- |
| Perimeter Priestly Smith S/L.P 984 B & T | 4 |  |
| Haemogiobinometer, Shail or hellige (with spaces) | 20 |  |
| Haemocytometers | 20 |  |
| Sphygmomanometer | 6 |  |
| Stethoscopes | 6 |  |
| Stethoscopes, Demonstration with multipleear pieces | 2 |  |
| Polygraphs | 1 |  |
| Venus Pressure apparatus | 1 |  |
| Spirometer, Ordinary | 4 |  |
| Gas analysis apparatus, Haldane’s student type | 1 |  |
| Van Slyko’s apparatus monometric | 2 |  |
| Gas analyzer – automatic for CO2, O2, N2 | 1 |  |
| Douglas bag, complete | 4 |  |
| Basal metabolism apparatusa | 1 |  |
| Erogograph Mosse’s | 6 |  |
| Clinical Thermometer | 10 |  |
| Compas | 10 |  |
| Thermoanaeshthesiometer | 1 |  |
| Algometer | 1 |  |
| Apparatus for passive movement | 1 |  |
| Knee hammer | 5 |  |
| Stethograph | 5 |  |
| Bicycle ergometer | 2 |  |
| Olfactometer | 1 |  |
| Opthalmoscope | 2 |  |
| Schematic eye | 2 |  |
| Phakoscope | 1 |  |
| Permiter, with charts | 2 |  |
| Colour percetion Lantern Edridge Green | 1 |  |
| Maddox rod | 1 |  |
| Newtons colour wheel | 1 |  |
| Tuning forks to test hearing 32-10,000 cps (sets) | 2 |  |
| Dynamomete R | 1 |  |
| Otokrhinolaryngoscope | 3 |  |
| Steriliser Electric | 2 |  |
| Instrument trolley | 1 |  |
| Stop watches | 4 |  |
| General |  |  |
| Physiograph, 3 channels, complete with accessories | 1 |  |
| Physiograph, single channel, with accessories | 4 |  |
| Centrifuge, high speed with technometer etc. | 1 |  |
| Calorimeter, photo-electric | 1 |  |
| Ph meter, electric | 1 |  |
| Refrigerator, 9-10 c.ft | 1 |  |
| Oxygen Cylinder with trolley | 4 |  |
| Co-cylinder with trolley | 2 |  |
| Electronic Stimulator | 1 |  |
| Water distillation still, with spare heating elements | 1 |  |
| All glass distillation apparatus double stage | 1 |  |
| Voltage stabilize | 3 |  |
| Stepdown transformers | 1 |  |
| Thermometers, balances, microslides and glassware | 12 |  |

# DEPARTMENT OF BIOCHEMISTRY

- Demonstration Room – There shall be one demonstration room 30 sq.mt fitted with strip chairs, over head projector, slide projector, Television, Video and other audiovisual aids, so as to accommodate at least 25-30 students.

- Practical class room – There shall be a laboratory (100 sq.mt) with benches fitted with shelves and cupboards, water taps, sinks, electric and gas connections so as to accommodate 40 students. Two ante rooms (14 sq.mt area) each for technicians stores, preparation room, balance and distillation apparatus shall also be provided.

- There shall be a departmental library-cum-seminar room (30 sq.mt area) with at least 80-100 books. However, not more than two copies of anyone book shall be counted towards computation of the total number of books

Accommodation for staff:

1. Professor and Head of the Dept. – one room (20 sq.m. area)

2. Associate Professor/Reader  - one room (10 sq.m. area)

3. Asst. Professor/Lecturer – one room (10 sq.m. area)

4. Tutor / Demonstrator – one room (15 sq.m. area)

5. Department office – one room ( 15 sq.m. area) fitted with computer, printer and accessories

II. Staff:

| Sl. No. | Staff required | Actual Staff available in the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 1 |  |  |  |
| 3 | Asst. Prof./ Lecturer 1 |  |  |  |
| 4 | Tutors 1 |  |  |  |
| 5 | Technician 4 |  |  |  |
| 6 | Steno 1 |  |  |  |
| 7 | Store keeper 1 |  |  |  |
| 8 | Lab attendants 1 |  |  |  |
| 9 | Sweepers 2 |  |  |  |

EQUIPMENTS AND INSTRUMENTS:

|  | As required | Actual Present |
| --- | --- | --- |
| Fume cupboards | 2 |  |
| Boiling water baths, with lides having 8-12 holes | 6 |  |
| Autoclave electric | 2 |  |
| Balance open pan | 6 |  |
| Balance semi micro | 2 |  |
| Balance micro | 1 |  |
| Votex mixers | 2 |  |
| Urinometers | 50 |  |
| Constant temperature water bath | 4 |  |
| Ryles tube | 4 |  |
| Incubator electric with thermostat | 4 |  |
| Hor air over | 4 |  |
| Magnetic Strirrer | 2 |  |
| Pump vaccum | 2 |  |
| Calorimetes | 6 |  |
| Regrigerators | 4 |  |
| Flame Photometer | 2 |  |
| Thermometers 0-250 C | 4 |  |
| Thermometers – 0-110 C | 4 |  |
| Cork borer set | 1 |  |
| Stop watch | 4 |  |
| Spirit lamp | 50 |  |
| Chromatographic chamber | 2 |  |
| Water distillation plant (m,etallic) | 3 |  |
| All glass distillation apparatus | 3 |  |

PARACLINICAL

DEPARTMENT OF PATHOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | one demonstration room (25 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 25-30 students. |  |  |  |
| B | PRACTICAL LABORATORIES |  |  |  |
|  | 1. Morbid Anatomy 2. Histopathology/Cytopathology (100 sq.mt) 3. Clinical pathology/ Haematology (100 sq.mt.area) 4. Preparation room (14 sq.mt.area) For 40 students to carry out exercises. |  |  |  |
| C | SEPARATE SERVICE LABORATORY |  |  |  |
|  | 1. Histopatholgy 2. Cytopathology 3. Haematology Other specialised work in the hospital suitably equipped. (each 25 sq.mt) |  |  |  |
| D | OTHER ROOMS |  |  |  |
|  | 1. Balance room (14 Sq. mt.) 2. Store room (14 sq.mt.) 3. Special room for high speed centrifuge (14 sq.mt.) 4. Wash room (14 sq.mt.) |  |  |  |
| E | MUSEUM |  |  |  |
|  | Museum-(60 Sq.mt.) with a sitting capacity of at least 15 students. All the specimens shall be labelled and at least 5 copies of catalogues for student use be provided. In addition, there shall be an ante room. |  |  |  |
| F. | AUTOPSY BLOCK 400 sq.mt |  |  |  |
|  | May be shared with Dept of Forensic Medicine |  |  |  |
| G | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 sq.m. area) with at least 80-100 books. |  |  |  |
| H | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | 1. Professor & Head of the Department-(18 Sq.m.) 2. Associate Professor/ Reader-Two rooms (15 Sq.m) 3. Asstt.Professor/Lecturers(3)-One room(14 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office cum Clerical room-1 (12 Sq.m) 6. Working accommodation for non-teaching staff (12 sq.m.) |  |  |  |
| I | BLOOD BANK |  |  |  |
|  | An airconditioned Blood Bank (100 Sq. mt. Area) and shall include- a. Registration and Medical Examination Room and selection of donors room with suitable furniture and facilities. b. Blood collection room. c. Room for Laboratory for Blood Group serology; d. Room for Laboratory for Transmissible diseases like hepatitis, syphilis, Malaria, HIV antibodies etc e. Sterilisation and washing room; f. Refreshment room g. Store and Records room. The equipment and accessories etc. shall be provided as prescribed in Part XII-B in Schedule F to the Drugs and Cosmetics Rules, 1945 amended . from time to time. |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | One demonstration room (30 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 25-30 students |  |  |  |
| B | PRACTICAL LABORATORY |  |  |  |
|  | Practical laboratory with accommodation for 25-30 students Experimental Laboratory (100 Sq.m. area) with ante-room (14 Sq.m.area) with benches fitted with shelves, cupboards, inks, water taps, light for microscopy and burners for 40 students (150 Sq.m.area) with laboratory benches, gas, water and electric points, microscopes and light with a preparation room (14 Sq.m. area). |  |  |  |
| C. | SERVICE LABORATORY |  |  |  |
|  | Area for each service laboratory shall be 25 Sq.m. 1. Media preparation and storage (20 Sq.m.area) 2. Auto Claving (12 Sq.m. area) 3. Washing & drying room with regular and continuous water supply (12 sq.m.area) |  |  |  |
| D | MUSEUM |  |  |  |
|  | Museum- (40 Sq. mt.) for specimens, charts, models, with a separate section depicting "History of Medicine", with a seating capacity of at least 15 students. All the specimens shall be labelled and atleast 5 copies of catalogue for students use be provided |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE INCLUDING TOXICOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | One demonstration room (30 sq.mt.) fitted with strip chairs, Over Head Projector, slide projector, Television, Video and other audiovisual aids, to accommodate at least 25-30 students. |  |  |  |
| B | MUSEUM |  |  |  |
|  | Museum (100 Sq.m. area) to display medico-legal specimens charts, models, prototype fire arms, wax models, slides, poisons, photographs etc. with seating arrangements for 15-20 students. All the specimens shall be labelled and at least 5 copies of catalogues for student use be provided. |  |  |  |
| C | LABORATORY |  |  |  |
|  | Laboratory (100 Sq.m.area) for examination of specimens, tests and Forensic histopathology, Serology, anthropology and toxicology |  |  |  |
| D | AUTOPSY BLOCK |  |  |  |
|  | There shall be an autopsy room (approx. 400 Sq. mt.area) with facilities for cold storage, for cadavers, ante-rooms, washing facilities, with an accommodation capacity of 15-20 students, waiting hall, office etc. The location of mortuary/autopsy block should be either in the hospital or adjacent to the hospital in a separate structure and may be shared with the department of Pathology. |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Demonstration room (30sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 25-30 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | 1. Experimental pharmacology laboratory (100 Sq.m. area) with ante-room (14 Sq. m.) area for various laboratory practicals. 2. Clinical pharmacology and pharmacy (150 Sq.m. area) with one ante-room (14 Sq.m. area) for technicians, storage of equipment and appliances and preparation room |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (75sq.mt.) for specimens, charts, models, with a separate section depicting “ History of Medicine”, with a seating capacity of at least 15 students. All the specimens shall be labeled and at least 5 copies of catalogues for student use be provided. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30sq.m.area) with at least 80-100 books. |  |  |  |
| E. | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Demonstration room (30sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 15-30 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | Laboratory (100 Sq.m.area) with facilities for purposes of demonstration of various laboratory practicals. |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (75 Sq.m.area) for the display of models, charts, specimens and other material concerning communicable diseases, Community Health, Family Welfare planning, Biostatics, Sociology, National Health Programmes, Environmental Sanitation etc. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30sq.m.area) with at least 80-100 books. |  |  |  |
| E | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m.) 2. Associate Professor /Reader-Two rooms (15 Sq.m) 3. Asstt. Professor/Lecturers (3)-One room (15 Sq.m. 4. Statistician / Lecturer one room (12 sq.mt) 5. Epidemiologist / Lecturer one room (12 sq.mt) 7. Tutor/Demonstrators-One room (15 Sq.m.area) 8. Department office cum Clerical room - one room (12 Sq.m.area) 9. Working accommodation for non-teaching staff (15 sq.m. area) |  |  |  |
| F | PRIMARY HEALTH CENTRE/RURAL HEALTH TRAINING CENTRE |
|  | Every medical college shall have three primary health centres/rural health training centres for training of students in community oriented primary health care and rural based health education for the rural community attached to it. Out of these one primary health centre shall be with a distance of 30 km. or within one hour of commuting distance from the medical college. Adequate transport shall be provided for carrying out field work, teaching and training activities by the department of Community Medicine and other departments |  |  |  |
| G | URBAN HEALTH TRAINING CENTRE |  |  |  |
|  | Urban Health Training Centre It shall be under the administrative control of Deptt. of community Medicine. Adequate transport shall be provided for commuting the staff and students. |  |  |  |

STAFF PATTERN

Qualification and experience required

Existing MCI rules and amendments will be followed. General guidelines are given.

- Tutor /Registrar/Junior resident	 : MBBS/Diploma/MSc(Medical)

- Lecturer 				 : MD/MS/MSc(Medical) If required. DNB with 1yr exp.

- Asst. Prof 				 : MSc.PhD(Medical),MCh,DM can be appointed with out

exp. Other qualifications as above with three yr exp. as

lecturer

- Asso. Prof / Reader 			: 2 yrs as Asst. professor or 5 yrs as Lect/Asst. Prof

- Professor 				: 4 yrs as Asso. Prof

- Principal				: 5 yrs as professor

It is desirable to publish papers in peer reviewed journals for each promotion. It is nice to consider CME hours attended, Conference attended, Papers read in conferences, and organizing conferences etc while considering promotion. University representative to be included in the selection committee for appointments

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Tutors/Demonstrators | 3 |  |  |  |
| 5 | Artist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 8 |  |  |  |
| 7 | Lab attendants | 5 |  |  |  |
| 8 | Steno/Typist | 1 |  |  |  |
| 9 | Clerks | 2 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 1 |  |  |  |
| 12 | Sweepers | 1 |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Tutors/Demonstrators | 1 |  |  |  |
| 5 | Technical Asst/Technician | 4 |  |  |  |
| 6 | Lab attendants | 3 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper | 1 |  |  |  |
| 9 | Record clerks | 1 |  |  |  |
| 10 | Sweepers | 3 |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Tutors/Demonstrators | 2 |  |  |  |
| 5 | Pharm.Chemist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 3 |  |  |  |
| 7 | Lab attendants | 3 |  |  |  |
| 8 | Steno/Typist | 1 |  |  |  |
| 9 | Clerks/Store Keeper | 1 |  |  |  |
| 10 | Sweepers | 2 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof |  |  |  |  |
| 4 | Tutors/Demonstrators | 1 |  |  |  |
| 5 | Technical Asst/Technician | 2 |  |  |  |
| 6 | Lab attendants | 2 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper /Clerks | 1 |  |  |  |
| 9 | Sweepers | 2 |  |  |  |

Note: For postmortem work and other medico legal work extra staff shall be provided

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Epidemiologist cum lecturer | 1 |  |  |  |
| 5 | Statistician cum Lecturer | 1 |  |  |  |
| 6 | Tutors/Demonstrators | 2 |  |  |  |
| 7 | Medical social workers | 1 |  |  |  |
| 8 | Technical asst and Technicians | 1 |  |  |  |
| 9 | Stenographers | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

##### STAFF FOR RURAL TRAINING HEALTH CENTER

(Including field work and epidemiological studies)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 2 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

##### URBAN TRAINING HEALTH CENTER

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 2 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

EQUIPMENT AND INSTRUMENTS

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
|  | Furnitures, Lab table, Sinck etc., | As required |  |  |  |
|  | Water gas and electric points | As required |  |  |  |
| B | MORBID HISTOLOGY AND MORBID ANATOMY SECTIONS |
|  | Weighing machines for cadavers | 1 |  |  |  |
|  | Rotary microtomes | 2 |  |  |  |
|  | Freezing microtome with a stand for Carbon dioxide Cylinder | 1 |  |  |  |
|  | Hot plates (Electric) | 2 |  |  |  |
|  | Hot air 50° Cel | 2 |  |  |  |
|  | Paraffin embedding bath | 2 |  |  |  |
|  | Electric vacuum embedding bath | 2 |  |  |  |
|  | Autoclave electric | 2 |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Water bath 57° Cel | 1 |  |  |  |
|  | Rectangular water bath | 1 |  |  |  |
|  | Centrifuge machine electric rotofix | 1 |  |  |  |
|  | Colorimeter Photoelectric | 1 |  |  |  |
|  | Cabinet for 1000 slide | As Required |  |  |  |
|  | Band Saw | 1 |  |  |  |
|  | Autopsy tables | 2 |  |  |  |
|  | Automatic tissue processor /Histokinette | 1 |  |  |  |
|  | Staining racks | 10 |  |  |  |
|  | Staining troughs | 12 |  |  |  |
|  | Coplin jars | 24 |  |  |  |
|  | Water bath electric (Tissue floatation) | 2 |  |  |  |
|  | Chemical balance with weight | 2 |  |  |  |
|  | Microscopes(Monoocular) With oil immersion | 30 |  |  |  |
|  | Polarising attachments | 1 |  |  |  |
|  | Micrometer(Ocular) | 1 |  |  |  |
|  | Demonstration eye pieces | 6 |  |  |  |
|  | Magnifying lens | 6 |  |  |  |
|  | BP Apparatus | 2 |  |  |  |
|  | Micrometer(Stage) | 2 |  |  |  |
|  | DC Counter 9 Keys | 6 |  |  |  |
|  | Lab Stirrer | 1 |  |  |  |
|  | Automatic timer | 2 |  |  |  |
|  | Balance for weighing organs | 1 |  |  |  |
|  | Wire saw for bone cutting | 1 |  |  |  |
|  | Slide box (100 slides) | 60 |  |  |  |
|  | Glass Drill | 2 |  |  |  |
|  | Blow piece with bellows | 2 |  |  |  |
|  | Microphotographic apparatus | 1 |  |  |  |
|  | X- Ray box | 2 |  |  |  |
|  | Double demonstration eye piece | 2 |  |  |  |
|  | Micro projection apparatus | 2 |  |  |  |
|  | Sternal puncture needle: Adult,Child | 2 each |  |  |  |
|  | Liver biopsy needle | 2 |  |  |  |
|  | Box weight analytical | 2 |  |  |  |
|  | Stop watch | 6 |  |  |  |
|  | UV Lamp | 1 |  |  |  |
|  | Binocular research microscope | 1 |  |  |  |
|  | Hb electrophoresis apparatus | 1 |  |  |  |
|  | Water still electric | 1 |  |  |  |
|  | 2x2 Slide projector | 1 |  |  |  |
|  | OHP | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Drawing instruments and clors for artist | 1 set |  |  |  |
|  | Surgical instruments | 1 set |  |  |  |
|  | Dark room lamp, Developing troughs.chemical for artist | 1 set |  |  |  |
|  | Glass ware , stail chemicals for histological work | As required |  |  |  |
| C. | CLINICAL LABORATORY |  |  |  |  |
|  | Microscopes with oil immersion for routine work | 15 |  |  |  |
|  | Specific gravity bottles 25cc | 2 |  |  |  |
|  | Micro burretes | 2 |  |  |  |
|  | pH meterwith ultra micro blood pH electrodes | 1 |  |  |  |
|  | Electrical centrifuge (Higher power) | 3 |  |  |  |
|  | Incubator | 1 |  |  |  |
|  | Haemocytometers with RBC and WBc pipettes | 30 |  |  |  |
|  | Haemoglobino meter (Sahli’s) | 30 |  |  |  |
|  | ESR Tubes | 2 set |  |  |  |
|  | Disposable syringes 2cc,5cc,10cc,20cc | As required |  |  |  |
|  | Staining jars for slides | 12 |  |  |  |
|  | Urinometer | 9 |  |  |  |
|  | Albuminometer:Esbach’s&Aufrech’s | 1 each |  |  |  |
|  | Urine glass jar | 12 |  |  |  |
|  | Water bath with lids, with hole to hold test tube | 2 |  |  |  |
|  | Centrifuge tube, graduated | 36 |  |  |  |
|  | Graduated cylinders Of varying capa | 6 of each |  |  |  |
|  | Pipettes of varying sizes | As required |  |  |  |
|  | Reagent bottles | As required |  |  |  |
|  | Dropping bottles | As required |  |  |  |
|  | Reagents | As required |  |  |  |
|  | Balances: Sensitive balance & Chemical balances with weight box | 2 each |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1. | Incubators electrical Large at 37 º C | 3 |  |  |  |
| 2. | Autoclave | 2 |  |  |  |
| 3. | Hot air sterilizer | 2 |  |  |  |
| 4 | Serum inspissators | 2 |  |  |  |
| 5 | Chemical balance | 2 |  |  |  |
| 6 | Lovibond comparators | 1 |  |  |  |
| 7 | Flask flat bottom 50 cc | 6 |  |  |  |
| 8 | Microscope with oil immersion | 30 |  |  |  |
| 9 | Refrigerators | 2 |  |  |  |
| 10 | Micrometer eye pieces | 2 |  |  |  |
| 11 | Micrometer stage | 2 |  |  |  |
| 12 | Centrifuge , electrical high power | 2 |  |  |  |
| 13 | Refrigerated centrifuge | 1 |  |  |  |
| 14 | Distilled water plant All glass | 1 |  |  |  |
| 15 | Dropping bottles staining | 250 |  |  |  |
| 16 | Staining troughs | 50 |  |  |  |
| 17 | Anaerobic apparatus | 3 |  |  |  |
| 18 | B.O.D Incubator | 2 |  |  |  |
| 19 | Laminar flow | 1 |  |  |  |
| 20 | UV lamp | 1 |  |  |  |
| 21 | VDRL shaker | 2 |  |  |  |
| 22 | Computer unit | 1 |  |  |  |
| 23 | OHP | 1 |  |  |  |
| 24 | Water bath(Serological) 37º and 56º | 1 each |  |  |  |
| 25 | Deep freeze – 20º | 1 |  |  |  |
| 26 | ELISA Reader, Dispenser &Washer | 1 |  |  |  |
| 27 | Binocular microscope | 2 |  |  |  |
|  | CULTURE FACILITIES |  |  |  |  |
| 29 | Thermometer assorted | 10 |  |  |  |
| 30 | Glass ware, Pipette, Beaker, Conical flask, Petri dish, Reagent bottles, Test tubes | As required |  |  |  |
| 31 | Material for media preparation | As required |  |  |  |
| 32 | Stains | As required |  |  |  |
| 33 | pH meter | 2 |  |  |  |
| 34 | Lyophilizer | 1 |  |  |  |
| 35 | Thermal cycler | 1 |  |  |  |
| 36 | UV Tarns illuminator with photography | 1 |  |  |  |
| 37 | Colony counter | 1 |  |  |  |
| 38 | Cold room at 4º cel | 1 |  |  |  |
| 39 | Bactec system | 1 |  |  |  |
| 40 | Phase contrast microscope | 1 |  |  |  |
| 41 | Vortex mixer | 1 |  |  |  |
| 42 | Electronic balance | 1 |  |  |  |
| 43 | Microfuge | 1 |  |  |  |
| 44 | Ultra centrifuge | 1 |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
| 1 | Furnitures, Practical all arragement etc., | As required |  |  |  |
| 2 | Water gas and electric points | As required |  |  |  |
| B | EXPERIMENTAL PHARMACOLOGY |
| 12 | Starlings kymographs with time markers | 3 |  |  |  |
| 13 | Ideal respiration pump 500 cc | 3 |  |  |  |
| 14 | Brodi’s operation table | 3 |  |  |  |
| 15 | Incubators | 2 |  |  |  |
| 16 | Refrigerators | 2 |  |  |  |
| 17 | Assembly perfusion apparatus for mammalian heart | 4 |  |  |  |
| 18 | Standard power tables | 3 |  |  |  |
| 19 | Assembly for mammalian classes | 4 |  |  |  |
| 20 | Automatic electric recording drums | 4 |  |  |  |
| 21 | Mechanical stromhur | 2 |  |  |  |
| 22 | Centrifuge | 2 |  |  |  |
| 23 | Colorimeter | 3 |  |  |  |
| 24 | Cannulas | 48 |  |  |  |
| 25 | Cautery machine Electric | 1 |  |  |  |
| 26 | Warnishing tray with foot lever | 2 |  |  |  |
| 27 | Four unit isolated organ bath palmar F.67 | 1 |  |  |  |
| 28 | Analgesio meter | 1 |  |  |  |
| 29 | Smoking burners Palmer A- 291, A- 265 | 1 |  |  |  |
| 30 | Tracheal canula metal palmer E.76 | 4 |  |  |  |
| 31 | Codons drop recorder – Palmer B-75 | 1 |  |  |  |
| 32 | Professor Inchleyes drop recorder-Palmer B.78 | 1 |  |  |  |
| 33 | Animal weighing machines Small and Big | 3 each |  |  |  |
| 34 | Dissection instruments and syringes | As required |  |  |  |
| 35 | *Kymograph(Students) with electric independent unit | 30 |  |  |  |
| 36 | *Electric motor ¼ with split pulley | 2 |  |  |  |
| 37 | *Shafting steel rod ¾” diameter and 18” long | 8 |  |  |  |
| 38 | *Standard shafting and fittings | 30 |  |  |  |
| 39 | *Pulleys | 30 |  |  |  |
| 40 | *Muffs coupling for joining two pieces | 12 |  |  |  |
|  | * Not required in case of independent units |
| 42 | X blocks | As required |  |  |  |
| 43 | Hook grip rods | As required |  |  |  |
| 44 | Plain stand | 50 |  |  |  |
| 45 | Apparatus isolated rabbit intestine etc | 50 |  |  |  |
| 46 | Jacquts’s graphic chronometer | 2 |  |  |  |
| 47 | Frog’s boards palmer C.120 | 50 |  |  |  |
| 48 | Jackson’s enterograph | 3 |  |  |  |
| 49 | Hair aesthesiometer palmer W.290 | 2 |  |  |  |
| 50 | Long extension for paper palmer A-130 | 2 |  |  |  |
| 51 | Animal balance triple beam | 2 |  |  |  |
| 52 | Manometer, Mercury Palmer C- 200 | 6 |  |  |  |
| 53 | Metro nome palmer B-5 | 2 |  |  |  |
| 54 | Oncometer Kidney | 2 |  |  |  |
| 55 | Oncometer Heart | 2 |  |  |  |
| 56 | Copper trays 10”x8”x1” | 50 |  |  |  |
| 57 | Thermometer upto 110º Cel | 50 |  |  |  |
| 58 | Distillation apparatus | 4 |  |  |  |
| 59 | Microscopes Ordinary | 4 |  |  |  |
| 60 | Working table with racks | 6 |  |  |  |
| 61 | Chemical balances ordinary Apothecary’s | 2 |  |  |  |
| 62 | Chemical balance sensitive | 2 |  |  |  |
| 63 | Dissection instruments | As required |  |  |  |
| 64 | Plethysmograph assorted | 4 |  |  |  |
| 65 | Pneumograph palmer E | 1 |  |  |  |
| 66 | Piston recorder palmer C.51 | 1 |  |  |  |
| 67 | Tambours Mareys palmer C.5 & C.11 | 4 |  |  |  |
| 68 | Tetanus set palmer H2O | 1 |  |  |  |
| 69 | Stop watch Jacquets | 12 |  |  |  |
| 70 | Oxygen cylinders with trolley 20 cu ft | 4 |  |  |  |
| 71 | CO2 cylinder | 2 |  |  |  |
| 72 | Operating lamps- Philips | 4 |  |  |  |
| 73 | Animal trolley with 12 cages | 4 |  |  |  |
| 74 | Miscellaneous |  |  |  |  |
| 75 | Electrodes, Ordinary and non polarisable, insulated wires, time markers, electric signals, Mercury manometer, perfusion apparatus, myograph lever, small pulley’s upright stands and chemicals etc. | As required |  |  |  |
| C. | PHARMACOLOGY LABORATORY |
| 76 | Dispensing Balance with metric system weights | 20 |  |  |  |
| 77 | Pill tiles | 20 |  |  |  |
| 78 | Suppository moulds | 20 |  |  |  |
| 79 | Porcelain dishes | 20 |  |  |  |
| 80 | Crucibles with tongs | 5 |  |  |  |
| 81 | Pestle and mortar | 20 |  |  |  |
| 82 | Iron spatula | 20 |  |  |  |
| 83 | Measure glass All sizes | 20 |  |  |  |
| 84 | Water bath metal | 5 |  |  |  |
| 85 | Miscellaneous: Chemicals, drugs, glass rods, funnels , filters | As required |  |  |  |
| D. | SPECIAL CHEMICALS AND PHARMACOLOGICAL EQUIPMENTS |
| 86 | Stimulator electronic | 1 |  |  |  |
| 87 | Balance semi micro analytical pan mottler | 1 |  |  |  |
| 88 | Electro cardio graph | 1 |  |  |  |
| 89 | Spectrophotometer model Du Backman (UV visible range) | 1 |  |  |  |
| 90 | Skin and rectal thermometer Baron | 1 |  |  |  |
| 91 | Anti histamine chamber with manometer | 1 |  |  |  |
| 92 | Flame photometer | 1 |  |  |  |
| 93 | Stop clock | 6 |  |  |  |
| 94 | Water bath 4 hole electrically heated | 12 |  |  |  |
| 95 | Bell jars assorted | 4 |  |  |  |
| 96 | Petri dishes assorted | 36 |  |  |  |
| 97 | Museum drugs specimen jars | 30 |  |  |  |
| 98 | All glass distillation apparatus 2 lts | 2 |  |  |  |
| 99 | Centrifuge electric rpm 3000 | 2 |  |  |  |
| 100 | Microscope student type | 4 |  |  |  |
| 101 | Magnetic stirrer B.T.L | 1 |  |  |  |
| 102 | Autoclave electric | 1 |  |  |  |
| 103 | Waring blender M.S.E | 1 |  |  |  |
| 104 | Hot air oven 14x14x14” | 1 |  |  |  |
| 105 | Incubator electro 14x14x14” | 1 |  |  |  |
| 106 | Vacuum and pressure cenco | 2 |  |  |  |
| 107 | Instruments sterilizer 12x8x6” | 1 |  |  |  |
| 108 | BP Apparatus | 8 |  |  |  |
| 109 | Distilled water still electrical 2 gallon /hour | 2 |  |  |  |
| 110 | Stethoscope | 8 |  |  |  |
| 111 | Multi meter | 1 |  |  |  |
| 112 | Temperature controlled water bath 37º cel | 1 |  |  |  |
| 113 | Razor hone | 2 |  |  |  |
| 114 | Electric hot plate | 2 |  |  |  |
| 115 | Deioniser : 20lts/hr and 6 lts/hr con11nected in series | 2 |  |  |  |
| 116 | Physiographs with transducer with other accessories (May substitute Kymographs) | 20 |  |  |  |
| 117 | Vortex mixer | 2 |  |  |  |
| 118 | Acto photometer | 1 |  |  |  |
| 119 | Rotor rod assembly | 1 |  |  |  |
| 120 | Electro convulsion meter | 1 |  |  |  |
| 121 | Cooks pole climbing apparatus | 1 |  |  |  |
| 122 | Metabolic cages diuretic study | 3 |  |  |  |
| 123 | Digital pH meter | 1 |  |  |  |
| 124 | Tablet disintegration machine glass tubing 6ft | 1 |  |  |  |
| 125 | Glass mortar & peseles 500cc, 200cc | 12 each |  |  |  |
| 126 | Cork borer set of 12 | 1 set |  |  |  |
| 127 | Holder for platinum wire loop | 60 |  |  |  |
| 128 | Lancet spring - disposable | 60 |  |  |  |
| 129 | Lamp for microscope | As required |  |  |  |
| 130 | Magnifying glass with metal handle | 30 |  |  |  |
| 131 | Metal mincing machine | 1 |  |  |  |
| 132 | Suction pump | 1 |  |  |  |
| 133 | Filtering apparatus, seitz and Millipore filter | 1 each |  |  |  |
| 134 | Desiccators | 2 |  |  |  |
| 135 | Vacuum desiccators | 1 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Weighing machine:Dial type Human | 2 |  |  |  |
| 2 | Equipment for reporting height | 2 |  |  |  |
| 3 | Balance chemical | 1 |  |  |  |
| 4 | Balance single pair: For fetus | 1 |  |  |  |
| 5 | Weighing machine: For Dead bodies | 1 |  |  |  |
| 6 | Weighing machine – Organs | 2 |  |  |  |
| 7 | Folding metal scale Upto 7 feet | 1 |  |  |  |
| 8 | Steel tape roll | 2 |  |  |  |
| 9 | Warnier calipers | 1 |  |  |  |
| 10 | Autopsy table | 2 |  |  |  |
| 11 | Styker autopsy saw | 3 |  |  |  |
| 12 | Hack saw | 4 |  |  |  |
| 13 | Dissection sets | 4 |  |  |  |
| 14 | Rib shears , Right & Left | 4 |  |  |  |
| 15 | Autopsy aprons Rubber | 6 |  |  |  |
| 16 | Autopsy gloves | 12 |  |  |  |
| 17 | Viscerotome with a attachment for illumination (battery operated) | 1 |  |  |  |
| 18 | SLR Camera | 1 |  |  |  |
| 19 | Microscope student type | 15 |  |  |  |
| 20 | Microscope Binocular research | 3 |  |  |  |
| 21 | Stop watch | 2 |  |  |  |
| 22 | X- Ray view box 1 in 4 | 4 |  |  |  |
| 23 | View box 2 in one | 3 |  |  |  |
| 24 | BP apparatus | 4 |  |  |  |
| 25 | Anthropometric set | 1 |  |  |  |
| 26 | Automatic tissue process machine | 1 |  |  |  |
| 27 | Microtone with knife | 1 |  |  |  |
| 28 | Hot plate | 1 |  |  |  |
| 29 | L Mould | 16 |  |  |  |
| 30 | Leather strops | 2 |  |  |  |
| 31 | Paraffin bath embedding | 1 |  |  |  |
| 32 | Slide warming table | 1 |  |  |  |
| 33 | Stone carborandom | 2 |  |  |  |
| 34 | Water bath tissue floatation | 1 |  |  |  |
| 35 | Distillation plant | 1 |  |  |  |
| 36 | Brain knife | 8 |  |  |  |
| 37 | Block holders | As required |  |  |  |
| 38 | Digital spectrometer | 1 |  |  |  |
| 39 | Digital pH meter | 1 |  |  |  |
| 40 | Electric auto slide projector | 1 |  |  |  |
| 41 | Glass cutting pencil | 1 |  |  |  |
| 42 | Hand set heat sealer | 1 |  |  |  |
| 43 | Spectroscope lens & adjustable slit | 2 |  |  |  |
| 44 | Refrigerator | 1 |  |  |  |
| 45 | Cold storage for dead bodies | As required |  |  |  |
| 46 | Deep freezer for tissue | As required |  |  |  |
| 47 | Video camera, Television ,VCR | 1 each |  |  |  |

DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | Comparator, Nessler | 1 |  |  |  |
|  | Barometer , Fotin | 1 |  |  |  |
|  | Extraction apparatus, fat , Complete | 1 |  |  |  |
|  | Filter, Pasteur chamberland, Full set | 1 |  |  |  |
|  | Filter Berke fed | 1 |  |  |  |
|  | Hydrometer, Spirit | 3 |  |  |  |
|  | Hydrometers, Milk | 3 |  |  |  |
|  | Hydrometer, Wet and Dry bulb | 1 |  |  |  |
|  | Incubator, electric | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Models , charts, diagrams etc | As required |  |  |  |
|  | Balance analytical, 200 gms | 3 |  |  |  |
|  | Balance for food 2kgs | 1 |  |  |  |
|  | Centrifuge clinical | 1 |  |  |  |
|  | Weighing machine Adult | 4 |  |  |  |
|  | Salter’s baby weighing machine | 4 |  |  |  |
|  | Harpender’s Calipers for skin fold thickness | 2 |  |  |  |
|  | Height measuring stand | 1 |  |  |  |
|  | Aqua guard | 1 |  |  |  |
|  | Refrigerator | 1 |  |  |  |
|  | Ice lined refrigerator | 1 |  |  |  |
|  | Dissecting microscope | 20 |  |  |  |
|  | Microscope oil immersion | 2 |  |  |  |
|  | TV, VCR | 1 each |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Sterilizers electric | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Over Head Projector | 2 |  |  |  |
|  | Equipment and transportation for Rural health centers | As required |  |  |  |

CLINICAL DEPARTMENTS

DEPARTMENT WISE STAFF REQUIREMENTS

GENERAL

1. Each department shall have a Head of the Department of the rank of full time Professor who shall have overall control of the Department.

2. The staffing pattern of the departments shall be organised on  the basis of units.

3. A unit shall have not more than 30 beds in its change. However , in departments of Tuberculosis & respiratory diseases, Dermatology, Veneralogy & Leprosy, Psychiatry, Ophthalmology & ENT one unit shall be of MCI sanctioned strength for hat speciality even if the total number of beds is less than 30.

4. The minimum staff complement of each unit shall consist of the following, namely:-

(a) Asso Professor/Reader				1

(b) Lecturer / Asst Prof				1

(c) Senior Resident / Tutor / Registrar (M.S) 	1

(d) Junior Residents				1

In addition to the above staff, additional Sr. Residents and Junior Residents shall be provided according to the loan in Burn Ward ICU, Emergency, ICCU, Nursery, Labour Room and in other critical intensive care unit / units for providing services round the clock.

Additional staff recommended

It should be remembered that each clinical staff enjoys a total of 120 days of leave in a year. As a result one third of the staff will be on leave – consequently only 2/3 of the total staff will be working. Hence for every 3 staff one extra staff should be appointed.

DEPARTMENT OF GENERAL MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 3/96 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Junior Residents | 9 |  |  |  |

DEPARTMENT OF TUBERCULOSIS & RESPIRATORY DISEASES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/16 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF DERMATOLOGY VENEREOLOGY & LEPROSY

No of Units / beds: 1/8

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF PSYCHIATRY

No of Units / beds: 1/8

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

# Staff strength required of Medicine

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | E.C.G. Technician | 1 |  |  |  |
|  | Technical Asst./Technician | 3 |  |  |  |
|  | Lab Attendants | 4 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |
|  | T.B. and Chest Diseases Health Visitors | 2 |  |  |  |
|  | Psychiatric Social Workers | 2 |  |  |  |

# DEPARTMENT OF PAEDIATRICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No of Units / beds | 2/48 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof. | 1 |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Child Psychologist | 1 |  |  |  |
|  | Health Educator | 1 |  |  |  |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Social Worker | 1 |  |  |  |

GENERAL SURGERY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 3/96 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Junior Residents | 9 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 3 |  |  |  |
|  | Lab Attendant | 4 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 2/48 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |

DEPARTMENT OF OTO-RHINO-LARYGOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/16 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Audiometry Technician | 1 |  |  |  |
|  | Speech Therapist | 1 |  |  |  |

DEPARTMENT OF OPHTHALMOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/16 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Refractionist | 1 |  |  |  |

DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 2/48 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Antenatal Medical office-cum- lecturer / Asst. Professor | 1 |  |  |  |
|  | Maternity and Child Welfare officer- Cum Lecturer . Asst. Prof. | 1 |  |  |  |
|  | Social Worker | 2 |  |  |  |
|  | Technical Asst / Technician | 2 |  |  |  |
|  | Lab Attendant | 2 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF RADIO-DIAGNOSIS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Radiographic Technicians | 8 |  |  |  |
|  | Dark Room Assistants | 4 |  |  |  |
|  | Stenographers | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |

DEPARTMENT OF RADIO-THERAPY (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader | 1 |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Tutor / Registrar | 1 |  |  |  |
|  | Physicist | 1 |  |  |  |
|  | Radiotherapy technicians (for every Treatment unit | 2 |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |

DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technicians | 8 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF PHYSICAL MEDICINE AND REHABILITATION (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader |  |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Sr. Resident | 2 |  |  |  |
|  | House Surgeon/Junior Resident | 1 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Physiotherapists | 2 |  |  |  |
|  | Occupational Therapists | 2 |  |  |  |
|  | Speech Therapists | 1 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 2 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 6 |  |  |  |
|  | Workshop workers | 1 |  |  |  |
|  | Clinical psychologist | 1 |  |  |  |
|  | Medico-social worker | 1 |  |  |  |
|  | Public health nurse/Rehabilitation Nurse | 1 |  |  |  |
|  | Vocational counselor | 1 |  |  |  |
|  | Multi-rehabilitation workers(MRW)/Technician / Therapist | 4 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Class IV workers | 4 |  |  |  |

DEPARTMENT OF DENTISTRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader |  |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Tutor / Registrar | 1 |  |  |  |
|  | Dental Technicians | 4 |  |  |  |
|  | Store Keeper cum clerk | 1 |  |  |  |

Note: Where Dental College or Dental wings of medical colleges exist, the services of

teachers of these may be utilized in the instruction of medical students in Dentistry and no

separate staff in the Medical College shall be necessary.

# STAFF REQUIREMENT FOR-ANCILLARY SERVICES

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Medical Record Officer | 1 |  |  |  |
|  | Statistician | 1 |  |  |  |
|  | Coding Clerks | 4 |  |  |  |
|  | Record Clerks | 6 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |
|  | Steno-typist | 1 |  |  |  |

## CENTRAL ANIMAL HOUSE

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Veterinary Officer | 1 |  |  |  |
|  | Animal Attendants | 2 |  |  |  |
|  | Technicians for animal operation room | 1 |  |  |  |
|  | Sweepers | 2 |  |  |  |

CENTRAL LIBRARY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Librarian with a degree in Library Science | 1 |  |  |  |
|  | Deputy Librarian | 1 |  |  |  |
|  | Documentalist | 1 |  |  |  |
|  | Cataloguer | 1 |  |  |  |
|  | Library Assistants | 4 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |

CENTRAL PHOTOGRAPHIC CUM AUDIOVISUAL UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Photographers | 1 |  |  |  |
|  | Artist Modellers | 1 each |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Audiovisual Technician | 1 |  |  |  |
|  | Store keeper cum Clerk | 1 |  |  |  |
|  | Attendant | 1 |  |  |  |

MEDICAL EDUCATION UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Officer In-Charge (Principal / Dean) | 1 |  |  |  |
|  | Coordinator (Head of Dept. nominated by Principal / Dean) | 1 |  |  |  |
|  | Faculty | College faculty on part-time basis |  |  |  |

Supportive Staff:

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Stenographer | 1 |  |  |  |
|  | Computer Operator | 1 |  |  |  |
|  | Technicians in Audio-visual aids, Photography and Artist | 2 |  |  |  |

##### CENTRAL STERLIZATION SERVICES DEPARTMENT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Matron | 1 |  |  |  |
|  | Staff Nurse | 4 |  |  |  |
|  | Technical Assistant | 8 |  |  |  |
|  | Technician | 8 |  |  |  |
|  | Ward Boys | 8 |  |  |  |
|  | Sweeper | 4 |  |  |  |

LAUNDRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Supervisor | 2 |  |  |  |
|  | Dhobi / Washerman / women | 12 |  |  |  |
|  | Packer | 12 |  |  |  |

##### BLOOD BANK

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor / Reader / Assoc Prof | 1 |  |  |  |
|  | Lecturer / Asst. Professor | 1 |  |  |  |
|  | Technicians | 6 |  |  |  |
|  | Laboratory Attendants | 6 |  |  |  |
|  | Store Keepers | 6 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

CENTRAL CASUALTY SERVICES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Casualty Medical Officer | 4 |  |  |  |
|  | Operation Theatre staff to function on 24 hours round the clock basis | As required |  |  |  |
|  | Stretcher bearers | 6 |  |  |  |
|  | Receptionists cum Clerks | 2 |  |  |  |
|  | Ward Boys | 6 |  |  |  |
|  | Nursing and paramedical staff | 6 |  |  |  |
|  | Clinical staff for Casualty beds | As required |  |  |  |

CENTRAL WORKSHOP

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Superintendent-who shall be a qualified Engineer | 1 |  |  |  |
|  | Senior Technicians | 4 (Medical, Electrical, Electronic, Refrigeration) |  |  |  |
|  | Junior Technicians | 2 |  |  |  |
|  | Carpenter | 1 |  |  |  |
|  | Blacksmith | 1 |  |  |  |
|  | Attendants | 4 |  |  |  |

OTHER HOSPITAL STAFF

1.	NURSING STAFF: The nursing staff shall be provided as per the following

recommendations of the Nursing Council:

RECOMMENDED NORMS FOR HOSPITAL NURSING SERVICE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Nursing Superintendent (for minimum150 beds | 1 |  |  |  |
|  | Deputy Nursing Superintendent | 1 |  |  |  |
|  | Asst. Nursing Superintendent | 1 |  |  |  |

(for every additional 50 beds one more Assistant Nursing Superintendent)

Out patient Department – base on Actual observation.

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Minor Operation Theatre | 1 Staff Nurse for every 13 patients |  |  |  |
|  | b) Injection Room | 1 Staff Nurse for every 86 patients |  |  |  |
|  | c) Surgical | 1 Staff Nurse for every 120 patients |  |  |  |
|  | d) Medical | 1 Staff Nurse for every 140 patients |  |  |  |
|  | e)Gynaec | 1 Staff Nurse for every 35 patients |  |  |  |
|  | f) Children (Paediatric) | 1 Staff Nurse for every 85 patients |  |  |  |
|  | g) Orthopaedic | 1 Staff Nurse for every 120 patients |  |  |  |
|  | h) Dental | 1 Staff Nurse for every 120 patients |  |  |  |
|  | i) ENT | 1 Staff Nurse for every 120 patients |  |  |  |
|  | j) Eye | 1 Staff Nurse for every 86 patients |  |  |  |
|  | k) Skin | 1 Staff Nurse for every 100 patients |  |  |  |

Similarly other out patient Department need to be staffed based on actual observation.

CLINICAL DEPARTMENTS

The list of equipments for clinical departments both indoor and outdoor, may be prepared by the Heads of departments, who would keep in view the needs for:-

    - Special examination with diagnostic aids and investigations such as laboratory, x-ray, etc.,

    - Routine treatment, medical and surgical etc.

    - Special therapy such as physical, occupational, dietetic etc.

The following equipments for various clinical departments are however the minimum required.

DEPARTMENT OF MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | B.P.Apparatus | 20 |  |  |  |
|  | Ophthalmoscope | 6 |  |  |  |
|  | Lumbar puncture needles (disposable) | As required |  |  |  |
|  | Haemocytometer | 3 |  |  |  |
|  | Light Microscope | 1 |  |  |  |
|  | Haemoglobinometer | 3 |  |  |  |
|  | Centrifuge Machine | 1 |  |  |  |
|  | Urinometer | 1 |  |  |  |
|  | Plural biopsy needs (disposable) | As required |  |  |  |
|  | Liver biopsy needs (disposable) | As required |  |  |  |
|  | Kidney biopsy needs (disposable) | As required |  |  |  |
|  | X-ray viewing box | 15 |  |  |  |
|  | Over head Projector | 1 |  |  |  |
|  | Slide projector | 1 |  |  |  |
|  | Upper GI Endoscope | 1 |  |  |  |
|  | Colonoscope | 1 |  |  |  |
|  | Sigmoidoscope | 1 |  |  |  |
|  | Proctoscope | 6 |  |  |  |

Facilities doing tests for malabsorption 	As required

Ultrasound Machine				1

Fiberoptic brochoscope			1

Spirometer					1

Bedside Cardiac Monitors			8

Central Cardiac Monitor Console		1

Defibrallator					8

Non-invasive B.P.Apparatus			8

Pulse Oxymeter				8

Equipment for cardiac pacing			1

Ambu bag					8

Laryngoscope					8

ECG machine					8

Echocardiography machine			1

Thread Mill test machine			1

Haemodialysis machine			3

Peritoneal dialysis catheters			As required

Arterial blood gas analyzer			1

Na/K analyzer					1

Equipment for measuring diffusion capacity 	1

Microprocessor based spectrometer		2

Gamma cameras				1

Glucometer					5

Radiosotope scan laboratory			1

Electro Encephalogram (EEG) Machine	1

EMC and nerve conduction velocity machine1

Fine needle aspiration needle			As required

Torches					20

Patient examination table			20

Rubber Hammer				20

Reagents for doing Gram’s and Ziel Neilson

Staining 					As required

Computer (one for each medical unit)	2

Radiopagers					20

Endotracheal tubes				As required

Emergency lights				6

DEPARTMENT OF PAEDIATRICS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Resuscitation equipments: |  |  |  |  |
|  | Ambu bag – infant | 2 |  |  |  |
|  | Children | 2 |  |  |  |
|  | Face Mask | As required |  |  |  |
|  | Nasal prongs | As required |  |  |  |
|  | Nasal catheters | As required |  |  |  |
|  | Endotracheal tubes | As required |  |  |  |
|  | Suction Apparatus | 1 |  |  |  |
|  | Suction Catheters | As required |  |  |  |
|  | Laryngoscope – Infant Children | 1 |  |  |  |
|  |  | 1 |  |  |  |
|  | (A) Oxygen Delivery System |  |  |  |  |
|  | Oxygen Cylinder | 1 |  |  |  |
|  | Oxygen regulator | 1 |  |  |  |
|  | Oxygen humidifiers | 1 |  |  |  |
|  | Oxygen headbox (of each size) | 1 |  |  |  |
|  | Nebulizers | 4 |  |  |  |
|  | (C) Drug Deliver Equipment / Catheter / tube |  |  |  |  |
|  | Intra-venous (I.V.) drip set | As required |  |  |  |
|  | Measured Volume | 2 |  |  |  |
|  | Blood transfusion set | 2 |  |  |  |
|  | Intra-venous (I.V) canula (Butterfly type) | As required |  |  |  |
|  | Intracath | 4 |  |  |  |
|  | Umbilical vein catheter | 4 |  |  |  |
|  | Feeding tubes | As required |  |  |  |
|  | Three way and four way valve | 2 |  |  |  |
|  | Malecot’s catheter | 4 |  |  |  |
|  | Cut open canula | As required |  |  |  |
|  | (D) Measurement Equipments |  |  |  |  |
|  | Weighing machine – Infant | 1 |  |  |  |
|  | Child | 1 |  |  |  |
|  | Neonates | 1 |  |  |  |
|  | Infantometer | 1 |  |  |  |
|  | Measuring tape | As required |  |  |  |
|  | Shakir’s tape | As required |  |  |  |
|  | (E)Work lab and investigations |  |  |  |  |
|  | Student Microscope | 1 |  |  |  |
|  | NueBauer Chamber | 2 |  |  |  |
|  | Hemoglobinometer | 2 |  |  |  |
|  | Test Tube | As required |  |  |  |
|  | Spirit Lamp | 2 |  |  |  |
|  | Stains for – Leishman’s staining | As required |  |  |  |
|  | AFB staining | Do |  |  |  |
|  | Grams Staining | Do |  |  |  |
|  | Dextrostix | As required |  |  |  |
|  | Multisix | Do |  |  |  |
|  | Uristix | D o |  |  |  |
|  | Micro Erythrocite Sedimntation Rate |  |  |  |  |
|  | ESR) tubes | As required |  |  |  |
|  | Filter Paper | As required |  |  |  |
|  | Bone marrow needle | 2 |  |  |  |
|  | Lumbar Puncture (L.P.) Needles | 2 |  |  |  |
|  | Pleural aspiration needle | 2 |  |  |  |
|  | Vim-Silverman Liver Biopsy needle | 2 |  |  |  |
|  | Mengneiz needle | 2 |  |  |  |
|  | True cut Renal Biopsy needle | 2 |  |  |  |
|  | X-ray view box | 1 |  |  |  |
|  | (F) Miscellaneous |  |  |  |  |
|  | Radiant Warmer | 1 |  |  |  |
|  | Infant Incubator | 1 |  |  |  |
|  | Phototherapy unit | 1 |  |  |  |
|  | Ophtholmoscope | 1 |  |  |  |
|  | Thermometer-Oral | As required |  |  |  |
|  | Rectal | As required |  |  |  |

DEPARTMENT OF PSYCHIATRY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Electro convulsive therapy (E.C.T) machine preferably with ECG monitoring | 2 |  |  |  |
|  | E.E.G. monitoring | 1 |  |  |  |
|  | ECG Machine | 1 |  |  |  |
|  | EEG Machine | 1 |  |  |  |
|  | Lithium Analyzer | 1 |  |  |  |
|  | Biofeed-back instruments (sets) | 1 |  |  |  |
|  | Thin layer chromatography (for dependence treatment) | 1 |  |  |  |
|  | Alcohol breath analyzer | 1 |  |  |  |
|  | Psychological Tests equipment |  |  |  |  |
|  | Project tests | 2 |  |  |  |
|  | Intelligence tests | 2 |  |  |  |
|  | Personality tests | 2 |  |  |  |
|  | Neuro psychological tests | 2 |  |  |  |

DEPARTMENT OF SURGERY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | O.P.D |  |  |  |  |
|  | Blood pressure Apparatus, Stethoscopy, Diagnostic kit, weighing machine, skinfold Caliper, weight scale | 4 |  |  |  |
|  | X-ray viewing box 4 in 1 | 4 |  |  |  |
|  | Proctoscope and Gabriel syringe | 4 |  |  |  |
|  | Sigmoidoscope (Rigid) | 2 |  |  |  |
|  | Flexible Endoscope, upper GI | 2 |  |  |  |
|  | Colonoscope (one set in Main O.T) |  |  |  |  |
|  | Diagnostic Cystoscope | 1 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Uroflowmetry | 1 |  |  |  |
|  | ii) MINOR O.T. |  |  |  |  |
|  | Operation Theatre Table | 2 |  |  |  |
|  | Operation Theatre Ceiling light | 2 |  |  |  |
|  | Pedestal lights | 2 |  |  |  |
|  | Electro-surgical unit | 1 |  |  |  |
|  | Suction | 4 |  |  |  |
|  | Pulse Oximeter(one for Endoscopy Room) | 4 |  |  |  |
|  | Anaesthesia Equipment | 1 set |  |  |  |
|  | Resuscitation kit | 1 |  |  |  |
|  | Assorted surgical instrument for minor operation sets | 12 |  |  |  |
|  | Autoclave | 1 |  |  |  |

### WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | B.P.Apparatus, Stethescope, diagnostic kit (4 sets in each ward) | 12 sets |  |  |  |
|  | Weighing Machine, height scale, skin fold caliper (2 each in each ward) | 6 |  |  |  |
|  | Proctoscope (2 in each ward0 | 6 |  |  |  |
|  | Monitors for pulse rate, Heart rate, E.C.G. Invasive and non-invasive |  |  |  |  |
|  | Pressure (2 in each ward) | 6 |  |  |  |
|  | Incubators / Transport incubators | 3 |  |  |  |
|  | Neonatal Bassinet | 3 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Arterial blood analyzer | 1 |  |  |  |
|  | Oesophageal / Gastric pH & Pressure recorder | 1 |  |  |  |
|  | Iii) OPERATION THEATRE |  |  |  |  |
|  | Operating Tables | 8 |  |  |  |
|  | Operating Ceiling lights | 8 |  |  |  |
|  | Paedestal side light (for emergency use) | 4 |  |  |  |
|  | Electrosurgical unit | 10 |  |  |  |
|  | General sets (8 for each operation Theatre) | 64 |  |  |  |
|  | Burr hole set | 2 |  |  |  |
|  | Vascular set (1 in each O.T) | 8 |  |  |  |
|  | Anaesthesia equipment as per requirement of Anaesthesia department diagnostic and Operative Laparoscope | 2 |  |  |  |
|  | Cystoscope and Resectoscope | 2 |  |  |  |
|  | Bronchoscope | 1 |  |  |  |
|  | Flexible G.I. Endoscope | 1 |  |  |  |
|  | Laser (May be shared with other Dept) | 1 |  |  |  |
|  | C-Arm Image Intensifier | 1 |  |  |  |
|  | Operating microscope-binocular with Video monitor | 1 |  |  |  |
|  | Operative ultrasound | 1 |  |  |  |
|  | Stapling device assorted | 2 sets |  |  |  |
|  | Endo-stapler | 1 sets |  |  |  |
|  | Closed circuit T.V. | 2 |  |  |  |
|  | iv) MISCELLANEOUS |  |  |  |  |
|  | Photocopier | 1 |  |  |  |
|  | Computer with laser Printer | 1 |  |  |  |
|  | Electronic Typewriters | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Over head Projector | 2 |  |  |  |
|  | Video Cassett Recorder/video Cassette Player | 1 |  |  |  |

### DEPARTMENT OF PAEDIATRIC SURGERY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Resuscitation equipment | 2 |  |  |  |
|  | Ambubags | 2 |  |  |  |
|  | ET tubes (all sizes 2.5-8) | 4 sets |  |  |  |
|  | Guedell’s air way (all sizes) | 2 sets |  |  |  |
|  | Laryngoscope | 2 |  |  |  |
|  | Suction Catheters assorted sizes | 10 sets |  |  |  |
|  | Suction machines | 4 |  |  |  |
|  | Oxygen cylinders Oxygen | 8 |  |  |  |
|  | B.P.Apparatus | 4 |  |  |  |
|  | Slow suction machine | 2 |  |  |  |
|  | Nebulizer | 2 |  |  |  |
|  | Heater | 2 |  |  |  |
|  | I.C.U. equipment incubator | 2 sets |  |  |  |
|  | Operation Theatre equipment | 1 |  |  |  |
|  | Cystoscope – Paediatrics | 1 |  |  |  |
|  | Rigid Bronchoscope (sets) | 1 |  |  |  |
|  | Oesophageal dilators (sets) | 1 |  |  |  |
|  | Paediatrics Sigmoidoscope | 1 |  |  |  |

### DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Basic instrumentation set for fracture | 3 sets |  |  |  |
|  | Mall fragment and large fragment | 2 |  |  |  |
|  | External fixator | 4 |  |  |  |
|  | C-Arm (Image Intensifier) | 1 |  |  |  |
|  | Portable x-ray Machine | 1 |  |  |  |
|  | Arthroscope | 1 |  |  |  |
|  | Slide Projector | 1 |  |  |  |
|  | Over-head projector | 1 |  |  |  |
|  | Movie Camera for demonstration of live operations | 1 |  |  |  |
|  | Plaster room equipment (sets) with plastic table | 1 |  |  |  |

DEPARTMENT OPHTHALMOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) O.P.D |  |  |  |  |
|  | Snellen chart snellen drum with or without remote control | 3 |  |  |  |
|  | Trial set with trial fame both for adult and children | 3 |  |  |  |
|  | Bjerrum screen | 1 |  |  |  |
|  | Perimeter | 1 |  |  |  |
|  | Colour vision chart | 3 |  |  |  |
|  | Near vision chart with different language | 3 |  |  |  |
|  | 3 cell torch | 6 |  |  |  |
|  | Ophthalmoscope and Retinoscope | 3 |  |  |  |

### Common equipments in the OPD

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Sit lamp | 1 |  |  |  |
|  | Applanation tonometer | 1 |  |  |  |
|  | Keratometer | 1 |  |  |  |
|  | Indirect ophthalmoscope | 1 |  |  |  |
|  | Synoptophore | 1 |  |  |  |
|  | Maddox rod | 1 |  |  |  |
|  | Maddox wing | 1 |  |  |  |
|  | Diplopia goggles | 1 |  |  |  |
|  | Gonioscope | 1 |  |  |  |
|  | Placido disc | 1 |  |  |  |
|  | Prism bar | 1 |  |  |  |
|  | Schoutz tonometer | 2 |  |  |  |

ii) MAJOR Operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operating microscope with TV unit with camera | 1 |  |  |  |
|  | Cyro Unit | 1 |  |  |  |
|  | Cataract Set | 5 |  |  |  |
|  | Glaucoma set | 2 |  |  |  |
|  | DCR set | 2 |  |  |  |
|  | Entropian set | 2 |  |  |  |
|  | Enucleation set | 2 |  |  |  |
|  | Eviscerations set | 2 |  |  |  |
|  | Squint set | 2 |  |  |  |

ii) GENERAL OPHTHALMIC EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operation Theatre Table | 1 |  |  |  |
|  | Operation Theatre light | 1 |  |  |  |
|  | iv) MINOR Operation Theatre: Minor OT should have the equipment for the removal of the foreign body, sutures and chalzion or style etc. v) WARD Slit lamp |  |  |  |  |
|  | Snellen Chart/ snallen drum with or without remote control | 1 |  |  |  |
|  | Trial set with trial frame both for adult and children | 1 |  |  |  |
|  | Bjerri, screen | 1 |  |  |  |
|  | Perimeter | 1 |  |  |  |
|  | Colour vision chart | 1 |  |  |  |
|  | Near vision chart with different language | 1 |  |  |  |
|  | 3 cell torch | 2 |  |  |  |
|  | Opthalmoscope and retinoscope | 1 |  |  |  |

10) DEPARTMENT OF ENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) OPD | (Per doctor) |  |  |  |
|  | Nasal spectulum | 4 |  |  |  |
|  | Tongue depressor | 4 |  |  |  |
|  | Laryngeal mirrors | 4 |  |  |  |
|  | Nasopharyngeal mirrors | 4 |  |  |  |
|  | Aural speculum | 4 |  |  |  |
|  | Ear suction | 2 |  |  |  |
|  | Nasal suction | 2 |  |  |  |
|  | Suction apparatus | 1 |  |  |  |
|  | Siegles speculum | 1 |  |  |  |
|  | Tuning fork (512 Hz) | 1 |  |  |  |
|  | Otoscope | 2 |  |  |  |
|  | Bayonet forces | 1 |  |  |  |
|  | Bulls lamp | 1 |  |  |  |
|  | Head lamp | 1 |  |  |  |
|  | ENT examination Chair | 2 |  |  |  |
|  | Jobson Horne probe | 1 |  |  |  |
|  | Sterilizer | 1 |  |  |  |
|  | BP Apparatus | 1 |  |  |  |
|  | Stethoscope | 1 |  |  |  |

ii) MAJOR Operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Tonsillectomy and Adenoidectomy set |  |  |  |  |
|  | b) Set for nasal bone fracture Asch forceps | 1 |  |  |  |
|  | c) Septoplasty set | 1 |  |  |  |
|  | d) Caldwel Iue set | 1 |  |  |  |
|  | e) Antrostomy set | 1 |  |  |  |
|  | f) FESS set | 1 |  |  |  |
|  | g) Direct laryngoscopy set | 1 |  |  |  |
|  | h) Microlaryngoscopy set | 1 |  |  |  |
|  | i) Tympanoplasty set | 1 |  |  |  |
|  | j) Mastoidectomy set | 1 |  |  |  |
|  | k) Stapedctomy set | 1 |  |  |  |
|  | l) Oesophagoscopy set | 1 |  |  |  |
|  | m) Bronchoscopy set | 1 |  |  |  |
|  | n) Tracheostomy set | 1 |  |  |  |

iii) MINOR operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Antral wash set | 1 |  |  |  |
|  | b) Direct Laryngoscope se | 1 |  |  |  |

iv) WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Semi intensive care unit (4 beds) | As required |  |  |  |
|  | Central suction | As required |  |  |  |
|  | Oxygen | As required |  |  |  |
|  | Humidifier | As required |  |  |  |
|  | Optional for MBBS | As required |  |  |  |

v) MISCELLANEOUS EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operating microscope for major operation Theatre | 1 |  |  |  |
|  | For minor operation theatre | 1 |  |  |  |
|  | Puretone audiometer | As required |  |  |  |
|  | Impendance audiometer | As required |  |  |  |
|  | SPECIAL EQUIPMENTS |  |  |  |  |
|  | a) Temporal bone lab Microscope b) Drill |  |  |  |  |
|  | Mastoid set | 1 |  |  |  |
|  | Optional for MBBS | 1 |  |  |  |

vi) ANY OTHER ADDITIONAL EQUIPMENT WHICH ARE DESIRABLE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Flexible nasopharyngolaryngoscope | 1 |  |  |  |
|  | Electronystagmograph | 1 |  |  |  |
|  | Brainstem evoked response audiometer | 1 |  |  |  |
|  | Goggles, plastic apron, gloves for examination of patients with biohazard (HIV and Au positive) | 1 sets |  |  |  |
|  | FESS unit | 1 sets |  |  |  |

(11) DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) General |  |  |  |  |
|  | Speculums and retractors | 25 |  |  |  |
|  | EA+ECC sets | 10 |  |  |  |
|  | PCT forceps | 5 |  |  |  |
|  | Ayers spatula | 15 |  |  |  |
|  | Cytology bottle | 15 |  |  |  |
|  | Microscope | 1 |  |  |  |
|  | MR Syringes | 5 |  |  |  |
|  | Colonoscope | 1 |  |  |  |
|  | Cryo/electro cautery apparatus | 1 |  |  |  |
|  | Simple fetal Doppler | 1 |  |  |  |
|  | NST Machine | 2 |  |  |  |
|  | Stitch removal sets | 5 |  |  |  |
|  | Dressings sets | 5 |  |  |  |
|  | Ultrasound machine | 1 |  |  |  |
|  | Proctoscope | 3 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | View box | 1 |  |  |  |
|  | (Blood pressure apparatus, measuring tapes, syringes, needles, torch) Resuscitation tray | 2 |  |  |  |
|  | (Laryngoscope, ET Tube, Ambu bag, suction catheter, Essential drugs). Suction machine | 2 |  |  |  |
|  | Hysterosalphigogram Canula | 5 |  |  |  |
|  | ii) Main operation theatre |  |  |  |  |
|  | Abdominal Hysterectomy set (Arteries, scissors, scalpel, Allis’s kelly’s clamps, Badcock forceps, thumb forceps, Harington & Richardson retractors) Vaginal Hysterectomy set | 3 |  |  |  |
|  | (Scalpel, scissors, Metal Catheter, Sim’s speculum volsellum, Kelly’s clamps, Right angle retractor, arteries , Allis, uterine sound, bladder sound). Tuboplasty set | 2 |  |  |  |
|  | Myomectomy instruments | 1 |  |  |  |
|  | (Myoma screw, Boney’s clamp) | 1 |  |  |  |
|  | Diagnostic laparoscopy set | 2 |  |  |  |
|  | Hystroscopy set | 1 |  |  |  |
|  | Electronic Carbondioxide insuffator/ Insuffator basic unit | 2 |  |  |  |
|  | Resctoscope | 1 |  |  |  |
|  | Hyseromat | 1 |  |  |  |
|  | Operation microscope/ Loupe | 1 |  |  |  |
|  | Electrocauter | 2 |  |  |  |

iii) SPECIAL EQUPIMENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Contact microhystroscope | 1 |  |  |  |
|  | Co2 & Nd Yag laser | 1 |  |  |  |

iv) LABOUR ROOM

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Delivery sets | 10 |  |  |  |
|  | B.P.Apparatus | 3 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Fetal Doppler | 1 |  |  |  |
|  | Cardiotocogram machine | 2 |  |  |  |
|  | Portable ultrasound | 1 |  |  |  |
|  | High suction machine | 1 |  |  |  |
|  | Resuscitation tray | 2 |  |  |  |

v) SPECIAL EQUIPMENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Oxytocin infusion pumps | 3 |  |  |  |
|  | Multichannel monitors | 2 |  |  |  |
|  | Intrauterine Pressure monitoring system | 2 |  |  |  |
|  | Fetal scalp electrodes Facilities for fetal Scalp pH | 2 |  |  |  |

vi) TEACHING SET

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Doll and Dummy | 2 |  |  |  |
|  | Female Pelvis | 2 |  |  |  |
|  | Gross specimens X-ray/US films view box | 2 |  |  |  |
|  | VCR | 2 |  |  |  |
|  | Overhead Projector | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Set of instruments/foreceps etc. |  |  |  |  |

vii) MISCELLANEOUS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Camera with 200 m lens Endocamera/Television, TTL flash light, Carbondioxide Monitor, Calculator channelizer, Disposables, to be issued on monthly basis. |  |  |  |  |

viii) MINOR OPERATION THEATRE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Cervical biopsy set | 4 |  |  |  |
|  | MTP set | 5 |  |  |  |
|  | D&C set | 5 |  |  |  |
|  | Hydrotubation set | 2 |  |  |  |
|  | IUCD insertion/removal set | 10 |  |  |  |
|  | High suction machine | 2 |  |  |  |
|  | Resuscitation tray | 1 |  |  |  |
|  | E.B.Set | 6 |  |  |  |
|  | (O.T. Lights, OT tables) | 6 |  |  |  |

ix) MATERNITY O.T.

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Set for LSCS | 5 |  |  |  |
|  | D&C set | 5 |  |  |  |
|  | MTP set | 6 |  |  |  |
|  | High suction machine | 2 |  |  |  |
|  | Cervical exploration set | 2 |  |  |  |
|  | Uterine packing forceps | 2 |  |  |  |
|  | Abdominal hysterectomy set | 1 |  |  |  |
|  | Diagnostic laparoscopy set | 2 |  |  |  |
|  | Laprocator for tubal ligation | 2 |  |  |  |
|  | Postputum ligation | 2 |  |  |  |
|  | Outlet forceps | 3 |  |  |  |
|  | Low mid cavity forceps/kjielland forceps | 3 |  |  |  |
|  | Vaccum Extractor and suction machine | 2 |  |  |  |
|  | Resuscitation tray | 1 |  |  |  |
|  | Decapitation hook | 1 |  |  |  |
|  | Cranioclast with cephalotribe | 1 |  |  |  |
|  | Oldham Perforator | 1 |  |  |  |
|  | Infusion Pump | 3 |  |  |  |
|  | EB set | 4 |  |  |  |

Operation Theatre table, operation theatre lights, Central oxygen and suction

x) SPECIAL EQUIPMENT:

Multichannel monitor with ECG, BP, HR, Pulse oxymetry for high risk pregnant patients

(eclampsia, heart diseases etc).

xi) WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Blood Pressuer Apparatus | 3 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Speculum and retractors | 40 |  |  |  |
|  | Glucometer | 2 |  |  |  |
|  | Microscope | 2 |  |  |  |
|  | Suture removal sets | 5 |  |  |  |
|  | Dressing sets | 10 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Cutdown sets | 1 |  |  |  |
|  | Blood gas analyzer | 1 |  |  |  |
|  | CTG machine | 1 |  |  |  |
|  | Suction machine | 2 |  |  |  |
|  | Resuscitation tray | 2 |  |  |  |
|  | View box | 1 |  |  |  |

xii) SPECIAL EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Ultrasound machine with Doppler/Vaginal Probe/ Facilities for Interventional procedure | 1 |  |  |  |
|  | Multichannel Monitor Fetal Monitor for | 1 |  |  |  |
|  | Antepartum Surveillance | 2 |  |  |  |
|  | Computer for data entry (Gloves, syringes, needles, torch, measuring tape etc) | 1 |  |  |  |

xiii) Laboratory equipment for following investigations:

H-Gram

Urine Examination

Semen Analysis

Renal function Test (RFT), Liver function test (LFT),

Including Serum Blutamase Test (SBT)

Electrolytes, Blood sugar

Culture facilities

24 hr. urine alb. Creatinine

VDRL, TORCH

HIV

Serum, BHCG, estroil, MSAFP

Semen wash

FSH, LH PROCLACTIN, T3, T4,

TSH, Testosterone, DHEAS

Chlamydia and other reproductive tract infection testing

GENETIC LAB: Cytology chromosome study, PCR for various

Abnormalities. Facilities for biochemical tests.

And enzyme studies for prenatal diagnosis

Blood gas analyzer

Thalassemia study

ABO and Rh typing

PCR for tuberculosis

Viral markers for Hepatitic studies.

Coagulation profile, fibrinogen degradation products,

Blood bank facilities.

Cryopresservation.

Assisted reproductive techniques.

(12) DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | OPD-Anaesthesia clinic Blood Pressure Instrument (Non-invasive) | 1 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Ware (Recovery) Resucitation equipments (CPR) |  |  |  |  |
|  | a) Adult Dummy | 1 |  |  |  |
|  | b) Paediatric dummy | 1 |  |  |  |
|  | c) Artificial breathing Bag with face Masks |  |  |  |  |
|  | d) Defibrillator Suction machine |  |  |  |  |
|  | - Electrical | 5 |  |  |  |
|  | - Manual | 5 |  |  |  |
|  | Oxygen therapy unit | 2 |  |  |  |
|  | Pulse Oximeter | 2 |  |  |  |
|  | E.C.G. Monitor | 2 |  |  |  |
|  | E.T. Co.2 Monitor | 1 – one for each O.T. |  |  |  |
|  | Simple anaesthesia machine with resuscitation equipments and accessories | 1 |  |  |  |
|  | Machanical Ventilator | 2 |  |  |  |

(13) DEPARTMENT OF RADIO-DIAGNOSIS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Conventional x-ray unit for routine x-ray and IVV Mobile x-ray units | 4 |  |  |  |
|  | a) 30 MA | 2 |  |  |  |
|  | b) 60 MA | 2 |  |  |  |
|  | Fluroscopic unit | 1 |  |  |  |
|  | Both conventional and image intensifying unit for gastro enterology & gynae work etc. | 2 |  |  |  |
|  | Ultrasonography equipment |  |  |  |  |
|  | 2+1 additional unit independently for Obstetrics and Gynaecology. |  |  |  |  |
|  | CT | 1 |  |  |  |
|  | Mammography (preferably) MRI (preferably) |  |  |  |  |

OPTIONAL DEPARTMENTS

(14) RADIO-THERAPY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Examination Table | 2 |  |  |  |
|  | ENT examination set up |  |  |  |  |
|  | Gynae/pelvic examination tables |  |  |  |  |
|  | Treatment planning and mould room including |  |  |  |  |
|  | i) Computerised treatment planning system | 1 |  |  |  |
|  | ii) Simulator | 1 |  |  |  |
|  | iii) Immobilization cast making system | 1 |  |  |  |

#### Brachytherapy setup

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) Manual afterloading intercavitory system (sets) | 1 |  |  |  |
|  | ii) Manual afterloading | 1 |  |  |  |
|  | Interstitial / surface mould systems (sets) |  |  |  |  |

Teletherapy set-up

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Isocentrically mounted | 1 |  |  |  |
|  | Rotational telecobalt |  |  |  |  |
|  | Unit minimum 80 cm SSD |  |  |  |  |
|  | Radiation Protection and Dosimetry set-up |  |  |  |  |
|  | i) Secondary standard dosimeter with ionization chamber | 1 |  |  |  |
|  | ii) Survey meter | 1 |  |  |  |
|  | iii) Area/Zone monitors (by BARC) As per the number of staff members in the department | 3 |  |  |  |

#### Radiotherapy Department

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) Dual Photon energy linear accelerator with electrons and multileaf collimeter | 1 |  |  |  |
|  | ii) Remote controlled intracavitory system | 1 |  |  |  |
|  | iii) Remote controlled interstitial system | 1 |  |  |  |
|  | iv) CT-Sim 3D treatment Planning system | 1 |  |  |  |
|  | v) Isodose plotte (Automatic) | 1 |  |  |  |
|  | vi) Customised shielding | 1 |  |  |  |
|  | v) Block making system |  |  |  |  |
|  | vii) Customised compensator making system | 1 |  |  |  |
|  | viii) Computerised Dosimetry system | 1 |  |  |  |
|  | ix) Thermoluminiscent dosimetry system | 1 |  |  |  |
|  | x) Intra operative Radiotherapy and stereotactic radiotherapy set up alongwith linear accelerator (multi leaf). | 1 |  |  |  |

N.B: Normally one teletherapy unit should be provided for every 1000 new cancer cases.

All radiation therapy equipments (tele/Brachy) should be BARC type approved with BARC sanctioned layout / installation plan.

(15) PHYSICAL MEDICINE and REHABILITATION

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | 1. Rehabilitation Diagnosis and treatment equipments including exercise set-ups |  |  |  |  |
|  | 2. Remedial and recreational set up |  |  |  |  |
|  | 3. Electrotherapy equipments 4. Prosthetic-Orthotic workshop equipments. |  |  |  |  |

(C) OTHER DEPARTMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | 1. MEDICAL EDUCATION UINIT |  |  |  |  |
|  | Overhead Projectors | 2 |  |  |  |
|  | Slide Projectors | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Electronic Typewriter | 1 |  |  |  |
|  | Video Camera | 1 |  |  |  |
|  | Video cassette Recorder | 1 |  |  |  |
|  | Television | 1 |  |  |  |
|  | Black board | 2 |  |  |  |
|  | Xerox copier | 1 |  |  |  |
|  | Books and Journals | As required |  |  |  |

2. DEPARTMENT OF AUDIO VISUAL AIDS

ARTIST SECTION

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Drawing Board size 42” x 27” | 1 |  |  |  |
|  | Drawing Board size 22” x 30” | 1 |  |  |  |
|  | Instrument box steadler | 1 |  |  |  |
|  | Plastic Transparent set square 10” | 1 pair |  |  |  |
|  | Plastic scale transparent 18” | 1 |  |  |  |
|  | Parallel ruler 18” | 1 |  |  |  |
|  | Proportional Compass | 1 |  |  |  |
|  | Bowpen “Stanley” one for fine and one for thick line | 2 |  |  |  |
|  | “T” scale 24” wooden. | 1 |  |  |  |
|  | “T” scale 48” wooden | 1 |  |  |  |
|  | Frenat curves plastic 1 set of 12 | 1 set |  |  |  |
|  | Protractor plastic semiround 6” dia | 1 |  |  |  |
|  | Kent paper size 22” x 30” | 12 |  |  |  |
|  | Scolor drawing paper 22” x 30” | 12 |  |  |  |
|  | Drawing paper Norway 72 lbs | 12 |  |  |  |
|  | Water colour tubes “Winsor and Newton” | 24 |  |  |  |
|  | Posterocolours in different shades | 13 |  |  |  |
|  | Reeves Indian black ink | 12 |  |  |  |
|  | Water colour box “Peliken” Sable Hari brushes | 16 |  |  |  |
|  | Series No. 00 to 6 and 10 | 8 |  |  |  |
|  | Speed ball nibs style A.B.C. & D | 1 set |  |  |  |
|  | Crequil Nibs | 12 |  |  |  |
|  | Drawing Nibs 303 and 304 | 12 |  |  |  |
|  | Clip Holders | 6 |  |  |  |
|  | Computer facilities | As required |  |  |  |

### MODELLING SECTIONS AND PHOTROGRAPHY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Modeling instrument box | 1 |  |  |  |
|  | Saw for wood work | 1 |  |  |  |
|  | Bew saw iron | 1 |  |  |  |
|  | Jamboor | 1 |  |  |  |
|  | Plier | 1 |  |  |  |
|  | Plier Goldsmith | 1 |  |  |  |
|  | Scissors Goldsmith | 1 |  |  |  |
|  | Hammer | 1 |  |  |  |
|  | Mortar Iron | 1 |  |  |  |
|  | Bucket Iron | 1 |  |  |  |
|  | Chisel | 1 |  |  |  |
|  | Tagari Iron | 1 |  |  |  |
|  | E.L.Bowls | 4 |  |  |  |
|  | Drill Machine | 1 |  |  |  |
|  | Modelling clay | As required |  |  |  |
|  | Chalk clay | As required |  |  |  |
|  | Multani clay | As required |  |  |  |
|  | Yellow clay | As required |  |  |  |
|  | Soft stone powder | As required |  |  |  |
|  | Plaster of Paris | As required |  |  |  |
|  | Old raddy | As required |  |  |  |
|  | Gum | As required |  |  |  |
|  | Stand paper | As required |  |  |  |
|  | Plasticine | As required |  |  |  |
|  | Wires G.I. copper and wire netting | As required |  |  |  |
|  | Synthetic Enamel colours 1/16 gallon | As required |  |  |  |
|  | Oil colour brushes | As required |  |  |  |
|  | Soap and coconut oil | As required |  |  |  |
|  | Epidiascope B & L or alatis | 4 |  |  |  |
|  | Radiant Screen size 72” x 72” | 2 |  |  |  |
|  | 16 mm. Film projector bell and Howell |  |  |  |  |
|  | Camera Rollieflex automatic |  |  |  |  |
|  | Camera 35 mm. Contax 4/D with copying attachment |  |  |  |  |
|  | Microscopic attachment of Contax |  |  |  |  |
|  | Micro Projectr Zeiss or B&L |  |  |  |  |
|  | Enlarger Omega D2 Dark room and developing equipment |  |  |  |  |
|  | 35 mm. Slide projector viewlex. |  |  |  |  |
|  | Lumbar puncture needles (disposable) |  |  |  |  |

YEAR WISE TARGET TO BE ACHIEVED BY APPLICANT OF A NEW

MEDICAL COLLEGE ADMITTING 50 STUDENTS

##### It is as per MCI act. Timely modification if any should be followed

---------------------------------------------------------------------------------------------------------------

FACILITIES	At the 		At the		At the 		At the		At the

REQUIRED TO     beginning	Time of	Time of	Time of	time of

BE PRESENT 	of first		1st renewal	2nd  renewal	3rd renewal	4th renewal

Admission	inspection	inspection	inspection	inspection

----------------------------------------------------------------------------------------------------------------

1    Principal/Dean             1       	      1		         1		        1		       1

----------------------------------------------------------------------------------------------------------------

2.   Administrative

Block and Staff       from Inspection

----------------------------------------------------------------------------------------------------------------

i) Principal/Dean            25 % of staff    50% of staff	    75% of staff    100% of staff

Office         		    Component      component      component	    component

-------------------------

ii Account Section

-------------------------

iii Academic section

-------------------------

iv Establishment

section

---------------------------------------------------------------------------------------------------------------

3.    Examination hall      		      100% 125

capacity

---------------------------------------------------------------------------------------------------------------

4.    Lecture theatre	   2-60 seats			       3-60 seats

capacity			        capacity

---------------------------------------------------------------------------------------------------------------

5.   Auditorium							      	               one 250 -

350 seats

---------------------------------------------------------------------------------------------------------------

6.   College Council	    From

inspection

---------------------------------------------------------------------------------------------------------------

7.   Animal House            From

inspection

---------------------------------------------------------------------------------------------------------------

8.   Central Library

---------------------------------------------------------------------------------------------------------------

i) Books		     1400		 2800	           4200	         5600	    7000

ii) Indian Journals	      14			  28		42	         56	    70

iii) Foreign journals	      6                              12                  18                 24               30

---------------------------------------------------------------------------------------------------------------

9.    Central Photo-            From		   Full staff at the end of 4th year

graphy		      inspection

10.    Central 		     From		  Full staff at the end of 4th year

workshop	     inspection

-----------------------------------------------------------------------------------------------------------------

11.     Central 		     From

incineration	     inception

-----------------------------------------------------------------------------------------------------------------

12.      Gas plant	    From

inception

-----------------------------------------------------------------------------------------------------------------

13.	Hostel for	        50		 100           	175	          200	   250

Boys/Girls

-----------------------------------------------------------------------------------------------------------------

14.	Interns Hostel									   100

-----------------------------------------------------------------------------------------------------------------

15.	Nurses  	        30%   		40%		50%	         75%	    100%

Hostel/Quarters

-----------------------------------------------------------------------------------------------------------------

16. 	Residants   	-	50		50		  50         	50 	      50

Quarters

-----------------------------------------------------------------------------------------------------------------

17.	Staff quarters	        10%		20%		 30%	          40%	      50%

-----------------------------------------------------------------------------------------------------------------

18.	Statistical  Unit      Operational      Fully

since                Functional

inception

-----------------------------------------------------------------------------------------------------------------

19. 	Medical 	       From

Education unit	       inception

-----------------------------------------------------------------------------------------------------------------

20.	Intercom network    50%		100%

-----------------------------------------------------------------------------------------------------------------

21.	Play ground	       At the time of inception onwards

-----------------------------------------------------------------------------------------------------------------

22.	Gymnasium	       At the end of Ist year onwards

-----------------------------------------------------------------------------------------------------------------

23.	Dept. Anatomy   }

24. 	Physiology	   }  100% from inception

25.	Biochemistry      }

-----------------------------------------------------------------------------------------------------------------

26.	Community	        Operational at the time of inception and fully functional at the

Medicine	         time of 2nd year

-----------------------------------------------------------------------------------------------------------------

27. 	Pharmacology          Operational at the time of inception and fully functional at the

28.	Pathology	          time of 2nd year

29.       Microbiology

30.	Forensic medic

-----------------------------------------------------------------------------------------------------------------

31.	i) All clinical 		Operational at the time of inception and fully functional at the

departments		  time of 2nd year

-----------------------------------------------------------------------------------------------------------------

ii) TB			 Operational at the time of inception and fully functional at the

Dermatology	 	  time of 3rd year

& Psychiatry

-----------------------------------------------------------------------------------------------------------------

32.	Operation Theatres	2		5		8		8	         10

-----------------------------------------------------------------------------------------------------------------

33.	Staff			As per

Apendix

-----------------------------------------------------------------------------------------------------------------

34.	Beds			As per

Appendix

-----------------------------------------------------------------------------------------------------------------

NOTE: Hostel should be made compulsory for all except Localites.

Bed strength required for various departments from inception to the end of 4th year

For 100 admissions.

Dept			At	At Ist	     At 2nd	At 3rd	     At 4th

Inception   renewal    renewal     renewal     renewal

Medicine &

Gen. Med.		80	  85	      93               102 	      120

Paed			30	  38	       50   	   60              60

TB & Chest		--	  10	       12		   15	         20

Skin & STD		--	    5	         7		     9              10

Psychiatry		--	    5	         7		     9	         10

Total	   	          110	143	     169		 195	        220

Surgery &

Gen Surgery		90	   90	        93	  100	        120

Ortho			30	   38	        50 	    60	          60

Ophtho		10	   13	        16	    18   	          20

ENT			10	   13	        16   	    18	          20

Total		           140	 154            175              196            220

OB & Gyn

Obst			 30          32              34                 36            36

Gynec			 20          21              22	      23            24

Total			 50          53              56                 59            60

Grand Total                300        350             400               450          500

CERTIFICATE

This is to certify that the information furnished in this LIC inspection format is true to the best of my knowledge and belief.

Date:								Signature of the Principal

with office seal.

Place:

##### RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA, BANGALORE

POST GRADUATE MEDICAL EDUCATION: MINIMUM REQUIREMENTS.

The regulations prescribed by MCI as amended from time to time are strictly followed.  In brief the requirements are given below:

1. The Medical College whose MBBS course is recognized by MCI after the first batch has completed the course can start Post Graduate Degree and Diploma Courses.

2. Minimum requirements prescribed by MCI for UG courses must be present.  In addition extra requirements are present for each individual departments which starts PG course.

3. Department with PG course should have a separate research lab of minimum of 50 Sq. mtrs, in addition to the Central Research Lab

4. Student Teacher ratio to be maintained at 1:1.

5. Extra staff required for Post Graduate Degree in different subjects in addition to the UG Courses is given below:

Anatomy:             1. Asso. Professor – 1

2. Asst. Professor  – 1

3. Demonstrators   – 1

4.Steno/Typist       -  1

Physiology:		- do-

Biochemistry:		- do-

Pathology		-do-

Microbiology		-do-

Pharmacology		-do-

Community Medicine	-do-

Radio diagnosis	-do-

Radiotherapy		-do-

Anesthesiology	-do-

Forensic Medicine	-do-

Department of Medicine, Surgery & OBG

Each Unit shall have in addition one whole time Asst. Professor and Steno

Staff for Ancillary Department

1. All ancillary braches running Post Graduate courses should have at least 60 beds in case of broad specialties and 20 beds in higher specialties.  A Unit shall consitst of 30 beds for MD/MS.

2. To determine the number of students who may be admitted for training, Out patient attendence, work turnover and ambulatory care, also have to be taken in to consideration.

3. Adequate Laboratory must be available for training

4. The department shall have adequate number of al equipments including the latest once necessary for training as prescribed by MCI

5. All these ancillary departments should have Professor in charge instead of Asso. Professor.

A detailed training programme for Degree and Diploma as prescribed by MCI must be present.  PG’s should take part in UG training.

All these ancillary departments should have Professor in charge instead of Asso. Professor.

A detailed training programme for Degree and Diploma as prescribed by MCI must be present.  PG’s should take part in UG training.

What is the contribution of the Institution to the Civil Society in terms of social accountability: (This can be answered by the inspectors in discussion with the authorities of the Institution).

To enclose relevant documents

RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA

4th “T” Block, Jayanagar, Bangalore – 560 041

ANNEXURE - B

MEDICAL  FACULTY

[FOR UG 100 SEATS AND PG COURSES]

| Courses Inspected For |
| --- |
| Faculty/Subject | Continuation of Affiliation |  |  |
| Under Graduate |
| MBBS |  |  |  |
| Post Graduate [MD, MS AND DIPLOMA] |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |
| Any other course |  |  |  |

To enclose relevant documents

Whether other Educational Institutions are also being run by the Trust / Institution in the same building / campus? Provide details

Name and address of Mangt: Institution: Whether located in the same building or campus

To enclose relevant documents: Annexure No.    and  Page No.

FINANCIAL STATUS OF THE INSTITUTION

(Audited financial Statement of Institution should be furnished in the following format)

##### Receipts & Expenditure for the year 2008 – 2009

| Receipts |  | Expenditure | Remarks |
| --- | --- | --- | --- |
| Sl. No. | Particulars | Amount |  | Sl. No | Particulars | Amount |  |
|  |  |  |  | CAPITAL EXPENDITURE |  |
| 1 | Grants Government Others |  |  | 1 | Building |  |  |
| 2 | Donations |  |  | 2 | Equipments |  |  |
|  |  |  |  | 3 | Others |  |  |
|  |  |  |  | REVENUE EXPENDITURE |  |
| 3 | Capitation Fee |  |  | 1 | Salary |  |  |
|  |  |  |  | 2 | MAINTAINANCE EXPENDITURE |  |
| 4 | Tuition Fee |  |  |  | i | College |  |  |
|  |  |  |  |  | ii | Hospital |  |  |
| 5 | Library Fee |  |  |  | iii | Others |  |  |
|  |  |  |  | 3 | University Fee |  |  |
| 6 | Sports Fee |  |  | 4 | Apex Bodies Fee |  |  |
|  |  |  |  | 5 | Government Fee |  |  |
| 7 | Union Fee |  |  | 6 | Deposit held by the College |  |  |
|  |  |  |  | 7 | Others |  |  |
| 8 | Others |  |  | 8 | Misc. Expenditure |  |  |
| Total |  |  | Total |  |  |

To enclose relevant documents: Annexure No.          and  Page No.

| PART – I (GENERAL INFORMATION) |
| --- |
| Name of the Principal |  |
| Qualification |  |
| Experience |  |
| Status of the College: Year of Establishment: (Independent / Wing of another College) (own building or rented) |  |
| For Institution Seeking Continuation of affiliation |  |
| Status of Hospital: 1. Bed Strength 2. Institution attached 3. Distance of Hospital and College 4. Primary Health Centre attached and its distance |  |
| Date of Last Inspection |  |
| UG - (Mention the Course) |  |
| PG - (Mention the Course) |  |

| Governing Council body members (Whether it is under the management of a regularly constituted governing body, if so, furnish the list of personnel of the governing bodies) |  |
| --- | --- |

| Maintenance of: - | Yes | No |
| --- | --- | --- |
| a. Individual Service Registers: |  |  |
| b. Staff Attendance Registers: |  |  |
| c. Acquaintance Registers: |  |  |
| d. Staff Pay Registers: |  |  |
| e. Fee Paid Registers: |  |  |
| f. Admissions Registers: |  |  |
| g. Stock Book Register Central and Departmental |  |  |
| h. Vehicle Register |  |  |

To enclose relevant documents Annexure No.          and Page No.

Pay Scales:

| Staff | UGC/GOK /Apex Body | PF Benefit/Pension Benefits | Remarks |
| --- | --- | --- | --- |
| Teaching Staff |  |  |  |
| Non – Teaching Staff |  |  |  |

Percentage of UG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| 1st Year |  |  |  |
| 2nd Year |  |  |  |
| 3rd Year |  |  |  |
| Final Year |  |  |  |

Percentage of PG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |

Admission status for past three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| Sanctioned |  |  |  |
| No. of Admissions |  |  |  |
| No. of Excess Admissions |  |  |  |
| Unfilled Seats |  |  |  |

In the last five years whether affiliation of this institution has been discontinued and admissions stopped? If so why? Give reasons

Report of the Action Taken on the Conditions laid down in the previous year's Affiliation Notification: -

| Library | No. of Books | No. of Indian Journals | No. of International Journals |
| --- | --- | --- | --- |
| Central Library |  |  |  |
| Departmental Library |  |  |  |
| Do the College have got the membership of Helinet (Digital Library) | YES / NO |
|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
| Fees a. Helinet Institutional annual fee : give details |  |  |  |  |  |  |
| b. Helinet Student annual fees for total number of students for all the years : |  |  |  |  |  |  |

# Part II

INFRASTRUCTURE

| Sl.No. | Required | ACTUAL INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | COLLEGE |  |  |  |
| A1. | GENERAL |  |  |  |
| A1.1 | CAMPUS |  |  |  |
|  | Unitary campus of not less than 25 acres of land. Relaxed, The hospital, college building including library hostel for the students and interns and PGs/Residents shall be in one piece of land which shall not be less than 10 acres. |  |  |  |
| A.1.2 | ADMINISTRATIVE BLOCK |  |  |  |
|  | Accommodation shall be provided for – 1. Principal/Dean’s office (36 Sq.m.) |  |  |  |
|  | 2.Staff room, |  |  |  |
|  | 3.College Council Room (80 Sq.m.) |  |  |  |
|  | 4.Office Superintendent’s Room (10 Sq.m.) |  |  |  |
|  | 5.Office (150 Sq.m.) |  |  |  |
|  | 6.Record Room (100 Sq.m.) |  |  |  |
|  | 7.Separate common room for Male and Female students with attached toilets (100 Sq.m.each) |  |  |  |
|  | 8.Cafeteria (40 to 50 Sq.m.) |  |  |  |
| A.1.3 | COLLEGE COUNCIL |  |  |  |
|  | College Council comprising of the Head of departments as members and Principal/Dean as Chairperson. The Council shall meet at least four times in a year to draw up the details of curriculum and training programme and other academic matters. |  |  |  |
| A.1.4 | CENTRAL LIBRARY |  |  |  |
|  | 1.Central Library (800 Sq.m) with seating arrangement for at least 100 students 2. There shall be one room for 50 students inside and one room for 50 students outside. 3. It should have not less than 7000 text and reference books. 4. The number of journals shall be 100 out of which , one-third shall be foreign journals and subscribed on continuous basis. There shall be provision for – a. Staff reading room for 20 persons; b. Rooms for librarian and other staff c. Journal room; d. Room for copying facilities; e. Video and Cassette room (desirable); f. Air-conditioned Computer room with Medlar and Internet facility with minimum of 10 nodes. |  |  |  |
| A1.5 | LECTURE THEATRE |  |  |  |
|  | Three lecture theatres of gallery type in the Institution (Two of seating capacity for 120 students and one with seating capacity for 250 students.) Lecture theatres shall be provided with necessary independent audio-visual aids (overhead projector, slide projector, LCD projector and a microphone) These lecture theatres shall be shared by all the departments in a programmed manner. |  |  |  |
| A1.6 | HOSTELS |  |  |  |
|  | Separate Boys and Girls hostels with accommodation for at least 200 students each. Dining hall, kitchen , Common hall , reading room , Gymnasium to be present HOSTEL FOR INTERNS : For 100 students Staff Quarters, Nurse Quarters |  |  |  |
| A1.7 | AUDITORIUM /EXAMINATION HALL |  |  |  |
|  | Auditorium-cum-examination hall of800 sq.m. area . Seating capacity 500-700 Examination hall for 250 capacity |  |  |  |
| A1.8 | CENTRAL WORKSHOP |  |  |  |
|  | Central workshop having facilities for repair of mechanical, electrical and A/c and Refrigeration equipments of college and the hospitals. It shall be manned by qualified personnel. |  |  |  |
| A.1.9 | ANIMAL HOUSE |  |  |  |
|  | Animal house may be maintained by the department of Pharmacology. Experimental work on animals can be demonstrated by Computer Aided Education |  |  |  |
| A1.10 | CENTRAL INCINERATOR/MICROWAVE |  |  |  |
|  | A Central Incinerator Plant or Microwave commensurate with hospital bed strength may be provided. Alternatively any other system approved by the respective State Pollution Control Board may be provided. |  |  |  |
| A1.11 | CENTRAL GAS PLANT/ GAS SUPPL UNIT |  |  |  |
|  | Central gas plant/ Gas suppl unit. |  |  |  |
| A1.12 | STATISTICAL UNIT |  |  |  |
|  | The Statistical Unit will be merged with Medical Record Section in the hospital. |  |  |  |
| A1.12 | MEDICAL EDUCATION UNIT |  |  |  |
|  | Medical Education Unit or Department for faculty development and providing teaching or learning resource material and medical illustration (Central Photographic Unit including Modellar, Artist equipment etc.) shall be a part of it. |  |  |  |
| A1.13 | CENTRAL RESEARCH LAB |  |  |  |
|  | One well equipped and furnished central research lab. (not less than 200 sq. mtr). |  |  |  |
| A1.14 | INTERCOM NETWORK |  |  |  |
|  | Intercom network between various sections, hospitals and college. |  |  |  |
| A1.15 | PLAY GROUND AND GYMNASIUM |  |  |  |
|  | Play ground and Gymnasium for the staff and students with a qualified physical education instructor |  |  |  |
| A1.16 | ELECTRICITY |  |  |  |
|  | Continuous electricity supply, with standby UPS or Generator arrangements and electricians are available round the clock. |  |  |  |
| A1.17 | SANITATION AND WATER SUPPLY |  |  |  |
|  | 1. Adequate sanitary facilities (toilets and bathrooms separately for women) 2. Safe continuous drinking water facilities must be provided for the teaching staff, students |  |  |  |
| A1.18 | DEMONSTRATION ROOM |  |  |  |
|  | Four demonstration rooms (capacity of 45 sq.mtr.) fitted with 1. Strip chairs 2. Over Head Projector 3. Slide Projector 4. Television 5. Video and other Audio-Visual aids. These will be shared by all other departments in the medical college. |  |  |  |
| A1.19 | LABORATORIES |  |  |  |
|  | 1. 6 laboratories (150 Sq.m.area each) with continuous working tables. and one preparation room each of 15 Sq.m.area . 2. Two laboratories of 60 Sq.m.area each. (The use of these laboratories may be used in common with the various departments e.g. Histology and Histopathology; Biochemistry and Clinical Pharmacology; Heamatology and Pathology; Microbiology and Community Medicine.) |  |  |  |

PRE – CLINICAL 	- Phase – I

# ANATOMY DEPARTMENT

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
|  | a) 250 Sq.mt. well ventilated (A/C preferable) b) Ante room for students lockers (100) c) 10 washing basins d) Teaching aids e) Embalming room (12 sq.mt) f) 3 storage tanks (1.5 to 3 sq.mt) g) Cooling cabinets (10-12 bodies) (15-18) |  |  |  |
| Schedule-1 |  |  |  |  |
| Dissection Hall |  |  |  |  |

| 2 | Histology Lab (150 sq.mt) |
| --- | --- |
|  | a) Accomodation for (50 students) b) 50 microscopes with electrical points c) Preparation room – 18 sq.mt |  |  |  |
| 3 | Museum (150 sq.mt) |
|  | a) Racks and shelves for wet and dry specimens b) Embryological section models c) Revolving stands for skiagram, CT scan and MRI d) X.Ray view boxexs multistand type to take 4 plates – 3 viewing boxes for (100 students) e) Seating accommodation foir 25 students f) 2 attached rooms for preperation of models and specimens |  |  |  |
| 4 | Departmental Library |
|  | Library/seminar room 30 sq.mt 80-100 books |  |  |  |
|  | Seating accommodation - Adequate |  |  |  |
| 5 | Accomodation for staff |  |  |  |
|  | a) Prof & HOD 18 sq.mt - 1 b) Asso.Prof. 15 sq.mt –1 c) Asst. Prof /Tutors 20 sq.mt – 1 d) Office / Clerical room – 12 sq.mt-1 e) Non-teaching staff 12 sq.mt – 1 |  |  |  |

| Schedule-1I |
| --- |
|  | Staff requirement for: 100 |  |  |  |
|  | Prof & HOD 1 |  |  |  |
|  | Asso.Prof 2 |  |  |  |
|  | Tutors 3 |  |  |  |
|  | Technicians 4 |  |  |  |
|  | Diss.Hall Attender 4 |  |  |  |
|  | Steno/store keeper 1 |  |  |  |
|  | Sweepers 6 |  |  |  |
| Schedule-1II |
| Equipment |
| 1 | Dissection Hall |
|  | a) Dissection tables 15 big b) Dissection table 05 small c) Drill machine – 2 d) Hand saw - 3 e) Band saw - 1 f) Stools -60 g) Brain Knife - 3 h) Cooling cabinet for – 8 bodies i) Storage tanks for – 10 bodies j) Plastic tanks – 10 k) Trolley table - 03 l) OHP – 2 + 2 m) X.ray viewing lobby – 3 n) Charts diagrams models, slides etc as required o) Dissecting instruments p) Meat cutting machine |  |  |  |
| Histology Laboratory |
|  | a) Microscopes – 60 b) Diss.Micro – 05 c) Microtomes (rotary) – 02 d) Microtome (sledge) – 01 e) Cabinet for slides for 1000-06 f) Incubator – 01 g) Paraffin embedding bath – 01 h) Hot plates – 02 i) Hot air oven - 01 j) Balance capacity 200 mg, sensitivity 1/50 mg – 01 capacity 6 kg sensitivity 1/5 gm – 01 Total – 02 k) Refrigerators – 02 l) Distilled water still – menesty type capacity gallon/hr.02 m) Diamond pencil – 04 n) 7 colour marking pencil – 02 |  |  |  |
| Museum |
|  | a) Skeleton articulated - 05 b) Bones disarticulated sets – 25 c) Specimen jars as required d) Steel racks as required e) Embalming machine for cadavers – 02 f) Computer – 01 |  |  |  |

# DEPARTMENT OF PHYSIOLOGY

I. Accomodation:

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Amphibian laboratory 150 sq.mts with preparation room 14 sq.mts |  |  |  |
| 2 | Haematology lab 150 sq.mts with preparation room 14 sq.mts |  |  |  |
| 3 | Clinical Physiology lab 60 sq.mts |  |  |  |
| 4 | Mammalian lab 60 sq.mts with preparation room 14 sq.mts |  |  |  |
| 5 | Departmental library cum seminar room 30 sq.mts |  |  |  |
| 6 | Prof & HOD – 18 sq.mts |  |  |  |
| 7 | Associate Prof – One room –10 sq.mts |  |  |  |
| 8 | Asst. Prof. one room – 15 sq.mts |  |  |  |
| 9 | Tutor – one room – 15 sq.mts |  |  |  |
| 10 | Dept office – one room – 15 sq.mts |  |  |  |
| 11 | Demonstration room – 45 sq.mts |  |  |  |

II. Staff:

| Sl. No. | Staff required | Actual Staff available in the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 2 |  |  |  |
| 3 | Asst. Prof. 2 |  |  |  |
| 4 | Lecturer in Biophysics 1 |  |  |  |
| 5 | Tutors 4 |  |  |  |
| 6 | Technician 4 |  |  |  |
| 7 | Steno 1 |  |  |  |
| 8 | Store keeper 1 |  |  |  |
| 9 | Lab attendants 3 |  |  |  |
| 10 | Sweepers 2 |  |  |  |

III. Equipment: List of equipment to be enclosed

2. Physiology Department:

(a) Furniture as required

Kymograph (presferably electrically driven) Myograph Stand, Inductorium, Simple Key Short Circulating Key, Pohl’s Commutator, Vibrating Interrupter, Muscle through, Muscle liver, Muscle grip of femur clamp, Hook and weight set, Heart liver, Frog board for dissection, enamel tray for above, frog board cork – lined with boss – head – 36 sets + 6 spares. Low voltage units, for tapping 2 and 4 volts for stimulation at each seat as required.

Note:

- Time makers can also be made available at each seat along with the low voltage unit.

- Electronic stimulators, students type can be used instead of low voltage units nife cells. This will also dispense with the need for induction coil interrupter, transistor ones are preferred.

Name of the Article

Electric time makers, 100/sec. Tuning fork, time marker, 100/sec. 6

Electrodes, X-blocks, burette clamps, enamel bowls brass uprights, with coarse and fine adjustments basin, spirit lamps, cooper wire (double cotton covered) Kymograph papter etc. as required.

(b) MAMMALLAN EXPERIMENTS

Large extension kymographs-brodie-starling complete with respiration pump, motor time marker manometer etc.

|  | As required | Actual Present |
| --- | --- | --- |
| Operation table |  |  |
| Volume recorders | 6 |  |
| Dale’s bath for internal organs | 15 |  |
| Isolated organs. Bath for students complete with lever etc. | 25 |  |
| Animal Weighing Machine, for small and big animals (for each) | 1 |  |
| Mary’s Tambour | 20 |  |
| Venus and arterial canula (different sizes) (each) | 12 |  |
| Smoking outfit, with fume cupboard | 1 |  |
| Varnishing outfit, for long and short paper | 1 |  |
| Anaesthesia boxes | 1 |  |
| Surgical instruments for operative procedures, syringes, pulleys, etc. |  |  |

(c) HUMAN AND OTHER EXPERIMENTS

|  | As required | Actual Present |
| --- | --- | --- |
| Microscopes, Oil immersion | 36 |  |
| Demonstrations eye piece |  |  |
| Double Demonstration eye piece | 3 |  |
| Stage incubator | 1 |  |
| Wasteren’s Pipettes for ESR on stand (with space pipettes) | 35 |  |

Name of the Article

| Perimeter Priestly Smith S/L.P 984 B & T | 6 |  |
| --- | --- | --- |
| Haemogiobinometer, Shail or hellige (with spaces) | 36 |  |
| Haemocytometers | 36 |  |
| Sphygmomanometer | 12 |  |
| Stethoscopes | 12 |  |
| Stethoscopes, Demonstration with multipleear pieces | 2 |  |
| Polygraphs | 2 |  |
| Venus Pressure apparatus | 2 |  |
| Spirometer, Ordinary | 6 |  |
| Gas analysis apparatus, Haldane’s student type | 1 |  |
| Van Slyko’s apparatus monometric | 2 |  |
| Gas analyzer – automatic for CO2, O2, N2 | 1 |  |
| Douglas bag, complete | 6 |  |
| Basal metabolism apparatusa | 1 |  |
| Erogograph Mosse’s | 6 |  |
| Clinical Thermometer | 12 |  |
| Compas | 10 |  |
| Thermoanaeshthesiometer | 3 |  |
| Algometer | 3 |  |
| Apparatus for passive movement | 1 |  |
| Knee hammer | 12 |  |
| Stethograph | 10 |  |
| Bicycle ergometer | 4 |  |
| Olfactometer | 1 |  |
| Opthalmoscope | 2 |  |
| Schematic eye | 2 |  |
| Phakoscope | 1 |  |
| Permiter, with charts | 2 |  |
| Colour percetion Lantern Edridge Green | 1 |  |
| Maddox rod | 1 |  |
| Newtons colour wheel | 1 |  |
| Tuning forks to test hearing 32-10,000 cps (sets) | 2 |  |
| Dynamomete R | 1 |  |
| Otokrhinolaryngoscope | 3 |  |
| Steriliser Electric | 2 |  |
| Instrument trolley | 1 |  |
| Stop watches | 6 |  |
| General |  |  |
| Physiograph, 3 channels, complete with accessories | 1 |  |
| Physiograph, single channel, with accessories | 6 |  |
| Centrifuge, high speed with technometer etc. | 1 |  |
| Calorimeter, photo-electric | 1 |  |
| Ph meter, electric | 1 |  |
| Refrigerator, 9-10 c.ft | 1 |  |
| Oxygen Cylinder with trolley | 6 |  |
| Co-cylinder with trolley | 2 |  |
| Electronic Stimulator | 1 |  |
| Water distillation still, with spare heating elements | 1 |  |
| All glass distillation apparatus double stage | 1 |  |
| Voltage stabilize | 3 |  |
| Stepdown transformers | 1 |  |
| Thermometers, balances, microslides and glassware | 12 |  |

# DEPARTMENT OF BIOCHEMISTRY

- Demonstration Room – There shall be one demonstration room 945 sq.mt fitted with strip chairs, over head projector, slide projector, Television, Video and other audiovisual aids, so as to accommodate at least 50-60 students.

- Practical class room – There shall be a laboratory (150 sq.mt) with benches fitted with shelves and cupboards, water taps, sinks, electric and gas connections so as to accommodate 60 students. Two ante rooms (14 sq.mt area) each for technicians stores, preparation room, balance and distillation apparatus shall also be provided.

- There shall be a departmental library-cum-seminar room (30 sq.mt area) with at least 80-100 books. However, not more than two copies of anyone book shall be counted towards computation of the total number of books

Accommodation for staff:

1. Professor and Head of the Dept. – one room (20 sq.m. area)

2. Associate Professor/Reader  - one room (10 sq.m. area)

3. Asst. Professor/Lecturer – one room (10 sq.m. area)

4. Tutor / Demonstrator – one room (15 sq.m. area)

5. Department office – one room ( 15 sq.m. area) fitted with computer, printer and accessories

Staff Required:

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 1 |  |  |  |
| 3 | Asst. Prof./ Lecturer 1 |  |  |  |
| 4 | Tutors 2 |  |  |  |
| 5 | Technician 4 |  |  |  |
| 6 | Steno 1 |  |  |  |
| 7 | Store keeper 1 |  |  |  |
| 8 | Lab attendants 1 |  |  |  |
| 9 | Sweepers 2 |  |  |  |

EQUIPMENTS AND INSTRUMENTS:

- Office table, small and big, office chairs, museum almirahs, study table, staff room and library almirahs, stock almirahs, store room racks, laboratory benches with cupboards and racks for reagent ser up for experimental physiology including sherrington starling kymograph (preferably electrically driven) Myography stand, inductrorium, simple  key short circulating key, pohl’s commutator vibrating interrupter, Muscle through, Muscle liver, Muscle grip of femur clamp, Hook and weight set, heart liver, frog board for dissection, enamel tray for above, frog board cork lined with boss-head-36 sets+ 6 spares.

Low voltage units, for tapping 2 and 4 volts for stimulation, at each seat –as required.

Note: 1. Time makers can also be made available at each seat along

with the low voltage unit.

2. Electronic stimulators, students type can be used instead of low

voltage units nife cells.

This will also dispense with the need for induction coil

interrupter, transistor ones are preferred.

EQUIPMENTS AND INSTRUMENTS:

|  | As required | Actual Present |
| --- | --- | --- |
| Fume cupboards | 2 |  |
| Boiling Water baths, with lids having 8-12 Holes | 6 |  |
| Autoclave electric | 2 |  |
| Balance open pan | 6 |  |
| Balance semi micro | 2 |  |
| Balance micro | 1 |  |
| Votex mixers | 2 |  |
| Urinometers | 50 |  |
| Constant temperature water bath | 4 |  |
| Ryles tube | 4 |  |
| Incubator electric with thermostat | 4 |  |
| Hor air over | 4 |  |
| Magnetic strirrer | 2 |  |
| Pump vaccum | 2 |  |
| Colorimeters | 6 |  |
| Refrigerators | 4 |  |
| Flame Photometer | 2 |  |
| Thermometers 0-250 C | 4 |  |
| Thermometers 0-110 C | 4 |  |
| Cork borer set | 1 |  |
| Stop watch | 4 |  |
| Spirit lamp | 50 |  |
| Chromatographic chamber | 2 |  |
| Water distillation plant (m,etallic) | 3 |  |
| Allglass distillation apparatus | 3 |  |
| Desicators large size | 6 |  |
| Desicators small size | 6 |  |
| Centrifuge clinical for 12 tubes | 6 |  |
| PH meters | 3 |  |
| Homogeniser | 3 |  |
| Microscopes | 6 |  |
| Ultra Violet (U.V.) lamp | 1 |  |
| Tolls for small workshop for glass blowing and mending | 1 set |  |
| Bottle dispensers | 15 |  |
| Samplers (autopipettes) different volume range | 15 |  |
| Electrophoresis apparatus with power supply for paper PAGE AGAROSE | 6 |  |
| Spectrophotometer | 1 |  |
| Uinocular research microscopes | 2 |  |

Glass ware as required by standard lab. Like pipettes, beakers and conical flasks, etc. As required.

PARACLINICAL

DEPARTMENT OF PATHOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | one demonstration room (45 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 50-60 students. |  |  |  |
| B | PRACTICAL LABORATORIES |  |  |  |
|  | 1. Morbid Anatomy 2. Histopathology/Cytopathology (150 sq.mt) 3. Clinical pathology/ Haematology (150 sq.mt.area) 4. Preparation room (14 sq.mt.area) For 60 students to carry out exercises. |  |  |  |
| C | SEPARATE SERVICE LABORATORY |  |  |  |
|  | 1. Histopatholgy 2. Cytopathology 3. Haematology Other specialised work in the hospital suitably equipped. (each 25 sq.mt) |  |  |  |
| D | OTHER ROOMS |  |  |  |
|  | 1. Balance room (14 Sq. mt.) 2. Store room (14 sq.mt.) 3. Special room for high speed centrifuge (14 sq.mt.) 4. Wash room (14 sq.mt.) |  |  |  |
| E | MUSEUM |  |  |  |
|  | Museum-(150 Sq.mt.) with a sitting capacity of at least 25 students. All the specimens shall be labelled and at least 10 copies of catalogues for student use be provided. In addition, there shall be an ante room. |  |  |  |
| F. | AUTOPSY BLOCK |  |  |  |
|  | May be shared with Dept of Forensic Medicine |  |  |  |
| G | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 sq.m. area) with at least 80-100 books. |  |  |  |
| H | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | 1. Professor & Head of the Department-(20 Sq.m.) 2. Associate Professor/ Reader-Two rooms (10 Sq.m) 3. Asstt.Professor/Lecturers(3)-One room(15 Sq.m) 4. Tutor/Demonstrators-One room (20 Sq.m.) 5. Department office cum Clerical room-1 (15 Sq.m) 6. Working accommodation for non-teaching staff (12 sq.m.) |  |  |  |
| I | BLOOD BANK |  |  |  |
|  | An airconditioned Blood Bank (100 Sq. mt. Area) and shall include- a. Registration and Medical Examination Room and selection of donors room with suitable furniture and facilities. b. Blood collection room. c. Room for Laboratory for Blood Group serology; d. Room for Laboratory for Transmissible diseases like hepatitis, syphilis, Malaria, HIV antibodies etc e. Sterilisation and washing room; f. Refreshment room g. Store and Records room. The equipment and accessories etc. shall be provided as prescribed in Part XII-B in Schedule F to the Drugs and Cosmetics Rules, 1945 amended . from time to time. |  |  |  |

PARACLINICAL

DEPARTMENT OF MICROBIOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | One demonstration room (45 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 50-60 students |  |  |  |
| B | PRACTICAL LABORATORY |  |  |  |
|  | Practical laboratory with accommodation for 50-60 students Experimental Laboratory (150 Sq.m. area) with ante-room (14 Sq.m.area) with benches fitted with shelves, cupboards, inks, water taps, light for microscopy and burners for 60 students (150 Sq.m.area) with laboratory benches, gas, water and electric points, microscopes and light with a preparation room (14 Sq.m. area). |  |  |  |
| C. | SERVICE LABORATORY |  |  |  |
|  | Area for each service laboratory shall be 25 Sq.m. 1. Media preparation and storage (20 Sq.m.area) 2. Auto Claving (12 Sq.m. area) 3. Washing & drying room with regular and continuous water supply (12 sq.m.area) |  |  |  |
| D | MUSEUM |  |  |  |
|  | Museum- (100 Sq. mt.) for specimens, charts, models, with a separate section depicting "History of Medicine", with a seating capacity of at least 25 students. All the specimens shall be labelled and atleast 10 copies of catalogue for students use be provided |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (20 Sq.m) 2. Associate Professor/Reader-Two rooms (10 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (15 Sq.m) 4. Tutor/Demonstrators-One room (20 Sq.m.) 5. Department office/Clerical room-1 room (15 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

PARACLINICAL

DEPARTMENT OF FORENSIC MEDICINE INCLUDING TOXICOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | One demonstration room (45 sq.mt.) fitted with strip chairs, Over Head Projector, slide projector, Television, Video and other audiovisual aids, to accommodate at least 50-60 students. |  |  |  |
| B | MUSEUM |  |  |  |
|  | Museum (150 Sq.m. area) to display medico-legal specimens charts, models, prototype fire arms, wax models, slides, poisons, photographs etc. with seating arrangements for 20-25 students. All the specimens shall be labelled and at least 10 copies of catalogues for student use be provided. |  |  |  |
| C | LABORATORY |  |  |  |
|  | Laboratory (150 Sq.m.area) for examination of specimens, tests and Forensic histopathology, Serology, anthropology and toxicology |  |  |  |
| D | AUTOPSY BLOCK |  |  |  |
|  | There shall be an autopsy room (approx. 400 Sq. mt.area) with facilities for cold storage, for cadavers, ante-rooms, washing facilities, with an accommodation capacity of 20-25 students, waiting hall, office etc. The location of mortuary/autopsy block should be either in the hospital or adjacent to the hospital in a separate structure and may be shared with the department of Pathology. |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (20 Sq.m) 2. Associate Professor/Reader-Two rooms (10 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (15 Sq.m) 4. Tutor/Demonstrators-One room (20 Sq.m.) 5. Department office/Clerical room-1 room (15 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

PARACLINICAL

DEPARTMENT OF PHARMACOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Demonstration room (45sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 50-60 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | 1. Experimental pharmacology laboratory (150 Sq.m. area) with ante-room (14 Sq. m.) area for various laboratory practicals. 2. Clinical pharmacology and pharmacy (150 Sq.m. area) with one ante-room (14 Sq.m. area) for technicians, storage of equipment and appliances and preparation room |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (110sq.mt.) for specimens, charts, models, with a separate section depicting “ History of Medicine”, with a seating capacity of at least 25 students. All the specimens shall be labeled and at least 10 copies of catalogues for student use be provided. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30sq.m.area) with at least 80-100 books. |  |  |  |
| E. | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (20 Sq.m) 2. Associate Professor/Reader-Two rooms (10 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (15 Sq.m) 4. Tutor/Demonstrators-One room (20 Sq.m.) 5. Department office/Clerical room-1 room (15 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Demonstration room (45sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 50-60 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | Laboratory (150 Sq.m.area) with facilities for purposes of demonstration of various laboratory practicals. |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (100 Sq.m.area) for the display of models, charts, specimens and other material concerning communicable diseases, Community Health, Family Welfare planning, Biostatics, Sociology, National Health Programmes, Environmental Sanitation etc. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30sq.m.area) with at least 80-100 books. |  |  |  |
| E | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (20 Sq.m.) 2. Associate Professor /Reader-Two rooms (10 Sq.m) 3. Asstt. Professor/Lecturers (3)-One room (20 Sq.m. 4. Statistician / Lecturer one room (12 sq.mt) 5. Epidemiologist / Lecturer one room (12 sq.mt) 7. Tutor/Demonstrators-One room (20 Sq.m.area) 8. Department office cum Clerical room - one room (15 Sq.m.area) 9. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |
| F | PRIMARY HEALTH CENTRE/RURAL HEALTH TRAINING CENTRE |
|  | Every medical college shall have three primary health centres/rural health training centres for training of students in community oriented primary health care and rural based health education for the rural community attached to it. Out of these one primary health centre shall be with a distance of 30 km. or within one hour of commuting distance from the medical college. Adequate transport shall be provided for carrying out field work, teaching and training activities by the department of Community Medicine and other departments |  |  |  |
| G | URBAN HEALTH TRAINING CENTRE |  |  |  |
|  | Urban Health Training Centre It shall be under the administrative control of Deptt. of community Medicine. Adequate transport shall be provided for commuting the staff and students. |  |  |  |

STAFF PATTERN

Qualification and experience required

Existing MCI rules and amendments will be followed. General guidelines are given.

- Tutor /Registrar/Junior resident	 : MBBS/Diploma/MSc(Medical)

- Lecturer 				 : MD/MS/MSc(Medical) If required. DNB with 1yr exp.

- Asst. Prof 				 : MSc.PhD(Medical),MCh,DM can be appointed with out

exp. Other qualifications as above with three yr exp. as

lecturer

- Asso. Prof / Reader 			: 2 yrs as Asst. professor or 5 yrs as Lect/Asst. Prof

- Professor 				: 4 yrs as Asso. Prof

- Principal				: 5 yrs as professor

It is desirable to publish papers in peer reviewed journals for each promotion. It is nice to consider CME hours attended, Conference attended, Papers read in conferences, and organizing conferences etc while considering promotion. University representative to be included in the selection committee for appointments

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 3 |  |  |  |
| 3 | Lect / Asst.prof | 3 |  |  |  |
| 4 | Tutors/Demonstrators | 6 |  |  |  |
| 5 | Artist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 1 |  |  |  |
| 7 | Lab attendants | 5 |  |  |  |
| 8 | Steno/Typist | 8 |  |  |  |
| 9 | Clerks | 5 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 2 |  |  |  |
| 12 | Sweepers | 1 |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Tutors/Demonstrators | 2 |  |  |  |
| 5 | Technical Asst/Technician | 4 |  |  |  |
| 6 | Lab attendants | 3 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper | 1 |  |  |  |
| 9 | Record clerks | 1 |  |  |  |
| 10 | Sweepers | 3 |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 2 |  |  |  |
| 4 | Tutors/Demonstrators | 4 |  |  |  |
| 5 | Pharm.Chemist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 3 |  |  |  |
| 7 | Lab attendants | 3 |  |  |  |
| 8 | Steno/Typist | 1 |  |  |  |
| 9 | Clerks/Store Keeper | 1 |  |  |  |
| 10 | Sweepers | 2 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 1 |  |  |  |
| 4 | Tutors/Demonstrators | 2 |  |  |  |
| 5 | Technical Asst/Technician | 2 |  |  |  |
| 6 | Lab attendants | 2 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper /Clerks | 1 |  |  |  |
| 9 | Sweepers | 2 |  |  |  |

Note: For postmortem work and other medico legal work extra staff shall be provided

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 1 |  |  |  |
| 3 | Lect / Asst.prof | 2 |  |  |  |
| 4 | Epidemiologist cum lecturer | 1 |  |  |  |
| 5 | Statistician cum Lecturer | 1 |  |  |  |
| 6 | Tutors/Demonstrators | 4 |  |  |  |
| 7 | Medical social workers | 2 |  |  |  |
| 8 | Technical asst and Technicians | 2 |  |  |  |
| 9 | Stenographers | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

##### STAFF FOR RURAL TRAINING HEALTH CENTER

(Including field work and epidemiological studies)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 2 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

##### URBAN TRAINING HEALTH CENTER

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 1 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

EQUIPMENT AND INSTRUMENTS

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
|  | Funitures – As required |  |  |  |  |
| B | MORBID HISTOLOGY AND MORBID ANATOMY SECTIONS |
|  | Weighing machines for cadavers | 1 |  |  |  |
|  | Rotary microtomes | 2 |  |  |  |
|  | Freezing microtome with a stand for Carbon dioxide Cylinder | 1 |  |  |  |
|  | Hot plates (Electric) | 2 |  |  |  |
|  | Hot air 50° Cel | 2 |  |  |  |
|  | Paraffin embedding bath | 2 |  |  |  |
|  | Electric vacuum embedding bath | 2 |  |  |  |
|  | Autoclave electric | 2 |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Water bath 57° Cel | 1 |  |  |  |
|  | Rectangular water bath | 1 |  |  |  |
|  | Centrifuge machine electric rotofix | 1 |  |  |  |
|  | Colorimeter Photoelectric | 1 |  |  |  |
|  | Cabinet for 1000 slide | As Required |  |  |  |
|  | Band Saw | 1 |  |  |  |
|  | Autopsy tables | 2 |  |  |  |
|  | Automatic tissue processor /Histokinette | 1 |  |  |  |
|  | Staining racks | 10 |  |  |  |
|  | Staining troughs | 12 |  |  |  |
|  | Coplin jars | 24 |  |  |  |
|  | Water bath electric (Tissue floatation) | 2 |  |  |  |
|  | Chemical balance with weight | 2 |  |  |  |
|  | Microscopes(Monoocular) With oil immersion | 60 |  |  |  |
|  | Polarising attachments | 1 |  |  |  |
|  | Micrometer(Ocular) | 1 |  |  |  |
|  | Demonstration eye pieces | 6 |  |  |  |
|  | Magnifying lens | 6 |  |  |  |
|  | BP Apparatus | 2 |  |  |  |
|  | Micrometer(Stage) | 2 |  |  |  |
|  | DC Counter 9 Keys | 6 |  |  |  |
|  | Lab Stirrer | 1 |  |  |  |
|  | Automatic timer | 2 |  |  |  |
|  | Balance for weighing organs | 1 |  |  |  |
|  | Wire saw for bone cutting | 1 |  |  |  |
|  | Slide box (100 slides) | 120 |  |  |  |
|  | Glass Drill | 2 |  |  |  |
|  | Blow piece with bellows | 2 |  |  |  |
|  | Microphotographic apparatus | 1 |  |  |  |
|  | X- Ray box | 2 |  |  |  |
|  | Double demonstration eye piece | 2 |  |  |  |
|  | Micro projection apparatus | 2 |  |  |  |
|  | Sternal puncture needle: Adult,Child | 2 each |  |  |  |
|  | Liver biopsy needle | 2 |  |  |  |
|  | Box weight analytical | 2 |  |  |  |
|  | Stop watch | 6 |  |  |  |
|  | UV Lamp | 1 |  |  |  |
|  | Binocular research microscope | 1 |  |  |  |
|  | Hb electrophoresis apparatus | 1 |  |  |  |
|  | Water still electric | 1 |  |  |  |
|  | 2x2 Slide projector | 1 |  |  |  |
|  | OHP | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Drawing instruments and clors for artist | 1 set |  |  |  |
|  | Surgical instruments | 1 set |  |  |  |
|  | Dark room lamp, Developing troughs.chemical for artist | 1 set |  |  |  |
|  | Glass ware , stail chemicals for histological work | As required |  |  |  |
| C. | CLINICAL LABORATORY |  |  |  |  |
|  | Microscopes with oil immersion for routine work | 15 |  |  |  |
|  | Specific gravity bottles 25cc | 2 |  |  |  |
|  | Micro burretes | 2 |  |  |  |
|  | pH meterwith ultra micro blood pH electrodes | 1 |  |  |  |
|  | Electrical centrifuge (Higher power) | 3 |  |  |  |
|  | Incubator | 1 |  |  |  |
|  | Haemocytometers with RBC and WBc pipettes | 60 |  |  |  |
|  | Haemoglobino meter (Sahli’s) | 60 |  |  |  |
|  | ESR Tubes | 2 set |  |  |  |
|  | Disposable syringes 2cc,5cc,10cc,20cc | As required |  |  |  |
|  | Staining jars for slides | 12 |  |  |  |
|  | Urinometer | 9 |  |  |  |
|  | Albuminometer:Esbach’s&Aufrech’s | 1 each |  |  |  |
|  | Urine glass jar | 12 |  |  |  |
|  | Water bath with lids, with hole to hold test tube | 2 |  |  |  |
|  | Reagents | As required |  |  |  |
|  | Balances: Sensitive balance & Chemical balances with weight box | 2 each |  |  |  |
|  | Glass wares – As Required |  |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1. | Incubators electrical Large at 37 º C | 4 |  |  |  |
| 2. | Autoclave | 3 |  |  |  |
| 3. | Hot air sterilizer | 2 |  |  |  |
| 4 | Serum inspissators | 2 |  |  |  |
| 5 | Chemical balance | 2 |  |  |  |
| 6 | Lovibond comparators | 1 |  |  |  |
| 7 | Flask flat bottom 50 cc | 6 |  |  |  |
| 8 | Microscope with oil immersion | 55 |  |  |  |
| 9 | Refrigerators | 3 |  |  |  |
| 10 | Micrometer eye pieces | 2 |  |  |  |
| 11 | Micrometer stage | 2 |  |  |  |
| 12 | Centrifuge , electrical high power | 2 |  |  |  |
| 13 | Refrigerated centrifuge | 1 |  |  |  |
| 14 | Distilled water plant All glass | 1 |  |  |  |
| 15 | Dropping bottles staining | 500 |  |  |  |
| 16 | Staining troughs | 60 |  |  |  |
| 17 | Anaerobic apparatus | 3 |  |  |  |
| 18 | B.O.D Incubator | 2 |  |  |  |
| 19 | Laminar flow | 1 |  |  |  |
| 20 | UV lamp | 1 |  |  |  |
| 21 | VDRL shaker | 2 |  |  |  |
| 22 | Computer unit | 1 |  |  |  |
| 23 | OHP | 1 |  |  |  |
| 24 | Water bath(Serological) 37º and 56º | 1 each |  |  |  |
| 25 | Deep freeze – 20º | 1 |  |  |  |
| 26 | ELISA Reader, Dispenser &Washer | 1 |  |  |  |
| 27 | Binocular microscope | 2 |  |  |  |
|  | CULTURE FACILITIES |  |  |  |  |
| 29 | Thermometer assorted | 12 |  |  |  |
| 30 | Glass ware, Pipette, Beaker, Conical flask, Petri dish, Reagent bottles, Test tubes | As required |  |  |  |
| 31 | Material for media preparation | As required |  |  |  |
| 32 | Stains | As required |  |  |  |
| 33 | pH meter | 2 |  |  |  |
| 34 | Lyophilizer | 1 |  |  |  |
| 35 | Thermal cycler | 1 |  |  |  |
| 36 | UV Tarns illuminator with photography | 1 |  |  |  |
| 37 | Colony counter | 1 |  |  |  |
| 38 | Cold room at 4º cel | 1 |  |  |  |
| 39 | Bactec system | 1 |  |  |  |
| 40 | Phase contrast microscope | 1 |  |  |  |
| 41 | Vortex mixer | 1 |  |  |  |
| 42 | Electronic balance | 1 |  |  |  |
| 43 | Microfuge | 1 |  |  |  |
| 44 | Ultra centrifuge | 1 |  |  |  |

DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
| 1 | Office Tables - Small & Big | As required |  |  |  |
| 2 | Office Chairs | As required |  |  |  |
| 3 | Museum Almirah | As required |  |  |  |
| 4 | Study Table | As required |  |  |  |
| 5 | Library almirah | As required |  |  |  |
| 6 | Stock almirah | As required |  |  |  |
| 7 | Store room rack | As required |  |  |  |
| 8 | Lockers with coat hangers and drawers | As required |  |  |  |
| 9 | Laboratory benches with cup boards | As required |  |  |  |
| 10 | Racks for reagents bottles | As required |  |  |  |
| 11 | Water gas and electric points | As required |  |  |  |
| B | EXPERIMENTAL PHARMACOLOGY |
| 12 | Starlings kymographs with time markers | 3 |  |  |  |
| 13 | Ideal respiration pump 500 cc | 3 |  |  |  |
| 14 | Brodi’s operation table | 3 |  |  |  |
| 15 | Incubators | 2 |  |  |  |
| 16 | Refrigerators | 2 |  |  |  |
| 17 | Assembly perfusion apparatus for mammalian heart | 4 |  |  |  |
| 18 | Standard power tables | 3 |  |  |  |
| 19 | Assembly for mammalian classes | 4 |  |  |  |
| 20 | Automatic electric recording drums | 4 |  |  |  |
| 21 | Mechanical stromhur | 2 |  |  |  |
| 22 | Centrifuge | 2 |  |  |  |
| 23 | Colorimeter | 3 |  |  |  |
| 24 | Cannulas | 48 |  |  |  |
| 25 | Cautery machine Electric | 1 |  |  |  |
| 26 | Warnishing tray with foot lever | 2 |  |  |  |
| 27 | Four unit isolated organ bath palmar F.67 | 1 |  |  |  |
| 28 | Analgesio meter | 1 |  |  |  |
| 29 | Smoking burners Palmer A- 291, A- 265 | 1 |  |  |  |
| 30 | Tracheal canula metal palmer E.76 | 4 |  |  |  |
| 31 | Codons drop recorder – Palmer B-75 | 1 |  |  |  |
| 32 | Professor Inchleyes drop recorder-Palmer B.78 | 1 |  |  |  |
| 33 | Animal weighing machines Small and Big | 3 each |  |  |  |
| 34 | Dissection instruments and syringes | As required |  |  |  |
| 35 | *Kymograph(Students) with electric independent unit | 30 |  |  |  |
| 36 | *Electric motor ¼ with split pulley | 2 |  |  |  |
| 37 | *Shafting steel rod ¾” diameter and 18” long | 8 |  |  |  |
| 38 | *Standard shafting and fittings | 30 |  |  |  |
| 39 | *Pulleys | 30 |  |  |  |
| 40 | *Muffs coupling for joining two pieces | 12 |  |  |  |
|  | * Not required in case of independent units |
| 42 | X blocks | As required |  |  |  |
| 43 | Hook grip rods | As required |  |  |  |
| 44 | Plain stand | 50 |  |  |  |
| 45 | Apparatus isolated rabbit intestine etc | 50 |  |  |  |
| 46 | Jacquts’s graphic chronometer | 2 |  |  |  |
| 47 | Frog’s boards palmer C.120 | 50 |  |  |  |
| 48 | Jackson’s enterograph | 3 |  |  |  |
| 49 | Hair aesthesiometer palmer W.290 | 2 |  |  |  |
| 50 | Long extension for paper palmer A-130 | 2 |  |  |  |
| 51 | Animal balance triple beam | 2 |  |  |  |
| 52 | Manometer, Mercury Palmer C- 200 | 6 |  |  |  |
| 53 | Metro nome palmer B-5 | 2 |  |  |  |
| 54 | Oncometer Kidney | 2 |  |  |  |
| 55 | Oncometer Heart | 2 |  |  |  |
| 56 | Copper trays 10”x8”x1” | 50 |  |  |  |
| 57 | Thermometer upto 110º Cel | 50 |  |  |  |
| 58 | Distillation apparatus | 4 |  |  |  |
| 59 | Microscopes Ordinary | 4 |  |  |  |
| 60 | Working table with racks | 6 |  |  |  |
| 61 | Chemical balances ordinary Apothecary’s | 2 |  |  |  |
| 62 | Chemical balance sensitive | 2 |  |  |  |
| 63 | Dissection instruments | As required |  |  |  |
| 64 | Plethysmograph assorted | 4 |  |  |  |
| 65 | Pneumograph palmer E | 1 |  |  |  |
| 66 | Piston recorder palmer C.51 | 1 |  |  |  |
| 67 | Tambours Mareys palmer C.5 & C.11 | 4 |  |  |  |
| 68 | Tetanus set palmer H2O | 1 |  |  |  |
| 69 | Stop watch Jacquets | 12 |  |  |  |
| 70 | Oxygen cylinders with trolley 20 cu ft | 4 |  |  |  |
| 71 | CO2 cylinder | 2 |  |  |  |
| 72 | Operating lamps- Philips | 4 |  |  |  |
| 73 | Animal trolley with 12 cages | 4 |  |  |  |
| 74 | Miscellaneous |  |  |  |  |
| 75 | Electrodes, Ordinary and non polarisable, insulated wires, time markers, electric signals, Mercury manometer, perfusion apparatus, myograph lever, small pulley’s upright stands and chemicals etc. | As required |  |  |  |
| C. | PHARMACOLOGY LABORATORY |
| 76 | Dispensing Balance with metric system weights | 30 |  |  |  |
| 77 | Pill tiles | 30 |  |  |  |
| 78 | Suppository moulds | 30 |  |  |  |
| 79 | Porcelain dishes | 30 |  |  |  |
| 80 | Crucibles with tongs | 10 |  |  |  |
| 81 | Pestle and mortar | 30 |  |  |  |
| 82 | Iron spatula | 30 |  |  |  |
| 83 | Measure glass All sizes | 30 |  |  |  |
| 84 | Water bath metal | 10 |  |  |  |
| 85 | Miscellaneous: Chemicals, drugs, glass rods, funnels , filters | As required |  |  |  |
| D. | SPECIAL CHEMICALS AND PHARMACOLOGICAL EQUIPMENTS |
| 86 | Stimulator electronic | 1 |  |  |  |
| 87 | Balance semi micro analytical pan mottler | 1 |  |  |  |
| 88 | Electro cardio graph | 1 |  |  |  |
| 89 | Spectrophotometer model Du Backman (UV visible range) | 1 |  |  |  |
| 90 | Skin and rectal thermometer Baron | 1 |  |  |  |
| 91 | Anti histamine chamber with manometer | 1 |  |  |  |
| 92 | Flame photometer | 1 |  |  |  |
| 93 | Stop clock | 12 |  |  |  |
| 94 | Water bath 4 hole electrically heated | 12 |  |  |  |
| 95 | Bell jars assorted | 36 |  |  |  |
| 96 | Petri dishes assorted | 36 |  |  |  |
| 97 | Museum drugs specimen jars | 30 |  |  |  |
| 98 | All glass distillation apparatus 2 lts | 2 |  |  |  |
| 99 | Centrifuge electric rpm 3000 | 2 |  |  |  |
| 100 | Microscope student type | 4 |  |  |  |
| 101 | Magnetic stirrer B.T.L | 1 |  |  |  |
| 102 | Autoclave electric | 1 |  |  |  |
| 103 | Waring blender M.S.E | 1 |  |  |  |
| 104 | Hot air oven 14x14x14” | 1 |  |  |  |
| 105 | Incubator electro 14x14x14” | 1 |  |  |  |
| 106 | Vacuum and pressure cenco | 2 |  |  |  |
| 107 | Instruments sterilizer 12x8x6” | 1 |  |  |  |
| 108 | BP Apparatus | 8 |  |  |  |
| 109 | Distilled water still electrical 2 gallon /hour | 2 |  |  |  |
| 110 | Stethoscope | 8 |  |  |  |
| 111 | Multi meter | 1 |  |  |  |
| 112 | Temperature controlled water bath 37º cel | 1 |  |  |  |
| 113 | Razor hone | 2 |  |  |  |
| 114 | Electric hot plate | 2 |  |  |  |
| 115 | Deioniser : 20lts/hr and 6 lts/hr con11nected in series | 2 |  |  |  |
| 116 | Physiographs with transducer with other accessories (May substitute Kymographs) | 40 |  |  |  |
| 117 | Vortex mixer | 2 |  |  |  |
| 118 | Acto photometer | 1 |  |  |  |
| 119 | Rotor rod assembly | 1 |  |  |  |
| 120 | Electro convulsion meter | 1 |  |  |  |
| 121 | Cooks pole climbing apparatus | 1 |  |  |  |
| 122 | Metabolic cages diuretic study | 3 |  |  |  |
| 123 | Digital pH meter | 1 |  |  |  |
| 124 | Tablet disintegration machine glass tubing 6ft | 1 |  |  |  |
| 125 | Glass mortar & peseles 500cc, 200cc | 24 each |  |  |  |
| 126 | Cork borer set of 12 | 1 set |  |  |  |
| 127 | Holder for platinum wire loop | 110 |  |  |  |
| 128 | Lancet spring - disposable | 110 |  |  |  |
| 129 | Lamp for microscope | As required |  |  |  |
| 130 | Magnifying glass with metal handle | 60 |  |  |  |
| 131 | Metal mincing machine | 1 |  |  |  |
| 132 | Suction pump | 1 |  |  |  |
| 133 | Filtering apparatus, seitz and Millipore filter | 1 each |  |  |  |
| 134 | Desiccators | 2 |  |  |  |
| 135 | Vacuum desiccators | 1 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
| 1 | Weighing machine:Dial type Human | 2 |  |  |  |
| 2 | Equipment for reporting height | 2 |  |  |  |
| 3 | Balance chemical | 1 |  |  |  |
| 4 | Balance single pair: For fetus | 1 |  |  |  |
| 5 | Weighing machine: For Dead bodies | 1 |  |  |  |
| 6 | Weighing machine – Organs | 2 |  |  |  |
| 7 | Folding metal scale Upto 7 feet | 1 |  |  |  |
| 8 | Steel tape roll | 2 |  |  |  |
| 9 | Warnier calipers | 1 |  |  |  |
| 10 | Autopsy table | 2 |  |  |  |
| 11 | Styker autopsy saw | 3 |  |  |  |
| 12 | Hack saw | 4 |  |  |  |
| 13 | Dissection sets | 4 |  |  |  |
| 14 | Rib shears , Right & Left | 4 |  |  |  |
| 15 | Autopsy aprons Rubber | 6 |  |  |  |
| 16 | Autopsy gloves | 12 |  |  |  |
| 17 | Viscerotome with a attachment for illumination (battery operated) | 1 |  |  |  |
| 18 | SLR Camera | 1 |  |  |  |
| 19 | Microscope student type | 25 |  |  |  |
| 20 | Microscope Binocular research | 3 |  |  |  |
| 21 | Stop watch | 2 |  |  |  |
| 22 | X- Ray view box 1 in 4 | 4 |  |  |  |
| 23 | View box 2 in one | 3 |  |  |  |
| 24 | BP apparatus | 4 |  |  |  |
| 25 | Anthropometric set | 1 |  |  |  |
| 26 | Automatic tissue process machine | 1 |  |  |  |
| 27 | Microtone with knife | 1 |  |  |  |
| 28 | Hot plate | 1 |  |  |  |
| 29 | L Mould | 16 |  |  |  |
| 30 | Leather strops | 2 |  |  |  |
| 31 | Paraffin bath embedding | 1 |  |  |  |
| 32 | Slide warming table | 1 |  |  |  |
| 33 | Stone carborandom | 2 |  |  |  |
| 34 | Water bath tissue floatation | 1 |  |  |  |
| 35 | Distillation plant | 1 |  |  |  |
| 36 | Brain knife | 8 |  |  |  |
| 37 | Block holders | As required |  |  |  |
| 38 | Digital spectrometer | 1 |  |  |  |
| 39 | Digital pH meter | 1 |  |  |  |
| 40 | Electric auto slide projector | 1 |  |  |  |
| 41 | Glass cutting pencil | 1 |  |  |  |
| 42 | Hand set heat sealer | 1 |  |  |  |
| 43 | Spectroscope lens & adjustable slit | 2 |  |  |  |
| 44 | Refrigerator | 1 |  |  |  |
| 45 | Cold storage for dead bodies | As required |  |  |  |
| 46 | Deep freezer for tissue | As required |  |  |  |
| 47 | Video camera, Television ,VCR | 1 each |  |  |  |

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | Comparator, Nessler | 1 |  |  |  |
|  | Barometer , Fotin | 1 |  |  |  |
|  | Extraction apparatus, fat , Complete | 1 |  |  |  |
|  | Filter, Pasteur chamberland, Full set | 1 |  |  |  |
|  | Filter Berke fed | 1 |  |  |  |
|  | Hydrometer, Spirit | 3 |  |  |  |
|  | Hydrometers, Milk | 3 |  |  |  |
|  | Hydrometer, Wet and Dry bulb | 1 |  |  |  |
|  | Incubator, electric | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Models , charts, diagrams etc | As required |  |  |  |
|  | Balance analytical, 200 gms | 3 |  |  |  |
|  | Balance for food 2kgs | 1 |  |  |  |
|  | Centrifuge clinical | 1 |  |  |  |
|  | Weighing machine Adult | 4 |  |  |  |
|  | Salter’s baby weighing machine | 4 |  |  |  |
|  | Harpender’s Calipers for skin fold thickness | 2 |  |  |  |
|  | Height measuring stand | 1 |  |  |  |
|  | Aqua guard | 1 |  |  |  |
|  | Refrigerator | 1 |  |  |  |
|  | Ice lined refrigerator | 1 |  |  |  |
|  | Dissecting microscope | 30 |  |  |  |
|  | Microscope oil immersion | 2 |  |  |  |
|  | TV, VCR | 1 each |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Sterilizers electric | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Over Head Projector | 2 |  |  |  |
|  | Equipment and transportation for Rural health centers | As required |  |  |  |

CLINICAL DEPARTMENTS

DEPARTMENT WISE STAFF REQUIREMENTS

GENERAL

1. Each department shall have a Head of the Department of the rank of full time Professor who shall have overall control of the Department.

2. The staffing pattern of the departments shall be organised on  the basis of units.

3. A unit shall have not more than 30 beds in its change. However , in departments of Tuberculosis & respiratory diseases, Dermatology, Veneralogy & Leprosy, Psychiatry, Ophthalmology & ENT one unit shall be of MCI sanctioned strength for hat speciality even if the total number of beds is less than 30.

4. The minimum staff complement of each unit shall consist of the following, namely:-

(a) Asso Professor/Reader				1

(b) Lecturer / Asst Prof				1

(c) Senior Resident / Tutor / Registrar (M.S) 	1

(d) Junior Residents				1

In addition to the above staff, additional Sr. Residents and Junior Residents shall be provided according to the loan in Burn Ward ICU, Emergency, ICCU, Nursery, Labour Room and in other critical intensive care unit / units for providing services round the clock.

Additional staff recommended

It should be remembered that each clinical staff enjoys a total of 120 days of leave in a year. As a result one third of the staff will be on leave – consequently only 2/3 of the total staff will be working. Hence for every 3 staff one extra staff should be appointed.

DEPARTMENT OF GENERAL MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 4/120 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 3 |  |  |  |
|  | Lecturer / Asst. Prof | 4 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 4 |  |  |  |
|  | Junior Residents | 12 |  |  |  |

DEPARTMENT OF TUBERCULOSIS & RESPIRATORY DISEASES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 4/120 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF DERMATOLOGY VENEREOLOGY & LEPROSY

No of Units / beds: 1/10

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF PSYCHIATRY

No of Units / beds: 1/10

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

# Staff strength required of Medicine

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | E.C.G. Technician | 1 |  |  |  |
|  | Technical Asst./Technician | 3 |  |  |  |
|  | Lab Attendants | 8 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |
|  | T.B. and Chest Diseases Health Visitors | 2 |  |  |  |
|  | Psychiatric Social Workers | 2 |  |  |  |

# DEPARTMENT OF PAEDIATRICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection team |
| --- | --- | --- | --- | --- | --- |
|  | No of Units / beds | 2/60 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof. | 1 |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Child Psychologist | 1 |  |  |  |
|  | Health Educator | 1 |  |  |  |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Social Worker | 1 |  |  |  |

GENERAL SURGERY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 4/120 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 3 |  |  |  |
|  | Lecturer / Asst. Prof | 8 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 4 |  |  |  |
|  | Junior Residents | 12 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 3 |  |  |  |
|  | Lab Attendant | 4 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 2/60 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 4 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |

DEPARTMENT OF OTO-RHINO-LARYGOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/20 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Audiometry Technician | 1 |  |  |  |
|  | Speech Therapist | 1 |  |  |  |

DEPARTMENT OF OPHTHALMOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/20 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Refractionist | 1 |  |  |  |

DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 2/60 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 4 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 2 |  |  |  |
|  | Junior Residents | 6 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Antenatal Medical office-cum- lecturer / Asst. Professor | 1 |  |  |  |
|  | Maternity and Child Welfare officer- Cum Lecturer . Asst. Prof. | 1 |  |  |  |
|  | Social Worker | 2 |  |  |  |
|  | Technical Asst / Technician | 2 |  |  |  |
|  | Lab Attendant | 2 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF RADIO-DIAGNOSIS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 1 |  |  |  |
|  | Lecturer / Asst. Prof | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Radiographic Technicians | 8 |  |  |  |
|  | Dark Room Assistants | 4 |  |  |  |
|  | Stenographers | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |

DEPARTMENT OF RADIO-THERAPY (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader | 1 |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Tutor / Registrar | 3 |  |  |  |
|  | Physicist | 1 |  |  |  |
|  | Radiotherapy technicians (for every Treatment unit | 2 |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 2 |  |  |  |

DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 5 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technicians | 8 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF PHYSICAL MEDICINE AND REHABILITATION (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader |  |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Sr. Resident | 2 |  |  |  |
|  | House Surgeon/Junior Resident | 1 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Physiotherapists | 2 |  |  |  |
|  | Occupational Therapists | 2 |  |  |  |
|  | Speech Therapists | 1 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 2 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 6 |  |  |  |
|  | Workshop workers | 1 |  |  |  |
|  | Clinical psychologist | 1 |  |  |  |
|  | Medico-social worker | 1 |  |  |  |
|  | Public health nurse/Rehabilitation Nurse | 1 |  |  |  |
|  | Vocational counselor | 1 |  |  |  |
|  | Multi-rehabilitation workers(MRW)/Technician / Therapist | 4 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Class IV workers | 4 |  |  |  |

DEPARTMENT OF DENTISTRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader |  |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Tutor / Registrar | 1 |  |  |  |
|  | Dental Technicians | 4 |  |  |  |
|  | Store Keeper cum clerk | 1 |  |  |  |

Note: Where Dental College or Dental wings of medical colleges exist, the services of

teachers of these may be utilized in the instruction of medical students in Dentistry and no

separate staff in the Medical College shall be necessary.

# STAFF REQUIREMENT FOR-ANCILLARY SERVICES

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Medical Record Officer | 1 |  |  |  |
|  | Statistician | 1 |  |  |  |
|  | Coding Clerks | 4 |  |  |  |
|  | Record Clerks | 6 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |
|  | Steno-typist | 1 |  |  |  |

## CENTRAL ANIMAL HOUSE

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Veterinary Officer | 1 |  |  |  |
|  | Animal Attendants | 2 |  |  |  |
|  | Technicians for animal operation room | 1 |  |  |  |
|  | Sweepers | 2 |  |  |  |

CENTRAL LIBRARY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Librarian with a degree in Library Science | 1 |  |  |  |
|  | Deputy Librarian | 1 |  |  |  |
|  | Documentalist | 1 |  |  |  |
|  | Cataloguer | 1 |  |  |  |
|  | Library Assistants | 4 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |

CENTRAL PHOTOGRAPHIC CUM AUDIOVISUAL UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Photographers | 1 |  |  |  |
|  | Artist Modellers | 1 each |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Audiovisual Technician | 1 |  |  |  |
|  | Store keeper cum Clerk | 1 |  |  |  |
|  | Attendant | 1 |  |  |  |

MEDICAL EDUCATION UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Officer In-Charge (Principal / Dean) | 1 |  |  |  |
|  | Coordinator (Head of Dept. nominated by Principal / Dean) | 1 |  |  |  |
|  | Faculty | College faculty on part-time basis |  |  |  |

Supportive Staff:

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Stenographer | 1 |  |  |  |
|  | Computer Operator | 1 |  |  |  |
|  | Technicians in Audio-visual aids, Photography and Artist | 2 |  |  |  |

CENTRAL STERLIZATION SERVICES DEPARTMENT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Matron | 1 |  |  |  |
|  | Staff Nurse | 4 |  |  |  |
|  | Technical Assistant | 8 |  |  |  |
|  | Technician | 8 |  |  |  |
|  | Ward Boys | 8 |  |  |  |
|  | Sweeper | 4 |  |  |  |

LAUNDRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Supervisor | 2 |  |  |  |
|  | Dhobi / Washerman / women | 12 |  |  |  |
|  | Packer | 12 |  |  |  |

BLOOD BANK

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Professor / Reader / Assoc Prof | 1 |  |  |  |
|  | Lecturer / Asst. Professor | 1 |  |  |  |
|  | Technicians | 6 |  |  |  |
|  | Laboratory Attendants | 6 |  |  |  |
|  | Store Keepers | 6 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

CENTRAL CASUALTY SERVICES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Casualty Medical Officer | 4 |  |  |  |
|  | Operation Theatre staff to function on 24 hours round the clock basis | As required |  |  |  |
|  | Stretcher bearers | 6 |  |  |  |
|  | Receptionists cum Clerks | 2 |  |  |  |
|  | Ward Boys | 6 |  |  |  |
|  | Nursing and paramedical staff | 6 |  |  |  |
|  | Clinical staff for Casualty beds | As required |  |  |  |

CENTRAL WORKSHOP

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Superintendent-who shall be a qualified Engineer | 1 |  |  |  |
|  | Senior Technicians | 4 (Medical, Electrical, Electronic, Refrigeration) |  |  |  |
|  | Junior Technicians | 2 |  |  |  |
|  | Carpenter | 1 |  |  |  |
|  | Blacksmith | 1 |  |  |  |
|  | Attendants | 4 |  |  |  |

OTHER HOSPITAL STAFF

1.	NURSING STAFF: The nursing staff shall be provided as per the following

recommendations of the Nursing Council:

RECOMMENDED NORMS FOR HOSPITAL NURSING SERVICE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Nursing Superintendent (for minimum150 beds | 1 |  |  |  |
|  | Deputy Nursing Superintendent | 1 |  |  |  |
|  | Asst. Nursing Superintendent | 2 |  |  |  |

(for every additional 50 beds one more Assistant Nursing Superintendent)

Out patient Department – base on Actual observation.

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Minor Operation Theatre | 1 Staff Nurse for every 13 patients |  |  |  |
|  | b) Injection Room | 1 Staff Nurse for every 86 patients |  |  |  |
|  | c) Surgical | 1 Staff Nurse for every 120 patients |  |  |  |
|  | d) Medical | 1 Staff Nurse for every 140 patients |  |  |  |
|  | e)Gynaec | 1 Staff Nurse for every 35 patients |  |  |  |
|  | f) Children (Paediatric) | 1 Staff Nurse for every 85 patients |  |  |  |
|  | g) Orthopaedic | 1 Staff Nurse for every 120 patients |  |  |  |
|  | h) Dental | 1 Staff Nurse for every 120 patients |  |  |  |
|  | i) ENT | 1 Staff Nurse for every 120 patients |  |  |  |
|  | j) Eye | 1 Staff Nurse for every 86 patients |  |  |  |
|  | k) Skin | 1 Staff Nurse for every 100 patients |  |  |  |

Similarly other out patient Department need to be staffed based on actual observation.

EQUIPMENTS

CLINICAL DEPARTMENTS

The list of equipments for clinical departments both indoor and outdoor, may be prepared by the Heads of departments, who would keep in view the needs for:-

    - Special examination with diagnostic aids and investigations such as laboratory, x-ray, etc.,

    - Routine treatment, medical and surgical etc.

    - Special therapy such as physical, occupational, dietetic etc.

The following equipments for various clinical departments are however the minimum required.

DEPARTMENT OF MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | B.P.Apparatus | 30 |  |  |  |
|  | Ophthalmoscope | 8 |  |  |  |
|  | Lumbar puncture needles (disposable) | As required |  |  |  |
|  | Haemocytometer | 4 |  |  |  |
|  | Light Microscope | 2 |  |  |  |
|  | Haemoglobinometer | 4 |  |  |  |
|  | Centrifuge Machine | 2 |  |  |  |
|  | Urinometer | 2 |  |  |  |
|  | Plural biopsy needs (disposable) | As required |  |  |  |
|  | Liver biopsy needs (disposable) | As required |  |  |  |
|  | Kidney biopsy needs (disposable) | As required |  |  |  |
|  | X-ray viewing box | 20 |  |  |  |
|  | Over head Projector | 1 |  |  |  |
|  | Slide projector | 1 |  |  |  |
|  | Upper GI Endoscope | 1 |  |  |  |
|  | Colonoscope | 1 |  |  |  |
|  | Sigmoidoscope | 1 |  |  |  |
|  | Proctoscope | 2 |  |  |  |
|  | Facilities doing tests for malabsorption | As required |  |  |  |
|  | Ultrasound Machine | 1 |  |  |  |
|  | Fiberoptic brochoscope | 2 |  |  |  |
|  | Spirometer | 1 |  |  |  |
|  | Bedside Cardiac Monitors | 12 |  |  |  |
|  | Central Cardiac Monitor Console | 1 |  |  |  |
|  | Defibrallator | 12 |  |  |  |
|  | Non-invasive B.P.Apparatus | 12 |  |  |  |
|  | Pulse Oxymeter | 12 |  |  |  |
|  | Equipment for cardiac pacing | 1 |  |  |  |
|  | Ambu bag | 12 |  |  |  |
|  | Laryngoscope | 12 |  |  |  |
|  | ECG machine | 12 |  |  |  |
|  | Echocardiography machine | 2 |  |  |  |
|  | Thread Mill test machine | 1 |  |  |  |
|  | Haemodialysis machine | 4 |  |  |  |
|  | Peritoneal dialysis catheters | As required |  |  |  |
|  | Arterial blood gas analyzer | 1 |  |  |  |
|  | Na/K analyzer | 1 |  |  |  |
|  | Equipment for measuring diffusion capacity | 1 |  |  |  |
|  | Microprocessor based spectrometer | 2 |  |  |  |
|  | Gamma cameras | 1 |  |  |  |
|  | Glucometer | 8 |  |  |  |
|  | Radiosotope scan laboratory | 1 |  |  |  |
|  | Electro Encephalogram (EEG) Machine | 1 |  |  |  |
|  | EMC and nerve conduction velocity machine1 | 1 |  |  |  |
|  | Fine needle aspiration needle | As required |  |  |  |
|  | Torches | 30 |  |  |  |
|  | Patient examination table | 30 |  |  |  |
|  | Rubber Hammer | 30 |  |  |  |
|  | Reagents for doing Gram’s and Ziel Neilson Staining | As required |  |  |  |
|  | Computer (one for each medical unit) | 4 |  |  |  |
|  | Radiopagers | 30 |  |  |  |
|  | Endotracheal tubes | As required |  |  |  |
|  | Emergency lights | 8 |  |  |  |

DEPARTMENT OF PAEDIATRICS

Resuscitation equipments:

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Ambu bag – infant | 4 |  |  |  |
|  | Children | 4 |  |  |  |
|  | Face Mask | 4 |  |  |  |
|  | Nasal prongs | As required |  |  |  |
|  | Nasal catheters | As required |  |  |  |
|  | Endotracheal tubes | As required |  |  |  |
|  | Suction Apparatus | 1 |  |  |  |
|  | Suction Catheters | As required |  |  |  |
|  | Laryngoscope – Infant | 1 |  |  |  |
|  | Children | 1 |  |  |  |
|  | Oxygen Delivery System |  |  |  |  |
|  | Oxygen Cylinder | 1 |  |  |  |
|  | Oxygen regulator | 1 |  |  |  |
|  | Oxygen humidifiers | 1 |  |  |  |
|  | Oxygen headbox (of each size) | 1 |  |  |  |
|  | Nebulizers | 8 |  |  |  |
|  | Drug Deliver Equipment / Catheter / tube |  |  |  |  |
|  | Intra |  |  |  |  |
|  | venous (I.V.) drip set | As required |  |  |  |
|  | Measured Volume | 4 |  |  |  |
|  | Blood transfusion set | 4 |  |  |  |
|  | Intra |  |  |  |  |
|  | venous (I.V) canula (Butterfly type) | As required |  |  |  |
|  | Intracath | 8 |  |  |  |
|  | Umbilical vein catheter | 8 |  |  |  |
|  | Feeding tubes | As required |  |  |  |
|  | Three way and four way valve | 4 |  |  |  |
|  | Malecot’s catheter | 8 |  |  |  |
|  | Cut open canula | As required |  |  |  |
|  | Measurement Equipments |  |  |  |  |
|  | Weighing machine – Infant | 1 |  |  |  |
|  | Child | 1 |  |  |  |
|  | Neonates | 1 |  |  |  |
|  | Infantometer | 1 |  |  |  |
|  | Measuring tape | As required |  |  |  |
|  | Shakir’s tape | As required |  |  |  |
|  | Work lab and investigations |  |  |  |  |
|  | Student Microscope | 2 |  |  |  |
|  | NueBauer Chamber | 4 |  |  |  |
|  | Hemoglobinometer | 4 |  |  |  |
|  | Test Tube | As required |  |  |  |
|  | Spirit Lamp | 4 |  |  |  |
|  | Stains for – Leishman’s staining | As required |  |  |  |
|  | AFB staining | - do - |  |  |  |
|  | Grams Staining | - do - |  |  |  |
|  | Dextrostix | As required |  |  |  |
|  | Multisix | - do - |  |  |  |
|  | Uristix | - do - |  |  |  |
|  | Micro Erythrocite Sedimntation Rate |  |  |  |  |
|  | (ESR) tubes | As required |  |  |  |
|  | Filter Paper | As required |  |  |  |
|  | Bone marrow needle | 4 |  |  |  |
|  | Lumbar Puncture (L.P.) Needles | 4 |  |  |  |
|  | Pleural aspiration needle | 4 |  |  |  |
|  | Vim-Silverman Liver Biopsy needle | 4 |  |  |  |
|  | Mengneiz needle | 4 |  |  |  |
|  | True cut Renal Biopsy needle | 4 |  |  |  |
|  | X-ray view box | 1 |  |  |  |
|  | (F) Miscellaneous |  |  |  |  |
|  | Radiant Warmer | 1 |  |  |  |
|  | Infant Incubator | 1 |  |  |  |
|  | Phototherapy unit | 1 |  |  |  |
|  | Ophtholmoscope | 1 |  |  |  |
|  | Thermometer-Oral | As required |  |  |  |
|  | Rectal | As required |  |  |  |

DEPARTMENT OF PSYCHIATRY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Electro convulsive therapy (E.C.T) machine | preferably with ECG monitoring 2 |  |  |  |
|  | E.E.G. monitoring | 1 |  |  |  |
|  | ECG Machine | 1 |  |  |  |
|  | EEG Machine | 1 |  |  |  |
|  | Lithium Analyzer | 1 |  |  |  |
|  | Biofeed-back instruments (sets) | 1 |  |  |  |
|  | Thin layer chromatography (for dependence treatment) | 1 |  |  |  |
|  | Alcohol breath analyzer | 1 |  |  |  |
|  | Psychological Tests equipment |  |  |  |  |
|  | Project tests | 3 |  |  |  |
|  | Intelligence tests | 3 |  |  |  |
|  | Personality tests | 3 |  |  |  |
|  | Neuro psychological tests | 3 |  |  |  |

### DEPARTMENT OF SURGERY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | O.P.D |  |  |  |  |
|  | Blood pressure Apparatus, Stethoscopy, Diagnostic kit, weighing machine, skinfold Caliper, weight scale | 6 |  |  |  |
|  | X-ray viewing box 4 in 1 | 6 |  |  |  |
|  | Proctoscope and Gabriel syringe | 6 |  |  |  |
|  | Sigmoidoscope (Rigid) | 2 |  |  |  |
|  | Flexible Endoscope, upper GI | 2 |  |  |  |
|  | Colonoscope (one set in Main O.T) |  |  |  |  |
|  | Diagnostic Cystoscope | 1 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Uroflowmetry | 1 |  |  |  |
|  | MINOR O.T. |  |  |  |  |
|  | Operation Theatre Table | 2 |  |  |  |
|  | Operation Theatre Ceiling light | 2 |  |  |  |
|  | Pedestal lights | 4 |  |  |  |
|  | Electro-surgical unit | 1 |  |  |  |
|  | Suction | 4 |  |  |  |
|  | Pulse Oximeter(one for Endoscopy Room) | 4 |  |  |  |
|  | Anaesthesia Equipment | 1 set |  |  |  |
|  | Resuscitation kit | 1 |  |  |  |
|  | Assorted surgical instrument for minor operation sets | 12 |  |  |  |
|  | Autoclave | 1 |  |  |  |
|  | WARDS B.P.Apparatus, Stethescope, diagnostic kit (4 sets in each ward) | 16 sets |  |  |  |
|  | Weighing Machine, height scale, skin fold caliper (2 each in each ward) | 8 |  |  |  |
|  | Proctoscope (2 in each ward) | 8 |  |  |  |
|  | Monitors for pulse rate, Heart rate, E.C.G. Invasive and non-invasive Pressure (2 in each ward) | 8 |  |  |  |
|  | Incubators / Transport incubators | 4 |  |  |  |
|  | Neonatal Bassinet | 4 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Arterial blood analyzer | 1 |  |  |  |
|  | Oesophageal / Gastric pH & Pressure recorder | 1 |  |  |  |
|  | OPERATION THEATRE |  |  |  |  |
|  | Operating Tables | 8 |  |  |  |
|  | Operating Ceiling lights | 8 |  |  |  |
|  | Paedestal side light (for emergency use) | 4 |  |  |  |
|  | Electrosurgical unit | 10 |  |  |  |
|  | General sets (8 for each operation Theatre) | 64 |  |  |  |
|  | Burr hole set | 2 |  |  |  |
|  | Vascular set (1 in each O.T) | 8 |  |  |  |
|  | Anaesthesia equipment as per requirement of |  |  |  |  |
|  | Anaesthesia department diagnostic and |  |  |  |  |
|  | Operative Laparoscope | 2 |  |  |  |
|  | Cystoscope and Resectoscope | 2 |  |  |  |
|  | Bronchoscope | 1 |  |  |  |
|  | Flexible G.I. Endoscope | 1 |  |  |  |
|  | Laser (May be shared with other Dept) | 1 |  |  |  |
|  | C-Arm Image Intensifier | 1 |  |  |  |
|  | Operating microscope-binocular with |  |  |  |  |
|  | Video monitor | 1 |  |  |  |
|  | Operative ultrasound | 1 |  |  |  |
|  | Stapling device assorted | 2 sets |  |  |  |
|  | Endo-stapler | 1 sets |  |  |  |
|  | Closed circuit T.V. | 2 |  |  |  |
|  | MISCELLANEOUS |  |  |  |  |
|  | Photocopier | 1 |  |  |  |
|  | Computer with laser Printer | 1 |  |  |  |
|  | Electronic Typewriters | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Over head Projector | 2 |  |  |  |
|  | Video Cassett Recorder/video Cassette Player | 1 |  |  |  |

### DEPARTMENT OF PAEDIATRIC SURGERY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Resuscitation equipment |  |  |  |  |
|  | Ambubags | 4 |  |  |  |
|  | ET tubes (all sizes 2.5-8) | 8 sets |  |  |  |
|  | Guedell’s air way (all sizes) | 4 sets |  |  |  |
|  | Laryngoscope | 4 |  |  |  |
|  | Suction Catheters assorted sizes | 20 sets |  |  |  |
|  | Suction machines | 4 |  |  |  |
|  | Oxygen cylinders Oxygen | 8 |  |  |  |
|  | B.P.Apparatus | 8 |  |  |  |
|  | Slow suction machine | 3 |  |  |  |
|  | Nebulizer | 3 |  |  |  |
|  | Heater | 3 |  |  |  |
|  | I.C.U. equipment incubator | 3 sets |  |  |  |
|  | Operation Theatre equipment | 2 |  |  |  |
|  | Cystoscope – Paediatrics | 2 |  |  |  |
|  | Rigid Bronchoscope (sets) | 2 |  |  |  |
|  | Oesophageal dilators (sets) | 2 |  |  |  |
|  | Paediatrics Sigmoidoscope | 2 |  |  |  |

### DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Basic instrumentation set for fracture | 5 sets |  |  |  |
|  | Mall fragment and large fragment | 3 |  |  |  |
|  | External fixator | 6 |  |  |  |
|  | C-Arm (Image Intensifier) | 2 |  |  |  |
|  | Portable X ray Machine | 1 |  |  |  |
|  | Arthroscope | 1 |  |  |  |
|  | Slide Projector | 1 |  |  |  |
|  | Over-head projector | 1 |  |  |  |
|  | Movie Camera for demonstration of live operations | 1 |  |  |  |
|  | Plaster room equipment (sets) with plastic table | 2 |  |  |  |

### DEPARTMENT OPHTHALMOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | O.P.D |  |  |  |  |
|  | Snellen chart snellen drum with or without remote control | 4 |  |  |  |
|  | Trial set with trial fame both for adult and children | 4 |  |  |  |
|  | Bjerrum screen | 2 |  |  |  |
|  | Perimeter | 2 |  |  |  |
|  | Colour vision chart | 3 |  |  |  |
|  | Near vision chart with different language | 4 |  |  |  |
|  | 3 cell torch | 9 |  |  |  |
|  | Ophthalmoscope and Retinoscope | 4 |  |  |  |
|  | Common equipments in the OPD |  |  |  |  |
|  | Sit lamp | 2 |  |  |  |
|  | Applanation tonometer | 1 |  |  |  |
|  | Keratometer | 1 |  |  |  |
|  | Indirect ophthalmoscope | 2 |  |  |  |
|  | Synoptophore | 1 |  |  |  |
|  | Maddox rod | 1 |  |  |  |
|  | Maddox wing | 1 |  |  |  |
|  | Diplopia goggles | 1 |  |  |  |
|  | Gonioscope | 1 |  |  |  |
|  | Placido disc | 1 |  |  |  |
|  | Prism bar | 1 |  |  |  |
|  | Schoutz tonometer | 3 |  |  |  |
|  | MAJOR Operation Theatre |  |  |  |  |
|  | Operating microscope with TV unit with camera | 2 |  |  |  |
|  | Cyro Unit | 2 |  |  |  |
|  | Cataract Set | 7 |  |  |  |
|  | Glaucoma set | 2 |  |  |  |
|  | DCR set | 2 |  |  |  |
|  | Entropian set | 2 |  |  |  |
|  | Enucleation set | 2 |  |  |  |
|  | Eviscerations set | 2 |  |  |  |
|  | Squint set | 2 |  |  |  |
|  | GENERAL OPHTHALMIC EQUIPMENTS |  |  |  |  |
|  | Operation Theatre Table | 2 |  |  |  |
|  | Operation Theatre light | 2 |  |  |  |
|  | MINOR Operation Theatre: Minor OT should have the equipment for the removal of the foreign body, sutures and chalzion or style etc. |
|  | WARD |  |  |  |  |
|  | Slit lamp |  |  |  |  |
|  | Snellen Chart/ snallen drum with or without remote control | 1 |  |  |  |
|  | Trial set with trial frame both for adult and children | 1 |  |  |  |
|  | Bjerri, screen | 1 |  |  |  |
|  | Perimeter | 1 |  |  |  |
|  | Colour vision chart | 1 |  |  |  |
|  | Near vision chart with different language | 4 |  |  |  |
|  | 3 cell torch | 1 |  |  |  |
|  | Opthalmoscope and retinoscope | 1 |  |  |  |

### DEPARTMENT OF ENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | O.P.D | (Per doctor) |  |  |  |
|  | Nasal spectulum | 4 |  |  |  |
|  | Tongue depressor | 4 |  |  |  |
|  | Laryngeal mirrors | 4 |  |  |  |
|  | Nasopharyngeal mirrors | 4 |  |  |  |
|  | Aural speculum | 4 |  |  |  |
|  | Ear suction | 2 |  |  |  |
|  | Nasal suction | 2 |  |  |  |
|  | Suction apparatus | 1 |  |  |  |
|  | Siegles speculum | 1 |  |  |  |
|  | Tuning fork (512 Hz) | 1 |  |  |  |
|  | Otoscope | 2 |  |  |  |
|  | Bayonet forces | 1 |  |  |  |
|  | Bulls lamp | 1 |  |  |  |
|  | Head lamp | 1 |  |  |  |
|  | ENT examination Chair | 2 |  |  |  |
|  | Jobson Horne probe | 1 |  |  |  |
|  | Sterilizer | 1 |  |  |  |
|  | BP Apparatus | 1 |  |  |  |
|  | Stethoscope | 1 |  |  |  |
|  | MAJOR Operation Theatre |  |  |  |  |
|  | Tonsillectomy and Adenoidectomy set |  |  |  |  |
|  | Yankauer oropharyngeal suction tip | 1 |  |  |  |
|  | b) Set for nasal bone fracture Asch forceps | 1 |  |  |  |
|  | c) Septoplasty set |  |  |  |  |
|  | d) Caldwel Iue set |  |  |  |  |
|  | e) Antrostomy set |  |  |  |  |
|  | f) FESS set |  |  |  |  |
|  | Optional for MBBS |  |  |  |  |
|  | g) Direct laryngoscopy set |  |  |  |  |
|  | h) Microlaryngoscopy set |  |  |  |  |
|  | i) Tympanoplasty set |  |  |  |  |
|  | j) Mastoidectomy set |  |  |  |  |
|  | k) Stapedctomy set |  |  |  |  |
|  | l) Oesophagoscopy set |  |  |  |  |
|  | m) Bronchoscopy set |  |  |  |  |
|  | Bronchoscopes | 3 |  |  |  |
|  | Lighting system | 1 |  |  |  |
|  | Biopsy forceps | 1 |  |  |  |
|  | Foreign body removal forceps | 1 |  |  |  |
|  | Suction | 1 |  |  |  |
|  | Optional for MBBS |  |  |  |  |
|  | n) Tracheostomy set |  |  |  |  |
|  | iii) MINOR operation Theatre |  |  |  |  |
|  | a) Antral wash set |  |  |  |  |
|  | b) Direct Laryngoscope set |  |  |  |  |
|  | Biopsy forceps | 1 |  |  |  |
|  | Foreign body removal forceps | 1 |  |  |  |
|  | Sterilizer | As required |  |  |  |
|  | Aural syringe | As required |  |  |  |
|  | Tracheostomy set | As required |  |  |  |
|  | Intubation set | As required |  |  |  |
|  | Cricothyrotomy set | As required |  |  |  |
|  | iv) WARDS |  |  |  |  |
|  | Semi intensive care unit (4 beds) | As required |  |  |  |
|  | Central suction | As required |  |  |  |
|  | Oxygen | As required |  |  |  |
|  | Humidifier | As required |  |  |  |
|  | v) MISCELLANEOUS EQUIPMENTS |  |  |  |  |
|  | Operating microscope for major operation Theatre | 1 |  |  |  |
|  | For minor operation theatre | 1 |  |  |  |
|  | Puretone audiometer | As required |  |  |  |
|  | Impendance audiometer | As required |  |  |  |
|  | SPECIAL EQUIPMENTS |  |  |  |  |
|  | a) Temporal bone lab Microscope |  |  |  |  |
|  | b) Drill |  |  |  |  |
|  | Mastoid set | 1 |  |  |  |
|  | Optional for MBBS | 1 |  |  |  |
|  | vi) ANY OTHER ADDITIONAL EQUIPMENT WHICH ARE DESIRABLE |
|  | Flexible nasopharyngolaryngoscope | 1 |  |  |  |
|  | Electronystagmograph | 1 |  |  |  |
|  | Goggles, plastic apron, gloves for examination of patients with biohazard (HIV and Au positive) | 6 sets |  |  |  |
|  | FESS unit | 2 sets |  |  |  |

DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) General |  |  |  |  |
|  | Speculums and retractors | 50 |  |  |  |
|  | EA+ECC sets | 20 |  |  |  |
|  | PCT forceps | 10 |  |  |  |
|  | Ayers spatula | 30 |  |  |  |
|  | Cytology bottle | 30 |  |  |  |
|  | Microscope | 2 |  |  |  |
|  | MR Syringes | 10 |  |  |  |
|  | Colonoscope | 2 |  |  |  |
|  | Cryo/electro cautery apparatus | 2 |  |  |  |
|  | Simple fetal Doppler | 2 |  |  |  |
|  | NST Machine | 4 |  |  |  |
|  | Stitch removal sets | 10 |  |  |  |
|  | Dressings sets | 10 |  |  |  |
|  | Ultrasound machine | 2 |  |  |  |
|  | Proctoscope | 6 |  |  |  |
|  | Weighing machine | 2 |  |  |  |
|  | Height scale | 2 |  |  |  |
|  | View box | 2 |  |  |  |
|  | (Blood pressure apparatus, measuring tapes, syringes, needles, torch) Resuscitation tray | 2 |  |  |  |
|  | (Laryngoscope, ET Tube, Ambu bag, suction catheter, Essential drugs). Suction machine | 2 |  |  |  |
|  | Hysterosalphigogram Canula | 8 |  |  |  |
|  | ii) Main operation theatre |  |  |  |  |
|  | Abdominal Hysterectomy set (Arteries, scissors, scalpel, Allis’s kelly’s clamps, Badcock forceps, thumb forceps, Harington & Richardson retractors) Vaginal Hysterectomy set | 6 |  |  |  |
|  | (Scalpel, scissors, Metal Catheter, Sim’s speculum volsellum, Kelly’s clamps, Right angle retractor, arteries , Allis, uterine sound, bladder sound). |  |  |  |  |
|  | Tuboplasty set | 4 |  |  |  |
|  | Myomectomy instruments (Myoma screw, Boney’s clamp) | 2 |  |  |  |
|  | Diagnostic laparoscopy set | 4 |  |  |  |
|  | Hystroscopy set | 2 |  |  |  |
|  | Electronic Carbondioxide insuffator/ Insuffator basic unit | 4 |  |  |  |
|  | Resctoscope | 2 |  |  |  |
|  | Hyseromat | 2 |  |  |  |
|  | Operation microscope/ Loupe | 2 |  |  |  |
|  | Electrocauter | 3 |  |  |  |
|  | iii) SPECIAL EQUPIMENT |  |  |  |  |
|  | Contact microhystroscope | 1 |  |  |  |
|  | Co2 & Nd Yag laser | 1 |  |  |  |
|  | iv) LABOUR ROOM |  |  |  |  |
|  | Delivery sets | 20 |  |  |  |
|  | B.P.Apparatus | 6 |  |  |  |
|  | Weighing machine | 2 |  |  |  |
|  | Fetal Doppler | 2 |  |  |  |
|  | Cardiotocogram machine | 5 |  |  |  |
|  | Portable ultrasound | 2 |  |  |  |
|  | High suction machine | 2 |  |  |  |
|  | Resuscitation tray | 2 |  |  |  |
|  | SPECIAL EQUIPMENT |  |  |  |  |
|  | Oxytocin infusion pumps | 6 |  |  |  |
|  | Multichannel monitors | 4 |  |  |  |
|  | Intrauterine Pressure monitoring system | 4 |  |  |  |
|  | Fetal scalp electrodes Facilities for fetal |  |  |  |  |
|  | Scalp pH | 3 |  |  |  |
|  | vi) TEACHING SET |  |  |  |  |
|  | Doll and Dummy | 2 |  |  |  |
|  | Female Pelvis | 2 |  |  |  |
|  | Gross specimens |  |  |  |  |
|  | X-ray/US films view box | 2 |  |  |  |
|  | VCR | 2 |  |  |  |
|  | Overhead Projector | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Set of instruments/foreceps etc. |  |  |  |  |
|  | vii) MISCELLANEOUS Camera with 200 m lens Endocamera/Television, TTL flash light, Carbondioxide Monitor, Calculator channelizer, Disposables, to be issued on monthly basis. |  |  |  |  |
|  | viii) MINOR OPERATION THEATRE |  |  |  |  |
|  | Cervical biopsy set | 8 |  |  |  |
|  | MTP set | 10 |  |  |  |
|  | D&C set | 10 |  |  |  |
|  | Hydrotubation set | 4 |  |  |  |
|  | IUCD insertion/removal set | 15 |  |  |  |
|  | High suction machine | 3 |  |  |  |
|  | Resuscitation tray | 1 |  |  |  |
|  | E.B.Set | 10 |  |  |  |
|  | (O.T. Lights, OT tables) |  |  |  |  |
|  | ix) MATERNITY O.T. |  |  |  |  |
|  | Set for LSCS | 10 |  |  |  |
|  | D&C set | 10 |  |  |  |
|  | MTP set | 10 |  |  |  |
|  | High suction machine | 4 |  |  |  |
|  | Cervical exploration set | 4 |  |  |  |
|  | Uterine packing forceps | 4 |  |  |  |
|  | Abdominal hysterectomy set | 2 |  |  |  |
|  | Diagnostic laparoscopy set | 4 |  |  |  |
|  | Laprocator for tubal ligation | 4 |  |  |  |
|  | Postputum ligation | 4 |  |  |  |
|  | Outlet forceps | 6 |  |  |  |
|  | Low mid cavity forceps/kjielland forceps | 6 |  |  |  |
|  | Vaccum Extractor and suction machine | 4 |  |  |  |
|  | Resuscitation tray | 2 |  |  |  |
|  | Decapitation hook | 2 |  |  |  |
|  | Cranioclast with cephalotribe | 2 |  |  |  |
|  | Oldham Perforator | 1 |  |  |  |
|  | Infusion Pump | 6 |  |  |  |
|  | EB set | 6 |  |  |  |
|  | Operation Theatre table, operation theatre lights, Central oxygen and suction |  |  |  |  |
|  | x) SPECIAL EQUIPMENT: |  |  |  |  |
|  | Multichannel monitor with ECG, BP, HR, Pulse oxymetry for high risk pregnant patients (eclampsia, heart diseases etc). |  |  |  |  |
|  | xi) WARDS |  |  |  |  |
|  | Blood Pressuer Apparatus | 6 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Speculum and retractors | 60 |  |  |  |
|  | Glucometer | 2 |  |  |  |
|  | Microscope | 2 |  |  |  |
|  | Suture removal sets | 10 |  |  |  |
|  | Dressing sets | 15 |  |  |  |
|  | Ultrasound | 2 |  |  |  |
|  | Cutdown sets | 2 |  |  |  |
|  | Blood gas analyzer | 1 |  |  |  |
|  | CTG machine | 2 |  |  |  |
|  | Suction machine | 3 |  |  |  |
|  | Resuscitation tray | 3 |  |  |  |
|  | View box | 2 |  |  |  |
|  | xii) SPECIAL EQUIPMENTS |  |  |  |  |
|  | Ultrasound machine with Doppler/Vaginal Probe/ |  |  |  |  |
|  | Facilities for Interventional procedure |  |  |  |  |
|  | Multichannel Monitor |  |  |  |  |
|  | Fetal Monitor for |  |  |  |  |
|  | Antepartum Surveillance |  |  |  |  |
|  | Computer for data entry |  |  |  |  |
|  | (Gloves, syringes, needles, torch, measuring tape etc) |  |  |  |  |
|  | xiii) Laboratory equipment for following investigations: |  |  |  |  |
|  | H-Gram |  |  |  |  |
|  | Urine Examination |  |  |  |  |
|  | Semen Analysis |  |  |  |  |
|  | Renal function Test (RFT), Liver function test (LFT), |  |  |  |  |
|  | Including Serum Blutamase Test (SBT) |  |  |  |  |
|  | Electrolytes, Blood sugar |  |  |  |  |
|  | Culture facilities |  |  |  |  |
|  | 24 hr. urine alb. Creatinine |  |  |  |  |
|  | VDRL, TORCH |  |  |  |  |
|  | HIV |  |  |  |  |
|  | Serum, BHCG, estroil, MSAFP |  |  |  |  |
|  | Semen wash |  |  |  |  |
|  | FSH, LH PROCLACTIN, T3, T4, |  |  |  |  |
|  | TSH, Testosterone, DHEAS |  |  |  |  |
|  | Chlamydia and other reproductive tract infection testing |  |  |  |  |
|  | GENETIC LAB: Cytology chromosome study, PCR for various |  |  |  |  |
|  | Abnormalities. Facilities for biochemical tests. |  |  |  |  |
|  | And enzyme studies for prenatal diagnosis |  |  |  |  |
|  | Blood gas analyzer |  |  |  |  |
|  | Thalassemia study |  |  |  |  |
|  | ABO and Rh typing |  |  |  |  |
|  | PCR for tuberculosis |  |  |  |  |
|  | Viral markers for Hepatitic studies. |  |  |  |  |
|  | Coagulation profile, fibrinogen degradation products, |  |  |  |  |
|  | Blood bank facilities. |  |  |  |  |
|  | Cryopresservation. |  |  |  |  |
|  | Assisted reproductive techniques. |  |  |  |  |

##### DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | OPD-Anaesthesia clinic |  |  |  |  |
|  | Blood Pressure Instrument (Non-invasive) | 1 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Ware (Recovery) |  |  |  |  |
|  | Resucitation equipments (CPR) |  |  |  |  |
|  | a) Adult Dummy | 1 |  |  |  |
|  | b) Paediatric dummy | 1 |  |  |  |
|  | c) Artificial breathing |  |  |  |  |
|  | Bag with face Masks |  |  |  |  |
|  | d) Defibrillator |  |  |  |  |
|  | Suction machine |  |  |  |  |
|  | - Electrical | 5 |  |  |  |
|  | - Manual | 5 |  |  |  |
|  | Oxygen therapy unit | 4 |  |  |  |
|  | Pulse Oximeter | 2 |  |  |  |
|  | E.C.G. Monitor | 2 |  |  |  |
|  | E.T. Co.2 Monitor | 1 – one for each O.T. |  |  |  |
|  | Simple anaesthesia machine with resuscitation equipments and accessories | 1 |  |  |  |
|  | Machanical Ventilator | 2 |  |  |  |
|  | DEPARTMENT OF RADIO-DIAGNOSIS |  |  |  |  |
|  | Conventional x-ray unit for routine x-ray and IVV | 3 |  |  |  |
|  | Mobile x-ray units |  |  |  |  |
|  | a) 30 MA | 3 |  |  |  |
|  | b) 60 MA | 3 |  |  |  |
|  | Fluroscopic unit | 1 |  |  |  |
|  | Both conventional and image intensifying unit for gastro enterology & gynae work etc | 2 |  |  |  |
|  | Ultrasonography equipment |  |  |  |  |
|  | 2+1 additional unit independently for Obstetrics and Gynaecology. |  |  |  |  |
|  | CT | 1 |  |  |  |
|  | Mammography (preferably) MRI (preferably) |  |  |  |  |

OPTIONAL DEPARTMENTS

RADIO-THERAPY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Examination Table |  |  |  |  |
|  | ENT examination set up |  |  |  |  |
|  | Gynae/pelvic examination tables |  |  |  |  |
|  | Treatment planning and mould room including |  |  |  |  |
|  | i) Computerised treatment planning system | 1 |  |  |  |
|  | ii) Simulator | 1 |  |  |  |
|  | iii) Immobilization cast making system | 1 |  |  |  |
|  | Brachytherapy setup |  |  |  |  |
|  | i) Manual afterloading intercavitory system (sets) | 2 |  |  |  |
|  | ii) Manual afterloading | 1 |  |  |  |
|  | Interstitial / surface mould systems (sets) |  |  |  |  |
|  | Teletherapy set-up |  |  |  |  |
|  | Isocentrically mounted | 1 |  |  |  |
|  | Rotational telecobalt |  |  |  |  |
|  | Unit minimum 80 cm SSD |  |  |  |  |
|  | Radiation Protection and Dosimetry set-up |  |  |  |  |
|  | i) Secondary standard dosimeter with ionization chamber | 1 |  |  |  |
|  | ii) Survey meter | 1 |  |  |  |
|  | iii) Area/Zone monitors | 3 |  |  |  |
|  | (by BARC) As per the number of staff members in the department |  |  |  |  |
|  | Radiotherapy Department |  |  |  |  |
|  | i) Dual Photon energy linear accelerator with electrons and multileaf collimeter | 1 |  |  |  |
|  | ii) Remote controlled intracavitory system | 1 |  |  |  |
|  | iii) Remote controlled interstitial system | 1 |  |  |  |
|  | iv) CT-Sim 3D treatment Planning system | 1 |  |  |  |
|  | v) Isodose plotte (Automatic) | 1 |  |  |  |
|  | vi) Customised shielding | 1 |  |  |  |
|  | v) Block making system | 1 |  |  |  |
|  | vii) Customised compensator making system | 1 |  |  |  |
|  | viii) Computerised Dosimetry system | 1 |  |  |  |
|  | ix) Thermoluminiscent dosimetry system | 1 |  |  |  |
|  | x) Intra operative Radiotherapy and stereotactic radiotherapy set up alongwith linear accelerator (multi leaf). | 1 |  |  |  |
|  | N.B: Normally one teletherapy unit should be provided for every 1000 new cancer cases. All radiation therapy equipments (tele/Brachy) should be BARC type approved with BARC sanctioned layout / installation plan. |  |  |  |  |
|  | Physical Medicine and Rehabilitation |  |  |  |  |
|  | 1. Rehabilitation Diagnosis and treatment equipments including exercise set-ups |  |  |  |  |
|  | 2. Remedial and recreational set up |  |  |  |  |
|  | 3. Electrotherapy equipments |  |  |  |  |
|  | 4. Prosthetic-Orthotic workshop equipments. |  |  |  |  |
|  | (C) OTHER DEPARTMENTS |  |  |  |  |
|  | 1. MEDICAL EDUCATION UINIT |  |  |  |  |
|  | Overhead Projectors | 2 |  |  |  |
|  | Slide Projectors | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Electronic Typewriter | 1 |  |  |  |
|  | Video Camera | 1 |  |  |  |
|  | Video cassette Recorder | 1 |  |  |  |
|  | Television | 1 |  |  |  |
|  | Black board | 2 |  |  |  |
|  | Xerox copier | 1 |  |  |  |
|  | Books and Journals | As required |  |  |  |
|  | 2. DEPARTMENT OF AUDIO VISUAL AIDS ARTIST SECTION |  |  |  |  |
|  | Drawing Board size 42” x 27” | 1 |  |  |  |
|  | Drawing Board size 22” x 30” | 1 |  |  |  |
|  | Instrument box steadler | 1 |  |  |  |
|  | Plastic Transparent set square 10” | 1 pair |  |  |  |
|  | Plastic scale transparent 18” | 1 |  |  |  |
|  | Parallel ruler 18” | 1 |  |  |  |
|  | Proportional Compass | 1 |  |  |  |
|  | Bowpen “Stanley” one for fine and one for thick line | 2 |  |  |  |
|  | “T” scale 24” wooden | 1 |  |  |  |
|  | “T” scale 48” wooden | 1 |  |  |  |
|  | Frenat curves plastic 1 set of 12 | 1 set |  |  |  |
|  | Protractor plastic semiround 6” dia | 1 |  |  |  |
|  | Kent paper size 22” x 30” | 12 |  |  |  |
|  | Scolor drawing paper 22” x 30” | 12 |  |  |  |
|  | Drawing paper Norway 72 lbs | 12 |  |  |  |
|  | Water colour tubes “Winsor and Newton” | 24 |  |  |  |
|  | Posterocolours in different shades | 13 |  |  |  |
|  | Reeves Indian black ink | 12 |  |  |  |
|  | Water colour box “Peliken” Sable Hari brushes | 16 |  |  |  |
|  | Series No. 00 to 6 and 10 | 8 |  |  |  |
|  | Speed ball nibs style A.B.C. & D | 1 set |  |  |  |
|  | Crequil Nibs | 12 |  |  |  |
|  | Drawing Nibs 303 and 304 | 12 |  |  |  |
|  | Clip Holders | 6 |  |  |  |
|  | Computer facilities | As required |  |  |  |
|  | Modeling instrument box | 1 |  |  |  |
|  | Saw for wood work | 1 |  |  |  |
|  | Bew saw iron | 1 |  |  |  |
|  | Jamboor | 1 |  |  |  |
|  | Plier | 1 |  |  |  |
|  | Plier Goldsmith | 1 |  |  |  |
|  | Scissors Goldsmith | 1 |  |  |  |
|  | Hammer | 1 |  |  |  |
|  | Mortar Iron | 1 |  |  |  |
|  | Bucket Iron | 1 |  |  |  |
|  | Chisel | 1 |  |  |  |
|  | Tagari Iron | 1 |  |  |  |
|  | E.L.Bowls | 4 |  |  |  |
|  | Drill Machine | 1 |  |  |  |
|  | Modelling clay | As required |  |  |  |
|  | Chalk clay | As required |  |  |  |
|  | Multani clay | As required |  |  |  |
|  | Yellow clay | As required |  |  |  |
|  | Soft stone powder | As required |  |  |  |
|  | Plaster of Paris | As required |  |  |  |
|  | Old raddy | As required |  |  |  |
|  | Gum | As required |  |  |  |
|  | Stand paper | As required |  |  |  |
|  | Plasticine | As required |  |  |  |
|  | Wires G.I. copper and wire netting | As required |  |  |  |
|  | Synthetic Enamel colours 1/16 gallon | As required |  |  |  |
|  | Oil colour brushes | As required |  |  |  |
|  | Soap and coconut oil | As required |  |  |  |
|  | Epidiascope B & L or alatis | 4 |  |  |  |
|  | Radiant Screen size 72” x 72” | 2 |  |  |  |
|  | MODELLING SECTIONS AND PHOTROGRAPHY |  |  |  |  |
|  | 16 mm. Film projector bell and Howell |  |  |  |  |
|  | Camera Rollieflex automatic |  |  |  |  |
|  | Camera 35 mm. Contax 4/D with copying attachment |  |  |  |  |
|  | Microscopic attachment of Contax |  |  |  |  |
|  | Micro Projectr Zeiss or B&L |  |  |  |  |
|  | Enlarger Omega D2 |  |  |  |  |
|  | Dark room and developing equipment |  |  |  |  |
|  | 35 mm. Slide projector viewlex. |  |  |  |  |
|  | Lumbar puncture needles (disposable) |  |  |  |  |

YEAR WISE TARGET TO BE ACHIEVED BY APPLICANT OF A NEW

MEDICAL COLLEGE ADMITTING 100 STUDENTS

##### It is as per MCI act. Timely modification if any should be followed

---------------------------------------------------------------------------------------------------------------

FACILITIES	At the 		At the		At the 		At the		At the

REQUIRED TO     beginning	Time of	Time of	Time of	time of

BE PRESENT 	of first		1st renewal	2nd renewal	3rd renewal	4th renewal

Admission	inspection	inspection	inspection	inspection

----------------------------------------------------------------------------------------------------------------

1    Principal/Dean             1       	      1		         1		        1		       1

----------------------------------------------------------------------------------------------------------------

2.   Administrative

Block and Staff       from Inspection

----------------------------------------------------------------------------------------------------------------

i) Principal/Dean            25 % of staff    50% of staff	    75% of staff    100% of staff

Office         		    Component      component      component	    component

-------------------------

ii Account Section

-------------------------

iii Academic section

-------------------------

iv Establishment

section

---------------------------------------------------------------------------------------------------------------

3.    Examination hall      		      100% 250

capacity

---------------------------------------------------------------------------------------------------------------

4.    Lecture theatre	   2-120 seats			       3-120 seats

capacity			        capacity

---------------------------------------------------------------------------------------------------------------

5.   Auditorium							      	               one 500 -

700 seats

---------------------------------------------------------------------------------------------------------------

6.   College Council	    From

inspection

---------------------------------------------------------------------------------------------------------------

7.   Animal House            From

inspection

---------------------------------------------------------------------------------------------------------------

8.   Central Library

---------------------------------------------------------------------------------------------------------------

i) Books		     1400		 2800	           4200	         5600	    7000

ii) Indian Journals	      14			  28		42	         56	    70

iii) Foreign journals	      6                              12                  18                 24               30

---------------------------------------------------------------------------------------------------------------

9.    Central Photo-            From		   Full staff at the end of 4th year

graphy		      inspection

10.    Central 		     From		  Full staff at the end of 4th year

workshop	     inspection

-----------------------------------------------------------------------------------------------------------------

11.     Central 		     From

incineration	     inception

-----------------------------------------------------------------------------------------------------------------

12.      Gas plant	    From

inception

-----------------------------------------------------------------------------------------------------------------

13.	Hostel for	        100		 200	           350	          400	   500

Boys/Girls

-----------------------------------------------------------------------------------------------------------------

14.	Interns Hostel									   100

-----------------------------------------------------------------------------------------------------------------

15.	Nurses  	        30%   		40%		50%	         75%	    100%

Hostel/Quarters

-----------------------------------------------------------------------------------------------------------------

16. 	Residants   	        50		75	           100	       125 	    150

Quarters

-----------------------------------------------------------------------------------------------------------------

17.	Staff quarters	        10%		20%		 30%	          40%	      50%

-----------------------------------------------------------------------------------------------------------------

18.	Statistical  Unit      Operational      Fully

since                Functional

inception

-----------------------------------------------------------------------------------------------------------------

19. 	Medical 	       From

Education unit	       inception

-----------------------------------------------------------------------------------------------------------------

20.	Intercom network    50%		100%

-----------------------------------------------------------------------------------------------------------------

21.	Play ground	       At the time of inception onwards

-----------------------------------------------------------------------------------------------------------------

22.	Gymnasium	       At the end of Ist year onwards

-----------------------------------------------------------------------------------------------------------------

23.	Dept. Anatomy   }

24. 	Physiology	   }  100% from inception

25.	Biochemistry      }

-----------------------------------------------------------------------------------------------------------------

26.	Community	        Operational at the time of inception and fully functional at the

Medicine	         time of 2nd year

-----------------------------------------------------------------------------------------------------------------

27. 	Pharmacology          Operational at the time of inception and fully functional at the

28.	Pathology	          time of 2nd year

29.       Microbiology

30.	Forensic medic

-----------------------------------------------------------------------------------------------------------------

31.	i) All clinical 		Operational at the time of inception and fully functional at the

departments		  time of 2nd year

-----------------------------------------------------------------------------------------------------------------

ii) TB			 Operational at the time of inception and fully functional at the

Dermatology	 	  time of 3rd year

& Psychiatry

-----------------------------------------------------------------------------------------------------------------

32.	Operation Theatres	4		5		8		8	         10

-----------------------------------------------------------------------------------------------------------------

33.	Staff			As per

Apendix

-----------------------------------------------------------------------------------------------------------------

34.	Beds			As per

Appendix

-----------------------------------------------------------------------------------------------------------------

NOTE: Hostel should be made compulsory for all except Localites.

Bed strength required for various departments from inception to the end of 4th year

For 100 admissions.

Dept			At	At Ist	     At 2nd	At 3rd	     At 4th

Inception   renewal    renewal     renewal     renewal

Medicine &

Gen. Med.		80	  85	      93               102 	      120

Paed			30	  38	       50   	   60              60

TB & Chest		--	  10	       12		   15	         20

Skin & STD		--	    5	         7		     9              10

Psychiatry		--	    5	         7		     9	         10

Total	   	          110	143	     169		 195	        220

Surgery &

Gen Surgery		90	   90	        93	  100	        120

Ortho			30	   38	        50 	    60	          60

Ophtho		10	   13	        16	    18   	          20

ENT			10	   13	        16   	    18	          20

Total		           140	 154            175              196            220

OB & Gyn

Obst			 30          32              34                 36            36

Gynec			 20          21              22	      23            24

Total			 50          53              56                 59            60

Grand Total                300        350             400               450          500

.

CERTIFICATE

This is to certify that the information furnished in this LIC inspection format is true to the best of my knowledge and belief.

Date:								Signature of the Principal

with office seal.

Place:

##### RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA, BANGALORE

POST GRADUATE MEDICAL EDUCATION: MINIMUM REQUIREMENTS.

The regulations prescribed by MCI as amended from time to time are strictly followed.  In brief the requirements are given below:

1. The Medical College whose MBBS course is recognized by MCI after the first batch has completed the course can start Post Graduate Degree and Diploma Courses.

2. Minimum requirements prescribed by MCI for UG courses must be present.  In addition extra requirements are present for each individual departments which starts PG course.

3. Department with PG course should have a separate research lab of minimum of 50 Sq. mtrs, in addition to the Central Research Lab

4. Student Teacher ratio to be maintained at 1:1.

5. Extra staff required for Post Graduate Degree in different subjects in addition to the UG Courses is given below:

Anatomy:             1. Asso. Professor – 1

2. Asst. Professor  – 1

3. Demonstrators   – 1

4.Steno/Typist       -  1

Physiology:		- do-

Biochemistry:		- do-

Pathology		-do-

Microbiology		-do-

Pharmacology		-do-

Community Medicine	-do-

Radio diagnosis	-do-

Radiotherapy		-do-

Anesthesiology	-do-

Forensic Medicine	-do-

Department of Medicine, Surgery & OBG

Each Unit shall have in addition one whole time Asst. Professor and Steno

Staff for Ancillary Department

1. All ancillary braches running Post Graduate courses should have at least 60 beds in case of broad specialties and 20 beds in higher specialties.  A Unit shall consitst of 30 beds for MD/MS.

2. To determine the number of students who may be admitted for training, Out patient attendence, work turnover and ambulatory care, also have to be taken in to consideration.

3. Adequate Laboratory must be available for training

4. The department shall have adequate number of al equipments including the latest once necessary for training as prescribed by MCI

5. All these ancillary departments should have Professor in charge instead of Asso. Professor.

A detailed training programme for Degree and Diploma as prescribed by MCI must be present.  PG’s should take part in UG training.

What is the contribution of the Institution to the Civil Society in terms of social accountability: (The inspectors in discussion with the authorities of the Institution can answer this).

To enclose relevant documents

RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA

4th “T” Block, Jayanagar, Bangalore – 560 041

ANNEXURE - C

MEDICAL  FACULTY

[FOR UG 150 SEATS AND PG COURSES]

| Courses Inspected For |
| --- |
| Faculty/Subject | Continuation of Affiliation |  |  |
| Under Graduate |
| MBBS |  |  |  |

| COURSES BEING RUN BY THE COLLEGE |
| --- |
| Name/s of Course/s | RGUHS Sanction | GOK Sanction | Apex body Sanction |
|  |  |  | CCH |
|  | Intake | Intake | Intake |
| Under Graduate |
| MBBS |  |  |  |
| Post Graduate [MD, MS AND DIPLOMA] |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |
| Any other course |  |  |  |

To enclose relevant documents

Whether other Educational Institutions are also being run by the Trust / Institution in the same building / campus? Provide details

Name and address of Mangt: Institution: Whether located in the same building or campus

To enclose relevant documents: Annexure No. and Page No.

##### FINANCIAL STATUS OF THE INSTITUTION

(Audited financial Statement of Institution should be furnished in the following format)

##### Receipts & Expenditure for the year 2008 – 2009

| Receipts |  | Expenditure | Remarks |
| --- | --- | --- | --- |
| Sl. No. | Particulars | Amount |  | Sl. No | Particulars | Amount |  |
|  |  |  |  | CAPITAL EXPENDITURE |  |
| 1 | Grants Government Others |  |  | 1 | Building |  |  |
| 2 | Donations |  |  | 2 | Equipments |  |  |
|  |  |  |  | 3 | Others |  |  |
|  |  |  |  | REVENUE EXPENDITURE |  |
| 3 | Capitation Fee |  |  | 1 | Salary |  |  |
|  |  |  |  | 2 | MAINTAINANCE EXPENDITURE |  |
| 4 | Tuition Fee |  |  |  | i | College |  |  |
|  |  |  |  |  | ii | Hospital |  |  |
| 5 | Library Fee |  |  |  | iii | Others |  |  |
|  |  |  |  | 3 | University Fee |  |  |
| 6 | Sports Fee |  |  | 4 | Apex Bodies Fee |  |  |
|  |  |  |  | 5 | Government Fee |  |  |
| 7 | Union Fee |  |  | 6 | Deposit held by the College |  |  |
|  |  |  |  | 7 | Others |  |  |
| 8 | Others |  |  | 8 | Misc. Expenditure |  |  |
| Total |  |  | Total |  |  |

To enclose relevant documents  Annexure No.          and Page No.

| PART – I (GENERAL INFORMATION) |
| --- |
| Name of the Principal |  |
| Qualification |  |
| Experience |  |
| Status of the College: (Independent / Wing of another College) (own building or rented) |  |
| For Institution Seeking Continuation of affiliation |  |
| Date of Last Inspection |  |
| UG - (Mention the Course) |  |
| PG - (Mention the Course) |  |

| Governing Council body members (Whether it is under the management of a regularly constituted governing body, if so, furnish the list of personnel of the governing bodies) | Status of Hospital: 1. Bed Strength 2. Institution attached 3. Distance of Hospital and College 4. Primary Health Centre attached and its distance |
| --- | --- |

| Maintainance of: - | Yes | No |
| --- | --- | --- |
| a. Individual Service Registers: |  |  |
| b. Staff Attendance Registers: |  |  |
| c. Acquaintance Registers: |  |  |
| d. Staff Pay Registers: |  |  |
| e. Fee Paid Registers: |  |  |
| f. Admissions Registers: |  |  |
| g. Stock Book Register Central and Departmental |  |  |
| h. Vehicle Register |  |  |

To enclose relevant documents Annexure No. and Page No.

Pay Scales:

| Staff | UGC/GOK /Apex Body | PF Benefit/Pension Benefits | Remarks |
| --- | --- | --- | --- |
| Teaching Staff |  |  |  |
| Non – Teaching Staff |  |  |  |

Percentage of UG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| 1st Year |  |  |  |
| 2nd Year |  |  |  |
| 3rd Year |  |  |  |
| Final Year |  |  |  |

Percentage of PG Results in the last three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| MD Anatomy |  |  |  |
| MD Physiology |  |  |  |
| MD Biochemistry |  |  |  |
| MD Pharmacology |  |  |  |
| MD Pathology |  |  |  |
| MD Microbiology |  |  |  |
| MD Preventive & Social Medicine |  |  |  |
| MD Forensic Medicine |  |  |  |
| MS Ophthalmology |  |  |  |
| MS ENT |  |  |  |
| MS Orthopaedics |  |  |  |
| MD Skin |  |  |  |
| MD RT |  |  |  |
| MD Anaesthesiology |  |  |  |
| MD Paediatrics |  |  |  |
| MD General Medicine |  |  |  |
| MS General Surgery |  |  |  |
| MS OBG |  |  |  |
| MD RD |  |  |  |
| MD Psychiatry |  |  |  |
| MD TB & Respiratory Diseases |  |  |  |
| MD Aviation Medicine |  |  |  |
| MD Transfusion Medicine |  |  |  |
| MD Dermatology |  |  |  |
| DGO |  |  |  |
| DCH |  |  |  |
| DVD |  |  |  |
| DA |  |  |  |
| DMRD |  |  |  |
| DCP |  |  |  |
| DFM |  |  |  |
| DOMS |  |  |  |
| D ORTHO |  |  |  |
| DLO |  |  |  |
| DBACT |  |  |  |
| DTCD |  |  |  |
| DPM |  |  |  |
| DPH |  |  |  |
| DMRT |  |  |  |
| Mch Surgical Oncology |  |  |  |
| Mch Urology |  |  |  |
| Mch Plastic Surgery |  |  |  |
| Mch Paediatric Surgery |  |  |  |
| DM Oncology |  |  |  |
| DM Neurology |  |  |  |
| DM Cardiology |  |  |  |
| DM Gastro Enterology |  |  |  |
| Mch Cardio Thoracic Surgery |  |  |  |
| Mch Surgical Gastro Enterology |  |  |  |
| DM Nephrology |  |  |  |
| Mch Neuro Surgery |  |  |  |
| DM Endocrinology |  |  |  |
| DM Immunology |  |  |  |
| DM Neonatology |  |  |  |
| Any other course |  |  |  |

Admission status for past three years:

| ACADEMIC YEAR | 2006-2007 | 2007-2008 | 2008-2009 |
| --- | --- | --- | --- |
| Sanctioned |  |  |  |
| No. of Admissions |  |  |  |
| No. of Excess Admissions |  |  |  |
| Unfilled Seats |  |  |  |

In the last five years whether affiliation of this institution has been discontinued and admissions stopped? If so why? Give reasons

Report of the Action Taken on the Conditions laid down in the previous year's Affiliation Notification: -

| Library | No. of Books | No. of Indian Journals | No. of International Journals |
| --- | --- | --- | --- |
| Central Library |  |  |  |
| Departmental Library |  |  |  |
| Do the College have got the membership of Helinet (Digital Library) | YES / NO |
|  | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
| Fees a. Helinet Institutional annual fee : give details |  |  |  |  |  |  |
| b. Helinet Student annual fees for total number of students for all the years : |  |  |  |  |  |  |

# Part II

INFRASTRUCTURE

| Sl.No. | Required | ACTUAL INFRASTRUCTURE PROVIDED BY THE COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | COLLEGE |  |  |  |
| A1. | GENERAL |  |  |  |
| A1.1 | CAMPUS |  |  |  |
|  | Unitary campus of not less than 25 acres of land. Relaxed, The hospital, college building including library hostel for the students and interns and PGs/Residents shall be in one piece of land which shall not be less than 10 acres. |  |  |  |
| A.1.2 | ADMINISTRATIVE BLOCK |  |  |  |
|  | Accommodation shall be provided for – 1. Principal/Dean’s office (36 Sq.m.) |  |  |  |
|  | 2.Staff room, |  |  |  |
|  | 3.college council room (80 Sq.m.) |  |  |  |
|  | 4.office superintendent’s room (10 Sq.m.) |  |  |  |
|  | 5.Office (150 Sq.m.) |  |  |  |
|  | 6.Record room (100 Sq.m.) |  |  |  |
|  | 7.Separate common room for Male and Female students with attached toilets (100 Sq.m.each) |  |  |  |
|  | 8.Cafeteria (200 Sq.m.) |  |  |  |
| A.1.3 | COLLEGE COUNCIL |  |  |  |
|  | College Council comprising of the Head of departments as members and Principal/Dean as Chairperson. The Council shall meet at least four times in a year to draw up the details of curriculum and training programme and other academic matters. |  |  |  |
| A.1.4 | CENTRAL LIBRARY |  |  |  |
|  | 1.Central Library (1600 Sq.m) with seating arrangement for at least 200 students 2. There shall be one room for 100 students inside and one room for 100 students outside. 3. It should have not less than 7000 text and reference books. 4. The number of journals shall be 100 out of which , one-third shall be foreign journals and subscribed on continuous basis. There shall be provision for – a. Staff reading room for 20 persons; b. Rooms for librarian and other staff c. Journal room; d. Room for copying facilities; e. Video and Cassette room (desirable); f. Air-conditioned Computer room with Medlar and Internet facility with minimum of 10 nodes. |  |  |  |
| A1.5 | LECTURE THEATRE |  |  |  |
|  | Four lecture theatres of gallery type in the Institution (Two of seating capacity for 180 students and one with seating capacity for 375 students.) Lecture theatres shall be provided with necessary independent audio-visual aids (overhead projector, slide projector, LCD projector and a microphone) These lecture theatres shall be shared by all the departments in a programmed manner. |  |  |  |
| A1.6 | HOSTELS |  |  |  |
|  | Separate Boys and Girls hostels with accommodation for at least 200 students each. Dining hall, kitchen , Common hall , reading room , Gymnasium to be present HOSTEL FOR INTERNS : For 100 students Staff Quarters, Nurse Quarters |  |  |  |
| A1.7 | AUDITORIUM /EXAMINATION HALL |  |  |  |
|  | Auditorium-cum-examination hall of 800 sq.m. area . Seating capacity 750-1000 Examination hall for 375 capacity |  |  |  |
| A1.8 | CENTRAL WORKSHOP |  |  |  |
|  | Central workshop having facilities for repair of mechanical, electrical and A/c and Refrigeration equipments of college and the hospitals. It shall be manned by qualified personnel. |  |  |  |
| A.1.9 | ANIMAL HOUSE |  |  |  |
|  | Animal house may be maintained by the department of Pharmacology. Experimental work on animals can be demonstrated by Computer Aided Education 135 sq.m |  |  |  |
| A1.10 | CENTRAL INCINERATOR/MICROWAVE |  |  |  |
|  | A Central Incinerator Plant or Microwave commensurate with hospital bed strength may be provided. Alternatively any other system approved by the respective State Pollution Control Board may be provided. |  |  |  |
| A1.11 | CENTRAL GAS PLANT/ GAS SUPPL UNIT |  |  |  |
|  | Central gas plant/ Gas suppl unit. |  |  |  |
| A1.12 | STATISTICAL UNIT |  |  |  |
|  | The Statistical Unit will be merged with Medical Record Section in the hospital. |  |  |  |
| A1.12 | MEDICAL EDUCATION UNIT |  |  |  |
|  | Medical Education Unit or Department for faculty development and providing teaching or learning resource material and medical illustration (Central Photographic Unit including Modellar, Artist equipment etc.) shall be a part of it. |  |  |  |
| A1.13 | CENTRAL RESEARCH LAB |  |  |  |
|  | One well equipped and furnished central research lab. (not less than 200 sq. mtr). |  |  |  |
| A1.14 | INTERCOM NETWORK |  |  |  |
|  | Intercom network between various sections, hospitals and college. |  |  |  |
| A1.15 | PLAY GROUND AND GYMNASIUM |  |  |  |
|  | Play ground and Gymnasium for the staff and students with a qualified physical education instructor |  |  |  |
| A1.16 | ELECTRICITY |  |  |  |
|  | Continuous electricity supply, with standby UPS or Generator arrangements and electricians are available round the clock. |  |  |  |
| A1.17 | SANITATION AND WATER SUPPLY |  |  |  |
|  | 1. Adequate sanitary facilities (toilets and bathrooms separately for women) 2. Safe continuous drinking water facilities must be provided for the teaching staff, students |  |  |  |
| A1.18 | DEMONSTRATION ROOM |  |  |  |
|  | Four demonstration rooms (capacity of 45 sq.mtr.) fitted with 1. Strip chairs 2. Over Head Projector 3. Slide Projector 4. Television 5. Video and other Audio-Visual aids. These will be shared by all other departments in the medical college. |  |  |  |
| A1.19 | LABORATORIES |  |  |  |
|  | 1. 6 laboratories (150 Sq.m.area each) with continuous working tables. and one preparation room each of 15 Sq.m.area. 2. Two laboratories of 60 Sq.m.area each. (The use of these laboratories may be used in common with the various departments e.g. Histology and Histopathology; Biochemistry and Clinical Pharmacology; Heamatology and Pathology; Microbiology and Community Medicine.) |  |  |  |

PRE – CLINICAL 	- Phase – I

Inspection Format

# ANATOMY DEPARTMENT

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| Schedule-1 |
| 1 | Dissection Hall |
|  | a) Well ventilated (A/C preferable) (325 sq.mt. –) b) Ante room for students lockers (150) c) 10 washing basins d) Teaching aids e) Embalming room (12 sq.mt) f) 3 storage tanks (1.5 to 3 sq.mt) g) Cooling cabinets (15-18 bodies) |  |  |  |
| 2 | Histology Lab 200 sq.mt |
|  | a) Accomodation for 90 b) 90 microscopes with electrical points c) Preparation room – 18 sq.mt |  |  |  |
| 3 | Museum 200 sq.mt |
|  | a) Racks and shelves for wet and dry specimens b) Embryological section models c) Revolving stands for skiagram, CT scan and MRI d) X.Ray view boxexs multistand type to take 4 plates – 3 viewing boxes for (150 students) e) Seating accommodation foir 35 students f) 2 attached rooms for preperation of models and specimens |  |  |  |
| 4 | Departmental Library |
|  | Library/seminar room 30 sq.mt 80-100 books |  |  |  |
|  | Seating accommodation - Adequate |  |  |  |
| 5 | Accomodation for staff |  |  |  |
|  | a) Prof & HOD 20 sq.mt - 1 b) Asso.Prof. 10 sq.mt –1 (15 sq.mt) c) Asst. Prof /Tutors 30 sq.mt – 1 / 15 sq.mt d) Office / Clerical room – 15 sq.mt-1 e) Non-teaching staff 12 sq.mt – 1 |  |  |  |

| Schedule-1I |
| --- |
|  | Staff requirement for: 150 |  |  |  |
|  | Prof & HOD 1 |  |  |  |
|  | Asso.Prof 3 |  |  |  |
|  | Lecturer/Asst. Professor 4 |  |  |  |
|  | Tutors 6 |  |  |  |
|  | Technicians 4 |  |  |  |
|  | Diss.Hall Attender 4 |  |  |  |
|  | Steno/store keeper 1 |  |  |  |
|  | Sweepers 6 |  |  |  |
| Schedule-1II |
| Equipment |
| 1 | Dissection Hall |
|  | a) Dissection tables 20 big b) Dissection table 05 small c) Drill machine – 3 d) Hand saw - 4 e) Band saw - 1 f) Stools -90 g) Brain Knife - 5 h) Cooling cabinet for – 8 bodies i) Storage tanks for – 10 bodies j) Plastic tanks – 10 k) Trolley table - 03 l) OHP – 2 + 2 m) X.ray viewing lobby – 3 n) Charts diagrams models, slides etc as required o) Dissecting instruments p) Meat cutting machine |  |  |  |
| Histology Laboratory |
|  | a) Microscopes – 90 b) Diss.Micro – 05 c) Microtomes (rotary) – 02 d) Microtome (sledge) – 01 e) Cabinet for slides for 1000-06 f) Incubator – 01 g) Paraffin embedding bath – 01 h) Hot plates – 02 i) Hot air oven - 01 j) Balance capacity 200 mg, sensitivity 1/50 mg – 01 capacity 6 kg sensitivity 1/5 gm – 01 Total – 02 k) Refrigerators – 02 l) Distilled water still – menesty type capacity gallon/hr.02 m) Diamond pencil – 04 n) 7 colour marking pencil – 02 |  |  |  |
| Museum |
|  | a) Skeleton articulated - 07 b) Bones disarticulated sets – 30 c) Specimen jars as required d) Steel racks as required e) Embalming machine for cadavers – 02 f) Computer – 01 |  |  |  |

# DEPARTMENT OF PHYSIOLOGY

I. Accomodation:

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Amphibian laboratory 200 sq.mts with preparation room 14 sq.mts |  |  |  |
| 2 | Haematology lab 200 with preparation room 14 sq.mts |  |  |  |
| 3 | Clinical Physiology lab 90 sq.mts |  |  |  |
| 4 | Mammalian lab 80 sq.mts with preparation room 14 sq.mts |  |  |  |
| 5 | Departmental library cum seminar room 30 sq.mts |  |  |  |
| 6 | Prof & HOD – 20 sq.mts |  |  |  |
| 7 | Associate Prof – One room –10 sq.mts (15X2) |  |  |  |
| 8 | Asst. Prof. one room – 20 sq.mts |  |  |  |
| 9 | Tutor – one room – 15 sq.mts |  |  |  |
| 10 | Dept office – one room – 15 sq.mts |  |  |  |
| 11 | Demonstration room – 60 sq.mts X 2 |  |  |  |

II. Staff:

| Sl. No. | Staff required | Actual Staff available in the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 3 |  |  |  |
| 3 | Asst. Prof. 3 |  |  |  |
| 4 | Lecturer in Biophysics 1 |  |  |  |
| 5 | Tutors 6 |  |  |  |
| 6 | Technician 4 |  |  |  |
| 7 | Steno 1 |  |  |  |
| 8 | Store keeper 1 |  |  |  |
| 9 | Lab attendants 3 |  |  |  |
| 10 | Sweepers 2 |  |  |  |

III. Equipment: List of equipment to be enclosed

2. Physiology Department:

(a) Furniture as required

Kymograph (presferably electrically driven) Myograph Stand, Inductorium, Simple Key Short Circulating Key, Pohl’s Commutator, Vibrating Interrupter, Muscle through, Muscle liver, Muscle grip of femur clamp, Hook and weight set, Heart liver, Frog board for dissection, enamel tray for above, frog board cork – lined with boss – head – 36 sets + 6 spares. Low voltage units, for tapping 2 and 4 volts for stimulation at each seat as required.

Note:

- Time makers can also be made available at each seat along with the low voltage unit.

- Electronic stimulators, students type can be used instead of low voltage units nife cells. This will also dispense with the need for induction coil interrupter, transistor ones are preferred.

Name of the Article

Electric time makers, 100/sec. Tuning fork, time marker, 100/sec. 6

Electrodes, X-blocks, burette clamps, enamel bowls brass uprights, with coarse and fine adjustments basin, spirit lamps, cooper wire (double cotton covered) Kymograph papter etc. as required.

(b) MAMMALLAN EXPERIMENTS

Large extension kymographs-brodie-starling complete with respiration pump, motor time marker manometer etc.

|  | As required | Actual Infrastructure |
| --- | --- | --- |
| Operation table |  |  |
| Volume recorders | 8 |  |
| Dale’s bath for internal organs | 30 |  |
| Isolated organs. Bath for students complete with lever etc. | 40 |  |
| Animal Weighing Machine, for small and big animals (for each) | 1 |  |
| Mary’s Tambour | 40 |  |
| Venus and arterial canula (different sizes) (each) | 40 |  |
| Smoking outfit, with fume cupboard | 1 |  |
| Varnishing outfit, for long and short paper | 1 |  |
| Anaesthesia boxes | 5 |  |
| Surgical instruments for operative procedures, syringes, pulleys, etc. |  |  |

(c) HUMAN AND OTHER EXPERIMENTS

|  | As required | Actual Infrastructure |
| --- | --- | --- |
| Microscopes, Oil immersion | 50+8 |  |
| Demonstrations eye piece |  |  |
| Double Demonstration eye piece | 4 |  |
| Stage incubator | 1 |  |
| Wasteren’s Pipettes for ESR on stand (with space pipettes) | 40 |  |

Name of the Article

| Perimeter Priestly Smith S/L.P 984 B & T | 10 |  |
| --- | --- | --- |
| Haemogiobinometer, Shail or hellige (with spaces) | 40 |  |
| Haemocytometers | 40 |  |
| Sphygmomanometer | 15 |  |
| Stethoscopes | 20 |  |
| Stethoscopes, Demonstration with multipleear pieces | 4 |  |
| Polygraphs | 4 |  |
| Venus Pressure apparatus | 2 |  |
| Spirometer, Ordinary | 10 |  |
| Gas analysis apparatus, Haldane’s student type | 1 |  |
| Van Slyko’s apparatus monometric | 2 |  |
| Gas analyzer – automatic for CO2, O2, N2 | 1 |  |
| Douglas bag, complete | 6 |  |
| Basal metabolism apparatusa | 1 |  |
| Erogograph Mosse’s | 10 |  |
| Clinical Thermometer | 30 |  |
| Compas | 10 |  |
| Thermoanaeshthesiometer | 5 |  |
| Algometer | 5 |  |
| Apparatus for passive movement | 5 |  |
| Knee hammer | 15 |  |
| Stethograph | 15 |  |
| Bicycle ergometer | 6 |  |
| Olfactometer | 1 |  |
| Opthalmoscope | 2 |  |
| Schematic eye | 2 |  |
| Phakoscope | 1 |  |
| Permiter, with charts | 5 |  |
| Colour percetion Lantern Edridge Green | 1 |  |
| Maddox rod | 1 |  |
| Newtons colour wheel | 1 |  |
| Tuning forks to test hearing 32-10,000 cps (sets) | 2 |  |
| Dynamomete R | 1 |  |
| Otokrhinolaryngoscope | 3 |  |
| Steriliser Electric | 2 |  |
| Instrument trolley | 1 |  |
| Stop watches | 10 |  |
| General |  |  |
| Physiograph, 3 channels, complete with accessories | 1 |  |
| Physiograph, single channel, with accessories | 8 |  |
| Centrifuge, high speed with technometer etc. | 2 |  |
| Calorimeter, photo-electric | 2 |  |
| Ph meter, electric | 2 |  |
| Refrigerator, 9-10 c.ft | 8 |  |
| Oxygen Cylinder with trolley | 6 |  |
| Co-cylinder with trolley | 2 |  |
| Electronic Stimulator | 1 |  |
| Water distillation still, with spare heating elements | 1 |  |
| All glass distillation apparatus double stage | 1 |  |
| Voltage stabilize | 4 |  |
| Stepdown transformers | 1 |  |
| Thermometers, balances, microslides and glassware | 12 |  |

# DEPARTMENT OF BIOCHEMISTRY

- Demonstration Room – There shall be one demonstration room 60 sq.mt fitted with strip chairs, over head projector, slide projector, Television, Video and other audiovisual aids, so as to accommodate at least 75-100 students.

- Practical class room – There shall be a laboratory (200 sq.mt) with benches fitted with shelves and cupboards, water taps, sinks, electric and gas connections so as to accommodate 90 students. Two ante rooms (14 sq.mt area) each for technicians stores, preparation room, balance and distillation apparatus shall also be provided.

- There shall be a departmental library-cum-seminar room (30 sq.mt area) with at least 80-100 books. However, not more than two copies of anyone book shall be counted towards computation of the total number of books

Accommodation for staff:

1. Professor and Head of the Dept. – one room (20 sq.m. area)

2. Associate Professor/Reader  - one room (10 sq.m. area)

3. Asst. Professor/Lecturer – one room (10 sq.m. area)

4. Tutor / Demonstrator – one room (15 sq.m. area)

5. Department office – one room ( 15 sq.m. area) fitted with computer, printer and accessories

Staff Required:

| Sl. No. | Infrastructure required | Actual Infrastructure provided by the college | Observation of the inspection Committee | Specific recommendations of the Committee |
| --- | --- | --- | --- | --- |
| 1 | Prof. 1 |  |  |  |
| 2 | Assoc.Prof. 3 |  |  |  |
| 3 | Asst. Prof./ Lecturer 3 |  |  |  |
| 4 | Lecturer in Biophysics 1 |  |  |  |
| 5 | Tutors 6 |  |  |  |
| 6 | Technician 4 |  |  |  |
| 7 | Steno 1 |  |  |  |
| 8 | Store keeper 1 |  |  |  |
| 9 | Lab attendants 3 |  |  |  |
| 10 | Sweepers 2 |  |  |  |

EQUIPMENTS AND INSTRUMENTS:

|  | Required | Actual Quantity Present | Deficiencies |
| --- | --- | --- | --- |
| Fume cupboards | 2 |  |  |
| Boiling water baths, with lides having 8-12 holes | 6 |  |  |
| Autoclave electric | 2 |  |  |
| Balance open pan | 6 |  |  |
| Balance semi micro | 2 |  |  |
| Balance micro | 1 |  |  |
| Votex mixers | 2 |  |  |
| Urinometers | 50 |  |  |
| Constant temperature water bath | 4 |  |  |
| Ryles tube | 4 |  |  |
| Incubator electric with thermostat | 4 |  |  |
| Hor air over | 4 |  |  |
| Magnetic Strirrer | 2 |  |  |
| Pump vaccum | 2 |  |  |
| Calorimetes | 6 |  |  |
| Regrigerators | 4 |  |  |
| Flame Photometer | 2 |  |  |
| Thermometers 0-250 C | 4 |  |  |
| Thermometers – 0-110 C | 4 |  |  |
| Cork borer set | 1 |  |  |
| Stop watch | 4 |  |  |
| Spirit lamp | 50 |  |  |
| Chromatographic chamber | 2 |  |  |
| Water distillation plant (m,etallic) | 3 |  |  |
| All glass distillation apparatus | 3 |  |  |

PARA CLINICAL

DEPARTMENT OF PATHOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Two demonstration room (60 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 75-100 students. |  |  |  |
| B | PRACTICAL LABORATORIES |  |  |  |
|  | 1. Morbid Anatomy 2. Histopathology/Cytopathology (200 sq.mt) 3. Clinical pathology/ Haematology (200 sq.mt.area) 4. Preparation room (14 sq.mt.area) For 90 students to carry out exercises. |  |  |  |
| C | SEPARATE SERVICE LABORATORY |  |  |  |
|  | 1. Histopatholgy 2. Cytopathology 3. Haematology Other specialised work in the hospital suitably equipped. (each 30 sq.mt) |  |  |  |
| D | OTHER ROOMS |  |  |  |
|  | 1. Balance room (14 Sq. mt.) 2. Store room (14 sq.mt.) 3. Special room for high speed centrifuge (14 sq.mt.) 4. Wash room (14 sq.mt.) |  |  |  |
| E | MUSEUM |  |  |  |
|  | Museum-(150 Sq.mt.) with a sitting capacity of at least 40 students. All the specimens shall be labelled and at least 15 copies of catalogues for student use be provided. In addition, there shall be an ante room. |  |  |  |
| F. | AUTOPSY BLOCK – 400 sq.m. |  |  |  |
|  | May be shared with Dept of Forensic Medicine |  |  |  |
| G | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 sq.m. area) with at least 80-100 books. |  |  |  |
| H | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | 1. Professor & Head of the Department-(18 Sq.m.) 2. Associate Professor/ Reader-Two rooms (15 Sq.m) 3. Asstt.Professor/Lecturers(3)-One room(14 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office cum Clerical room-1 (15 Sq.m) 6. Working accommodation for non-teaching staff (12 sq.m.) |  |  |  |
| I | BLOOD BANK |  |  |  |
|  | An airconditioned Blood Bank (100 Sq. mt.) Area) and shall include- a. Registration and Medical Examination Room and selection of donors room with suitable furniture and facilities. b. Blood collection room. c. Room for Laboratory for Blood Group serology; d. Room for Laboratory for Transmissible diseases like hepatitis, syphilis, Malaria, HIV antibodies etc e. Sterilisation and washing room; f. Refreshment room g. Store and Records room. The equipment and accessories etc. shall be provided as prescribed in Part XII-B in Schedule F to the Drugs and Cosmetics Rules, 1945 amended . from time to time. |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Two demonstrations room (60 Sq. mt.) fitted with Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 75-100 students |  |  |  |
| B | PRACTICAL LABORATORY |  |  |  |
|  | Practical laboratory with accommodation for 90 students Experimental Laboratory (200 Sq.m. area) with ante-room (14 Sq.m.area) with benches fitted with shelves, cupboards, inks, water taps, light for microscopy and burners for 60 students (150 Sq.m.area) with laboratory benches, gas, water and electric points, microscopes and light with a preparation room (14 Sq.m. area). |  |  |  |
| C. | SERVICE LABORATORY |  |  |  |
|  | Area for each service laboratory shall be 25 Sq.m. 1. Media preparation and storage (20 Sq.m.area) 2. Auto Claving (12 Sq.m. area) 3. Washing & drying room with regular and continuous water supply (12 sq.m.area) |  |  |  |
| D | MUSEUM |  |  |  |
|  | Museum- (80 Sq. mt.) for specimens, charts, models, with a separate section depicting "History of Medicine", with a seating capacity of at least 25 students. All the specimens shall be labelled and atleast 10 copies of catalogue for students use be provided |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE INCLUDING TOXICOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Two demonstration rooms (60 sq.mt.) fitted with strip chairs, Over Head Projector, slide projector, Television, Video and other audiovisual aids, to accommodate at least 75-100 students. |  |  |  |
| B | MUSEUM |  |  |  |
|  | Museum (175 Sq.m. area) to display medico-legal specimens charts, models, prototype fire arms, wax models, slides, poisons, photographs etc. with seating arrangements for 40-50 students. All the specimens shall be labelled and at least 10 copies of catalogues for student use be provided. |  |  |  |
| C | LABORATORY |  |  |  |
|  | Laboratory (200 Sq.m.area) for examination of specimens, tests and Forensic histopathology, Serology, anthropology and toxicology |  |  |  |
| D | AUTOPSY BLOCK |  |  |  |
|  | There shall be an autopsy room (approx. 400 Sq. mt.area) with facilities for cold storage, for cadavers, ante-rooms, washing facilities, with an accommodation capacity of 40-50 students, waiting hall, office etc. The location of mortuary/autopsy block should be either in the hospital or adjacent to the hospital in a separate structure and may be shared with the department of Pathology. |  |  |  |
| E | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 Sq.m.area) with at least 80-100 books. |  |  |  |
| F | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

DEPARTMENT OF PHARMACOLOGY

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Demonstration room (60sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 75-100 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | 1. Experimental pharmacology laboratory (200 Sq.m. area) with ante-room (14 Sq. m.) area for various laboratory practicals. 2. Clinical pharmacology and pharmacy (200 Sq.m. area) with one ante-room (14 Sq.m. area) for technicians, storage of equipment and appliances and preparation room |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (125 sq.mt.) for specimens, charts, models, with a separate section depicting “ History of Medicine”, with a seating capacity of at least 40 students. All the specimens shall be labeled and at least 15 copies of catalogues for student use be provided. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30 sq.m.area) with at least 80-100 books. |  |  |  |
| E. | ACCOMMODATION FOR THE STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m) 2. Associate Professor/Reader-Two rooms (15 Sq.m.) 3. Asstt. Professor/Lecturers (3)-One room (12 Sq.m) 4. Tutor/Demonstrators-One room (15 Sq.m.) 5. Department office/Clerical room-1 room (12 sq.m) 6. Working accommodation for non-teaching staff (12 sq.m. area) |  |  |  |

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No | INFRASTRUCTURE REQUIRED | INFRASTRUCTURE PROVIDED BY COLLEGE | OBSERVATION OF THE INSPECTION COMMITTEE | SPECIFIC RECOMMENDATION OF THE COMMITTEE |
| --- | --- | --- | --- | --- |
| A | DEMONSTRATION ROOM |  |  |  |
|  | Two Demonstration rooms (60 sq.mt.area) fitted with strip chairs, Over Head Projector, Slide projector, Television Video and other audiovisual aids, to accommodate at least 75-100 students. |  |  |  |
| B | LABORATORY |  |  |  |
|  | Laboratory (200 Sq.m.area) with facilities for purposes of demonstration of various laboratory practicals. |  |  |  |
| C | MUSEUM |  |  |  |
|  | Museum (125 Sq.m.area) for the display of models, charts, specimens and other material concerning communicable diseases, Community Health, Family Welfare planning, Biostatics, Sociology, National Health Programmes, Environmental Sanitation etc. |  |  |  |
| D | DEPARTMENTAL LIBRARY |  |  |  |
|  | Departmental library-cum-seminar room (30sq.m.area) with at least 80-100 books. |  |  |  |
| E | ACCOMMODATION FOR STAFF |  |  |  |
|  | Accommodation shall be provided for the staff as under: 1. Professor & Head of the Department- (18 Sq.m.) 2. Associate Professor /Reader-Two rooms (15 Sq.m) 3. Asstt. Professor/Lecturers (3)-One room (15 Sq.m. 4. Statistician / Lecturer one room (12 sq.mt) 5. Epidemiologist / Lecturer one room (12 sq.mt) 7. Tutor/Demonstrators-One room (15 Sq.m.area) 8. Department office cum Clerical room - one room (12 Sq.m.area) 9. Working accommodation for non-teaching staff (15 sq.m. area) |  |  |  |
| F | PRIMARY HEALTH CENTRE/RURAL HEALTH TRAINING CENTRE |
|  | Every medical college shall have three primary health centres/rural health training centres for training of students in community oriented primary health care and rural based health education for the rural community attached to it. Out of these one primary health centre shall be with a distance of 30 km. or within one hour of commuting distance from the medical college. Adequate transport shall be provided for carrying out field work, teaching and training activities by the department of Community Medicine and other departments |  |  |  |
| G | URBAN HEALTH TRAINING CENTRE |  |  |  |
|  | Urban Health Training Centre It shall be under the administrative control of Deptt. of community Medicine. Adequate transport shall be provided for commuting the staff and students. |  |  |  |

STAFF PATTERN

Qualification and experience required

Existing MCI rules and amendments will be followed. General guidelines are given.

- Tutor /Registrar/Junior resident	 : MBBS/Diploma/MSc(Medical)

- Lecturer 				 : MD/MS/MSc(Medical) If required. DNB with 1yr exp.

- Asst. Prof 				 : MSc.PhD(Medical),MCh,DM can be appointed with out

exp. Other qualifications as above with three yr exp. as

lecturer

- Asso. Prof / Reader 			: 2 yrs as Asst. professor or 5 yrs as Lect/Asst. Prof

- Professor 				: 4 yrs as Asso. Prof

- Principal				: 5 yrs as professor

It is desirable to publish papers in peer reviewed journals for each promotion. It is nice to consider CME hours attended, Conference attended, Papers read in conferences, and organizing conferences etc while considering promotion. University representative to be included in the selection committee for appointments

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 4 |  |  |  |
| 3 | Lect / Asst.prof | 5 |  |  |  |
| 4 | Tutors/Demonstrators | 9 |  |  |  |
| 5 | Artist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 8 |  |  |  |
| 7 | Lab attendants | 5 |  |  |  |
| 8 | Steno/Typist | 1 |  |  |  |
| 9 | Clerks | 2 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 1 |  |  |  |
| 12 | Sweepers | 4 |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 2 |  |  |  |
| 3 | Lect / Asst.prof | 2 |  |  |  |
| 4 | Tutors/Demonstrators | 3 |  |  |  |
| 5 | Technical Asst/Technician | 4 |  |  |  |
| 6 | Lab attendants | 3 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper | 1 |  |  |  |
| 9 | Record clerks | 1 |  |  |  |
| 10 | Sweepers | 3 |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 2 |  |  |  |
| 3 | Lect / Asst.prof | 3 |  |  |  |
| 4 | Tutors/Demonstrators | 6 |  |  |  |
| 5 | Pharm.Chemist | 1 |  |  |  |
| 6 | Technical Asst/Technician | 3 |  |  |  |
| 7 | Lab attendants | 3 |  |  |  |
| 8 | Steno/Typist | 1 |  |  |  |
| 9 | Clerks/Store Keeper | 1 |  |  |  |
| 10 | Sweepers | 2 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 2 |  |  |  |
| 3 | Lect / Asst.prof | 2 |  |  |  |
| 4 | Tutors/Demonstrators | 3 |  |  |  |
| 5 | Technical Asst/Technician | 2 |  |  |  |
| 6 | Lab attendants | 2 |  |  |  |
| 7 | Steno/Typist | 1 |  |  |  |
| 8 | Store keeper /Clerks | 1 |  |  |  |
| 9 | Sweepers | 2 |  |  |  |

Note: For postmortem work and other medico legal work extra staff shall be provided

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Professor | 1 |  |  |  |
| 2 | Reader/ Asso Prof | 2 |  |  |  |
| 3 | Lect / Asst.prof | 3 |  |  |  |
| 4 | Epidemiologist cum lecturer | 1 |  |  |  |
| 5 | Statistician cum Lecturer | 1 |  |  |  |
| 6 | Tutors/Demonstrators | 6 |  |  |  |
| 7 | Medical social workers | 2 |  |  |  |
| 8 | Technical asst and Technicians | 2 |  |  |  |
| 9 | Stenographers | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerks | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

STAFF FOR RURAL TRAINING HEALTH CENTER

(Including field work and epidemiological studies)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 2 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

URBAN TRAINING HEALTH CENTER

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Medical officer of health cum lecturer/Asst.Prof | 1 |  |  |  |
| 2 | Lady medical officer | 1 |  |  |  |
| 3 | Medical social workers | 1 |  |  |  |
| 4 | Public health Nurse | 1 |  |  |  |
| 5 | Health inspectors | 2 |  |  |  |
| 6 | Health educators | 1 |  |  |  |
| 7 | Technical asst/Technicians | 2 |  |  |  |
| 8 | Peons | 1 |  |  |  |
| 9 | Van driver | 1 |  |  |  |
| 10 | Store keeper | 1 |  |  |  |
| 11 | Record clerk | 1 |  |  |  |
| 12 | Sweepers | 2 |  |  |  |

EQUIPMENT AND INSTRUMENTS

##### DEPARTMENT OF PATHOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
|  | Office Furnitures, Lockers, Racks for each student, Stools etc., | As required |  |  |  |
|  | Water gas and electric points | As required |  |  |  |
| B | MORBID HISTOLOGY AND MORBID ANATOMY SECTIONS |
|  | Weighing machines for cadavers | 1 |  |  |  |
|  | Rotary microtomes | 2 |  |  |  |
|  | Freezing microtome with a stand for Carbon dioxide Cylinder | 1 |  |  |  |
|  | Hot plates (Electric) | 2 |  |  |  |
|  | Hot air 50° Cel | 2 |  |  |  |
|  | Paraffin embedding bath | 2 |  |  |  |
|  | Electric vacuum embedding bath | 2 |  |  |  |
|  | Autoclave electric | 2 |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Water bath 57° Cel | 1 |  |  |  |
|  | Rectangular water bath | 1 |  |  |  |
|  | Centrifuge machine electric rotofix | 1 |  |  |  |
|  | Colorimeter Photoelectric | 1 |  |  |  |
|  | Cabinet for 1000 slide | As Required |  |  |  |
|  | Band Saw | 1 |  |  |  |
|  | Autopsy tables | 2 |  |  |  |
|  | Automatic tissue processor /Histokinette | 1 |  |  |  |
|  | Staining racks | 10 |  |  |  |
|  | Staining troughs | 12 |  |  |  |
|  | Coplin jars | 24 |  |  |  |
|  | Water bath electric (Tissue floatation) | 2 |  |  |  |
|  | Chemical balance with weight | 2 |  |  |  |
|  | Microscopes(Monoocular) With oil immersion | 90 |  |  |  |
|  | Polarising attachments | 1 |  |  |  |
|  | Micrometer(Ocular) | 1 |  |  |  |
|  | Demonstration eye pieces | 6 |  |  |  |
|  | Magnifying lens | 6 |  |  |  |
|  | BP Apparatus | 2 |  |  |  |
|  | Micrometer(Stage) | 2 |  |  |  |
|  | DC Counter 9 Keys | 6 |  |  |  |
|  | Lab Stirrer | 1 |  |  |  |
|  | Automatic timer | 2 |  |  |  |
|  | Balance for weighing organs | 1 |  |  |  |
|  | Wire saw for bone cutting | 1 |  |  |  |
|  | Slide box (100 slides) | 200 |  |  |  |
|  | Glass Drill | 2 |  |  |  |
|  | Blow piece with bellows | 2 |  |  |  |
|  | Microphotographic apparatus | 1 |  |  |  |
|  | X- Ray box | 2 |  |  |  |
|  | Double demonstration eye piece | 2 |  |  |  |
|  | Micro projection apparatus | 2 |  |  |  |
|  | Sternal puncture needle: Adult,Child | 2 each |  |  |  |
|  | Liver biopsy needle | 2 |  |  |  |
|  | Box weight analytical | 2 |  |  |  |
|  | Stop watch | 6 |  |  |  |
|  | UV Lamp | 1 |  |  |  |
|  | Binocular research microscope | 1 |  |  |  |
|  | Hb electrophoresis apparatus | 1 |  |  |  |
|  | Water still electric | 1 |  |  |  |
|  | 2x2 Slide projector | 3 |  |  |  |
|  | OHP | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Drawing instruments and clors for artist | 1 set |  |  |  |
|  | Surgical instruments | 1 set |  |  |  |
|  | Dark room lamp, Developing troughs.chemical for artist | 1 set |  |  |  |
|  | Glass ware , stail chemicals for histological work | As required |  |  |  |
| C. | CLINICAL LABORATORY |  |  |  |  |
|  | Microscopes with oil immersion for routine work | 15 |  |  |  |
|  | Specific gravity bottles 25cc | 2 |  |  |  |
|  | Micro burretes | 2 |  |  |  |
|  | pH meterwith ultra micro blood pH electrodes | 1 |  |  |  |
|  | Electrical centrifuge (Higher power) | 3 |  |  |  |
|  | Incubator | 1 |  |  |  |
|  | Haemocytometers with RBC and WBc pipettes | 90 |  |  |  |
|  | Haemoglobino meter (Sahli’s) | 90 |  |  |  |
|  | ESR Tubes | 2 set |  |  |  |
|  | Disposable syringes 2cc,5cc,10cc,20cc | As required |  |  |  |
|  | Staining jars for slides | 12 |  |  |  |
|  | Urinometer | 9 |  |  |  |
|  | Albuminometer:Esbach’s&Aufrech’s | 1 each |  |  |  |
|  | Urine glass jar | 12 |  |  |  |
|  | Water bath with lids, with hole to hold test tube | 2 |  |  |  |
|  | Glass wares and reagents | As Required |  |  |  |
|  | Balances: Sensitive balance & Chemical balances with weight box | 2 each |  |  |  |

##### DEPARTMENT OF MICROBIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1. | Incubators electrical Large at 37 º C | 4 |  |  |  |
| 2. | Autoclave | 3 |  |  |  |
| 3. | Hot air sterilizer | 2 |  |  |  |
| 4 | Serum inspissators | 2 |  |  |  |
| 5 | Chemical balance | 2 |  |  |  |
| 6 | Lovibond comparators | 1 |  |  |  |
| 7 | Flask flat bottom 50 cc | 6 |  |  |  |
| 8 | Microscope with oil immersion | 80 |  |  |  |
| 9 | Refrigerators | 3 |  |  |  |
| 10 | Micrometer eye pieces | 2 |  |  |  |
| 11 | Micrometer stage | 2 |  |  |  |
| 12 | Centrifuge , electrical high power | 2 |  |  |  |
| 13 | Refrigerated centrifuge | 1 |  |  |  |
| 14 | Distilled water plant All glass | 1 |  |  |  |
| 15 | Dropping bottles staining | 750 |  |  |  |
| 16 | Staining troughs | 100 |  |  |  |
| 17 | Anaerobic apparatus | 3 |  |  |  |
| 18 | B.O.D Incubator | 2 |  |  |  |
| 19 | Laminar flow | 1 |  |  |  |
| 20 | UV lamp | 1 |  |  |  |
| 21 | VDRL shaker | 2 |  |  |  |
| 22 | Computer unit | 1 |  |  |  |
| 23 | OHP | 1 |  |  |  |
| 24 | Water bath(Serological) 37º and 56º | 1 each |  |  |  |
| 25 | Deep freeze – 20º | 1 |  |  |  |
| 26 | ELISA Reader, Dispenser &Washer | 1 |  |  |  |
| 27 | Binocular microscope | 2 |  |  |  |
|  | CULTURE FACILITIES |  |  |  |  |
| 29 | Thermometer assorted | 12 |  |  |  |
| 30 | Glass ware, Pipette, Beaker, Conical flask, Petri dish, Reagent bottles, Test tubes | As required |  |  |  |
| 31 | Material for media preparation | As required |  |  |  |
| 32 | Stains | As required |  |  |  |
| 33 | pH meter | 2 |  |  |  |
| 34 | Lyophilizer | 1 |  |  |  |
| 35 | Thermal cycler | 1 |  |  |  |
| 36 | UV Tarns illuminator with photography | 1 |  |  |  |
| 37 | Colony counter | 1 |  |  |  |
| 38 | Cold room at 4º cel | 1 |  |  |  |
| 39 | Bactec system | 1 |  |  |  |
| 40 | Phase contrast microscope | 1 |  |  |  |
| 41 | Vortex mixer | 1 |  |  |  |
| 42 | Electronic balance | 1 |  |  |  |
| 43 | Microfuge | 1 |  |  |  |
| 44 | Ultra centrifuge | 1 |  |  |  |

##### DEPARTMENT OF PHARMACOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| A | GENERAL |  |  |  |  |
| 1 | Office Tables - Small & Big | As required |  |  |  |
| 2 | Office Chairs | As required |  |  |  |
| 3 | Museum Almirah | As required |  |  |  |
| 4 | Study Table | As required |  |  |  |
| 5 | Library almirah | As required |  |  |  |
| 6 | Stock almirah | As required |  |  |  |
| 7 | Store room rack | As required |  |  |  |
| 8 | Lockers with coat hangers and drawers | As required |  |  |  |
| 9 | Laboratory benches with cup boards | As required |  |  |  |
| 10 | Racks for reagents bottles | As required |  |  |  |
| 11 | Water gas and electric points | As required |  |  |  |
| B | EXPERIMENTAL PHARMACOLOGY |
| 12 | Starlings kymographs with time markers | 3 |  |  |  |
| 13 | Ideal respiration pump 500 cc | 3 |  |  |  |
| 14 | Brodi’s operation table | 3 |  |  |  |
| 15 | Incubators | 2 |  |  |  |
| 16 | Refrigerators | 2 |  |  |  |
| 17 | Assembly perfusion apparatus for mammalian heart | 4 |  |  |  |
| 18 | Standard power tables | 3 |  |  |  |
| 19 | Assembly for mammalian classes | 4 |  |  |  |
| 20 | Automatic electric recording drums | 4 |  |  |  |
| 21 | Mechanical stromhur | 2 |  |  |  |
| 22 | Centrifuge | 2 |  |  |  |
| 23 | Colorimeter | 3 |  |  |  |
| 24 | Cannulas | 48 |  |  |  |
| 25 | Cautery machine Electric | 1 |  |  |  |
| 26 | Warnishing tray with foot lever | 2 |  |  |  |
| 27 | Four unit isolated organ bath palmar F.67 | 1 |  |  |  |
| 28 | Analgesio meter | 1 |  |  |  |
| 29 | Smoking burners Palmer A- 291, A- 265 | 1 |  |  |  |
| 30 | Tracheal canula metal palmer E.76 | 4 |  |  |  |
| 31 | Codons drop recorder – Palmer B-75 | 1 |  |  |  |
| 32 | Professor Inchleyes drop recorder-Palmer B.78 | 1 |  |  |  |
| 33 | Animal weighing machines Small and Big | 3 each |  |  |  |
| 34 | Dissection instruments and syringes | As required |  |  |  |
| 35 | *Kymograph(Students) with electric independent unit | 150 |  |  |  |
| 36 | *Electric motor ¼ with split pulley | 2 |  |  |  |
| 37 | *Shafting steel rod ¾” diameter and 18” long | 8 |  |  |  |
| 38 | *Standard shafting and fittings | 30 |  |  |  |
| 39 | *Pulleys | 30 |  |  |  |
| 40 | *Muffs coupling for joining two pieces | 12 |  |  |  |
|  | * Not required in case of independent units |
| 42 | X blocks | As required |  |  |  |
| 43 | Hook grip rods | As required |  |  |  |
| 44 | Plain stand | 50 |  |  |  |
| 45 | Apparatus isolated rabbit intestine etc | 50 |  |  |  |
| 46 | Jacquts’s graphic chronometer | 2 |  |  |  |
| 47 | Frog’s boards palmer C.120 | 50 |  |  |  |
| 48 | Jackson’s enterograph | 3 |  |  |  |
| 49 | Hair aesthesiometer palmer W.290 | 2 |  |  |  |
| 50 | Long extension for paper palmer A-130 | 2 |  |  |  |
| 51 | Animal balance triple beam | 2 |  |  |  |
| 52 | Manometer, Mercury Palmer C- 200 | 6 |  |  |  |
| 53 | Metro nome palmer B-5 | 2 |  |  |  |
| 54 | Oncometer Kidney | 2 |  |  |  |
| 55 | Oncometer Heart | 2 |  |  |  |
| 56 | Copper trays 10”x8”x1” | 150 |  |  |  |
| 57 | Thermometer upto 110º Cel | 150 |  |  |  |
| 58 | Distillation apparatus | 4 |  |  |  |
| 59 | Microscopes Ordinary | 4 |  |  |  |
| 60 | Working table with racks | 6 |  |  |  |
| 61 | Chemical balances ordinary Apothecary’s | 2 |  |  |  |
| 62 | Chemical balance sensitive | 2 |  |  |  |
| 63 | Dissection instruments | As required |  |  |  |
| 64 | Plethysmograph assorted | 4 |  |  |  |
| 65 | Pneumograph palmer E | 1 |  |  |  |
| 66 | Piston recorder palmer C.51 | 1 |  |  |  |
| 67 | Tambours Mareys palmer C.5 & C.11 | 4 |  |  |  |
| 68 | Tetanus set palmer H2O | 1 |  |  |  |
| 69 | Stop watch Jacquets | 12 |  |  |  |
| 70 | Oxygen cylinders with trolley 20 cu ft | 4 |  |  |  |
| 71 | CO2 cylinder | 2 |  |  |  |
| 72 | Operating lamps- Philips | 4 |  |  |  |
| 73 | Animal trolley with 12 cages | 4 |  |  |  |
| 74 | Miscellaneous |  |  |  |  |
| 75 | Electrodes, Ordinary and non polarisable, insulated wires, time markers, electric signals, Mercury manometer, perfusion apparatus, myograph lever, small pulley’s upright stands and chemicals etc. | As required |  |  |  |
| C. | PHARMACOLOGY LABORATORY |
| 76 | Dispensing Balance with metric system weights | 50 |  |  |  |
| 77 | Pill tiles | 50 |  |  |  |
| 78 | Suppository moulds | 50 |  |  |  |
| 79 | Porcelain dishes | 15 |  |  |  |
| 80 | Crucibles with tongs | 15 |  |  |  |
| 81 | Pestle and mortar | 50 |  |  |  |
| 82 | Iron spatula | 50 |  |  |  |
| 83 | Measure glass All sizes | 50 |  |  |  |
| 84 | Water bath metal | 15 |  |  |  |
| 85 | Miscellaneous: Chemicals, drugs, glass rods, funnels , filters | As required |  |  |  |
| D. | SPECIAL CHEMICALS AND PHARMACOLOGICAL EQUIPMENTS |
| 86 | Stimulator electronic | 1 |  |  |  |
| 87 | Balance semi micro analytical pan mottler | 1 |  |  |  |
| 88 | Electro cardio graph | 1 |  |  |  |
| 89 | Spectrophotometer model Du Backman (UV visible range) | 1 |  |  |  |
| 90 | Skin and rectal thermometer Baron | 1 |  |  |  |
| 91 | Anti histamine chamber with manometer | 1 |  |  |  |
| 92 | Flame photometer | 1 |  |  |  |
| 93 | Stop clock | 18 |  |  |  |
| 94 | Water bath 4 hole electrically heated | 12 |  |  |  |
| 95 | Bell jars assorted | 36 |  |  |  |
| 96 | Petri dishes assorted | 36 |  |  |  |
| 97 | Museum drugs specimen jars | 30 |  |  |  |
| 98 | All glass distillation apparatus 2 lts | 2 |  |  |  |
| 99 | Centrifuge electric rpm 3000 | 2 |  |  |  |
| 100 | Microscope student type | 4 |  |  |  |
| 101 | Magnetic stirrer B.T.L | 1 |  |  |  |
| 102 | Autoclave electric | 1 |  |  |  |
| 103 | Waring blender M.S.E | 1 |  |  |  |
| 104 | Hot air oven 14x14x14” | 1 |  |  |  |
| 105 | Incubator electro 14x14x14” | 1 |  |  |  |
| 106 | Vacuum and pressure cenco | 2 |  |  |  |
| 107 | Instruments sterilizer 12x8x6” | 1 |  |  |  |
| 108 | BP Apparatus | 12 |  |  |  |
| 109 | Distilled water still electrical 2 gallon /hour | 2 |  |  |  |
| 110 | Stethoscope | 12 |  |  |  |
| 111 | Multi meter | 1 |  |  |  |
| 112 | Temperature controlled water bath 37º cel | 1 |  |  |  |
| 113 | Razor hone | 2 |  |  |  |
| 114 | Electric hot plate | 2 |  |  |  |
| 115 | Deioniser : 20lts/hr and 6 lts/hr con11nected in series | 2 |  |  |  |
| 116 | Physiographs with transducer with other accessories (May substitute Kymographs) | 60 |  |  |  |
| 117 | Vortex mixer | 2 |  |  |  |
| 118 | Acto photometer | 1 |  |  |  |
| 119 | Rotor rod assembly | 1 |  |  |  |
| 120 | Electro convulsion meter | 1 |  |  |  |
| 121 | Cooks pole climbing apparatus | 1 |  |  |  |
| 122 | Metabolic cages diuretic study | 3 |  |  |  |
| 123 | Digital pH meter | 1 |  |  |  |
| 124 | Tablet disintegration machine glass tubing 6ft | 1 |  |  |  |
| 125 | Glass mortar & peseles 500cc, 200cc | 24 each |  |  |  |
| 126 | Cork borer set of 12 | 1 set |  |  |  |
| 127 | Holder for platinum wire loop | 110 |  |  |  |
| 128 | Lancet spring - disposable | 110 |  |  |  |
| 129 | Lamp for microscope | As required |  |  |  |
| 130 | Magnifying glass with metal handle | 60 |  |  |  |
| 131 | Metal mincing machine | 1 |  |  |  |
| 132 | Suction pump | 1 |  |  |  |
| 133 | Filtering apparatus, seitz and Millipore filter | 1 each |  |  |  |
| 134 | Desiccators | 2 |  |  |  |
| 135 | Vacuum desiccators | 1 |  |  |  |

##### DEPARTMENT OF FORENSIC MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
| 1 | Weighing machine:Dial type Human | 2 |  |  |  |
| 2 | Equipment for reporting height | 2 |  |  |  |
| 3 | Balance chemical | 1 |  |  |  |
| 4 | Balance single pair: For fetus | 1 |  |  |  |
| 5 | Weighing machine: For Dead bodies | 1 |  |  |  |
| 6 | Weighing machine – Organs | 2 |  |  |  |
| 7 | Folding metal scale Upto 7 feet | 1 |  |  |  |
| 8 | Steel tape roll | 2 |  |  |  |
| 9 | Warnier calipers | 1 |  |  |  |
| 10 | Autopsy table | 2 |  |  |  |
| 11 | Styker autopsy saw | 3 |  |  |  |
| 12 | Hack saw | 4 |  |  |  |
| 13 | Dissection sets | 4 |  |  |  |
| 14 | Rib shears , Right & Left | 4 |  |  |  |
| 15 | Autopsy aprons Rubber | 6 |  |  |  |
| 16 | Autopsy gloves | 12 |  |  |  |
| 17 | Viscerotome with a attachment for illumination (battery operated) | 1 |  |  |  |
| 18 | SLR Camera | 1 |  |  |  |
| 19 | Microscope student type | 30 |  |  |  |
| 20 | Microscope Binocular research | 3 |  |  |  |
| 21 | Stop watch | 2 |  |  |  |
| 22 | X- Ray view box 1 in 4 | 4 |  |  |  |
| 23 | View box 2 in one | 3 |  |  |  |
| 24 | BP apparatus | 4 |  |  |  |
| 25 | Anthropometric set | 1 |  |  |  |
| 26 | Automatic tissue process machine | 1 |  |  |  |
| 27 | Microtone with knife | 1 |  |  |  |
| 28 | Hot plate | 1 |  |  |  |
| 29 | L Mould | 16 |  |  |  |
| 30 | Leather strops | 2 |  |  |  |
| 31 | Paraffin bath embedding | 1 |  |  |  |
| 32 | Slide warming table | 1 |  |  |  |
| 33 | Stone carborandom | 2 |  |  |  |
| 34 | Water bath tissue floatation | 1 |  |  |  |
| 35 | Distillation plant | 1 |  |  |  |
| 36 | Brain knife | 8 |  |  |  |
| 37 | Block holders | As required |  |  |  |
| 38 | Digital spectrometer | 1 |  |  |  |
| 39 | Digital pH meter | 1 |  |  |  |
| 40 | Electric auto slide projector | 1 |  |  |  |
| 41 | Glass cutting pencil | 1 |  |  |  |
| 42 | Hand set heat sealer | 1 |  |  |  |
| 43 | Spectroscope lens & adjustable slit | 2 |  |  |  |
| 44 | Refrigerator | 1 |  |  |  |
| 45 | Cold storage for dead bodies | As required |  |  |  |
| 46 | Deep freezer for tissue | As required |  |  |  |
| 47 | Video camera, Television ,VCR | 1 each |  |  |  |

##### DEPARTMENT OF COMMUNITY MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Comparator, Nessler | 1 |  |  |  |
|  | Barometer , Fotin | 1 |  |  |  |
|  | Extraction apparatus, fat , Complete | 1 |  |  |  |
|  | Filter, Pasteur chamberland, Full set | 1 |  |  |  |
|  | Filter Berke fed | 1 |  |  |  |
|  | Hydrometer, Spirit | 3 |  |  |  |
|  | Hydrometers, Milk | 3 |  |  |  |
|  | Hydrometer, Wet and Dry bulb | 1 |  |  |  |
|  | Incubator, electric | 1 |  |  |  |
|  | Museum jars | As required |  |  |  |
|  | Models , charts, diagrams etc | As required |  |  |  |
|  | Balance analytical, 200 gms | 3 |  |  |  |
|  | Balance for food 2kgs | 1 |  |  |  |
|  | Centrifuge clinical | 1 |  |  |  |
|  | Weighing machine Adult | 4 |  |  |  |
|  | Salter’s baby weighing machine | 4 |  |  |  |
|  | Harpender’s Calipers for skin fold thickness | 2 |  |  |  |
|  | Height measuring stand | 1 |  |  |  |
|  | Aqua guard | 1 |  |  |  |
|  | Refrigerator | 1 |  |  |  |
|  | Ice lined refrigerator | 1 |  |  |  |
|  | Dissecting microscope | 40 |  |  |  |
|  | Microscope oil immersion | 2 |  |  |  |
|  | TV, VCR | 1 each |  |  |  |
|  | Distilled water still | 1 |  |  |  |
|  | Sterilizers electric | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Over Head Projector | 2 |  |  |  |
|  | Equipment and transportation for Rural health centers | As required |  |  |  |

CLINICAL DEPARTMENTS

DEPARTMENT WISE STAFF REQUIREMENTS

GENERAL

1. Each department shall have a Head of the Department of the rank of full time Professor who shall have overall control of the Department.

2. The staffing pattern of the departments shall be organised on  the basis of units.

3. A unit shall have not more than 30 beds in its change. However , in departments of Tuberculosis & respiratory diseases, Dermatology, Veneralogy & Leprosy, Psychiatry, Ophthalmology & ENT one unit shall be of MCI sanctioned strength for hat speciality even if the total number of beds is less than 30.

4. The minimum staff complement of each unit shall consist of the following, namely:-

(a) Asso Professor/Reader				1

(b) Lecturer / Asst Prof				1

(c) Senior Resident / Tutor / Registrar (M.S) 	1

(d) Junior Residents				1

In addition to the above staff, additional Sr. Residents and Junior Residents shall be provided according to the loan in Burn Ward ICU, Emergency, ICCU, Nursery, Labour Room and in other critical intensive care unit / units for providing services round the clock.

Additional staff recommended

It should be remembered that each clinical staff enjoys a total of 120 days of leave in a year. As a result one third of the staff will be on leave – consequently only 2/3 of the total staff will be working. Hence for every 3 staff one extra staff should be appointed.

DEPARTMENT OF GENERAL MEDICINE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 6/180 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 5 |  |  |  |
|  | Lecturer / Asst. Prof | 6 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 6 |  |  |  |
|  | Junior Residents | 18 |  |  |  |

DEPARTMENT OF TUBERCULOSIS & RESPIRATORY DISEASES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/30 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF DERMATOLOGY VENEREOLOGY & LEPROSY

No of Units / beds: 1/15

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

DEPARTMENT OF PSYCHIATRY

No of Units / beds: 1/15

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

# Staff strength required of Medicine

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | E.C.G. Technician | 1 |  |  |  |
|  | Technical Asst./Technician | 3 |  |  |  |
|  | Lab Attendants | 4 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |
|  | T.B. and Chest Diseases Health Visitors | 2 |  |  |  |
|  | Psychiatric Social Workers | 2 |  |  |  |

# DEPARTMENT OF PAEDIATRICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No of Units / beds | 3/90 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof. | 3 |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Junior Residents | 9 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Child Psychologist | 1 |  |  |  |
|  | Health Educator | 1 |  |  |  |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Social Worker | 1 |  |  |  |

DEPARTMENT OF GENERAL SURGERY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 6/180 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 5 |  |  |  |
|  | Lecturer / Asst. Prof | 6 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 6 |  |  |  |
|  | Junior Residents | 18 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 3 |  |  |  |
|  | Lab Attendant | 4 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 3/90 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Junior Residents | 9 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |

DEPARTMENT OF OTO-RHINO-LARYGOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/30 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Audiometry Technician | 1 |  |  |  |
|  | Speech Therapist | 1 |  |  |  |

DEPARTMENT OF OPHTHALMOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 1/30 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof |  |  |  |  |
|  | Lecturer / Asst. Prof | 1 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 1 |  |  |  |
|  | Junior Residents | 3 |  |  |  |

The following Ancillary  staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technician | 1 |  |  |  |
|  | Lab Attendant | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerks | 1 |  |  |  |
|  | Refractionist | 1 |  |  |  |

DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | No. of units / beds | 3/90 |  |  |  |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 3 |  |  |  |
|  | Junior Residents | 9 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Antenatal Medical office-cum- lecturer / Asst. Professor | 1 |  |  |  |
|  | Maternity and Child Welfare officer- Cum Lecturer . Asst. Prof. | 1 |  |  |  |
|  | Social Worker | 2 |  |  |  |
|  | Technical Asst / Technician | 2 |  |  |  |
|  | Lab Attendant | 2 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF RADIO-DIAGNOSIS

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 2 |  |  |  |
|  | Lecturer / Asst. Prof | 3 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 4 |  |  |  |
|  | Radiographic Technicians | 8 |  |  |  |
|  | Dark Room Assistants | 4 |  |  |  |
|  | Stenographers | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |

DEPARTMENT OF RADIO-THERAPY (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader | 1 |  |  |  |
|  | Lecturer | 2 |  |  |  |
|  | Tutor / Registrar | 3 |  |  |  |
|  | Physicist | 1 |  |  |  |
|  | Radiotherapy technicians (for every Treatment unit | 2 |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Record Clerk | 2 |  |  |  |

DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader / Asso Prof | 3 |  |  |  |
|  | Lecturer / Asst. Prof | 4 |  |  |  |
|  | Tutor / Registrar / Sr. Resident | 7 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Technical Asst / Technicians | 8 |  |  |  |
|  | Steno-Typist | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |

DEPARTMENT OF PHYSICAL MEDICINE AND REHABILITATION (OPTIONAL)

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader |  |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Sr. Resident | 2 |  |  |  |
|  | House Surgeon/Junior Resident | 1 |  |  |  |

The following Ancillary staff shall be provided

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Physiotherapists | 2 |  |  |  |
|  | Occupational Therapists | 2 |  |  |  |
|  | Speech Therapists | 1 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 2 |  |  |  |
|  | Prosthetic and Orthotic Technicians | 6 |  |  |  |
|  | Workshop workers | 1 |  |  |  |
|  | Clinical psychologist | 1 |  |  |  |
|  | Medico-social worker | 1 |  |  |  |
|  | Public health nurse/Rehabilitation Nurse | 1 |  |  |  |
|  | Vocational counselor | 1 |  |  |  |
|  | Multi-rehabilitation workers(MRW)/Technician / Therapist | 4 |  |  |  |
|  | Stenographer | 1 |  |  |  |
|  | Record Clerk | 1 |  |  |  |
|  | Store Keeper | 1 |  |  |  |
|  | Class IV workers | 4 |  |  |  |

DEPARTMENT OF DENTISTRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor | 1 |  |  |  |
|  | Reader | 1 |  |  |  |
|  | Lecturer | 1 |  |  |  |
|  | Tutor / Registrar | 1 |  |  |  |
|  | Dental Technicians | 4 |  |  |  |
|  | Store Keeper cum clerk | 1 |  |  |  |

Note: Where Dental College or Dental wings of medical colleges exist, the services of

teachers of these may be utilized in the instruction of medical students in Dentistry and no

separate staff in the Medical College shall be necessary.

# STAFF REQUIREMENT FOR-ANCILLARY SERVICES

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Medical Record Officer | 1 |  |  |  |
|  | Statistician | 1 |  |  |  |
|  | Coding Clerks | 4 |  |  |  |
|  | Record Clerks | 6 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |
|  | Steno-typist | 1 |  |  |  |

## CENTRAL ANIMAL HOUSE

CENTRAL RECORD SECTION

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Veterinary Officer | 1 |  |  |  |
|  | Animal Attendants | 2 |  |  |  |
|  | Technicians for animal operation room | 1 |  |  |  |
|  | Sweepers | 2 |  |  |  |

CENTRAL LIBRARY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Librarian with a degree in Library Science | 1 |  |  |  |
|  | Deputy Librarian | 1 |  |  |  |
|  | Documentalist | 1 |  |  |  |
|  | Cataloguer | 1 |  |  |  |
|  | Library Assistants | 4 |  |  |  |
|  | Deftaries | 2 |  |  |  |
|  | Peons | 2 |  |  |  |

CENTRAL PHOTOGRAPHIC CUM AUDIOVISUAL UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Photographers | 1 |  |  |  |
|  | Artist Modellers | 1 each |  |  |  |
|  | Dark Room Assistant | 1 |  |  |  |
|  | Audiovisual Technician | 1 |  |  |  |
|  | Store keeper cum Clerk | 1 |  |  |  |
|  | Attendant | 1 |  |  |  |

MEDICAL EDUCATION UNIT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Officer In-Charge (Principal / Dean) | 1 |  |  |  |
|  | Coordinator (Head of Dept. nominated by Principal / Dean) | 1 |  |  |  |
|  | Faculty | College faculty on part-time basis |  |  |  |

Supportive Staff:

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Stenographer | 1 |  |  |  |
|  | Computer Operator | 1 |  |  |  |
|  | Technicians in Audio-visual aids, Photography and Artist | 2 |  |  |  |

CENTRAL STERLIZATION SERVICES DEPARTMENT

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Matron | 1 |  |  |  |
|  | Staff Nurse | 4 |  |  |  |
|  | Technical Assistant | 8 |  |  |  |
|  | Technician | 8 |  |  |  |
|  | Ward Boys | 8 |  |  |  |
|  | Sweeper | 4 |  |  |  |

##### LAUNDRY

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Supervisor | 2 |  |  |  |
|  | Dhobi / Washerman / women | 12 |  |  |  |
|  | Packer | 12 |  |  |  |

##### BLOOD BANK

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Professor / Reader / Assoc Prof | 1 |  |  |  |
|  | Lecturer / Asst. Professor | 1 |  |  |  |
|  | Technicians | 6 |  |  |  |
|  | Laboratory Attendants | 6 |  |  |  |
|  | Store Keepers | 6 |  |  |  |
|  | Record Clerks | 2 |  |  |  |

##### CENTRAL CASUALTY SERVICES

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Casualty Medical Officer | 4 |  |  |  |
|  | Operation Theatre staff to function on 24 hours round the clock basis | As required |  |  |  |
|  | Stretcher bearers | 6 |  |  |  |
|  | Receptionists cum Clerks | 2 |  |  |  |
|  | Ward Boys | 6 |  |  |  |
|  | Nursing and paramedical staff | 6 |  |  |  |
|  | Clinical staff for Casualty beds | As required |  |  |  |

##### CENTRAL WORKSHOP

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Superintendent-who shall be a qualified Engineer | 1 |  |  |  |
|  | Senior Technicians | 4 (Medical, Electrical, Electronic, Refrigeration) |  |  |  |
|  | Junior Technicians | 2 |  |  |  |
|  | Carpenter | 1 |  |  |  |
|  | Blacksmith | 1 |  |  |  |
|  | Attendants | 4 |  |  |  |

OTHER HOSPITAL STAFF

1.	NURSING STAFF: The nursing staff shall be provided as per the following

recommendations of the Nursing Council:

##### RECOMMENDED NORMS FOR HOSPITAL NURSING SERVICE

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Nursing Superintendent (for minimum150 beds | 1 |  |  |  |
|  | Deputy Nursing Superintendent | 1 |  |  |  |
|  | Asst. Nursing Superintendent | 2 |  |  |  |

(for every additional 50 beds one more Assistant Nursing Superintendent)

Out patient Department – base on Actual observation.

| Sl. No. | Staff | Minimum No. required | Available No. of staff | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | a) Minor Operation Theatre | 1 Staff Nurse for every 13 patients |  |  |  |
|  | b) Injection Room | 1 Staff Nurse for every 86 patients |  |  |  |
|  | c) Surgical | 1 Staff Nurse for every 120 patients |  |  |  |
|  | d) Medical | 1 Staff Nurse for every 140 patients |  |  |  |
|  | e)Gynaec | 1 Staff Nurse for every 35 patients |  |  |  |
|  | f) Children (Paediatric) | 1 Staff Nurse for every 85 patients |  |  |  |
|  | g) Orthopaedic | 1 Staff Nurse for every 120 patients |  |  |  |
|  | h) Dental | 1 Staff Nurse for every 120 patients |  |  |  |
|  | i) ENT | 1 Staff Nurse for every 120 patients |  |  |  |
|  | j) Eye | 1 Staff Nurse for every 86 patients |  |  |  |
|  | k) Skin | 1 Staff Nurse for every 100 patients |  |  |  |

Similarly other out patient Department need to be staffed based on actual observation.

CLINICAL DEPARTMENTS

The list of equipments for clinical departments both indoor and outdoor, may be prepared by the Heads of departments, who would keep in view the needs for:-

    - Special examination with diagnostic aids and investigations such as laboratory, x-ray, etc.,

    - Routine treatment, medical and surgical etc.

    - Special therapy such as physical, occupational, dietetic etc.

The following equipments for various clinical departments are however the minimum required.

DEPARTMENT OF MEDICINE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | B.P.Apparatus | 40 |  |  |  |
|  | Ophthalmoscope | 10 |  |  |  |
|  | Lumbar puncture needles (disposable) | As required |  |  |  |
|  | Haemocytometer | 5 |  |  |  |
|  | Light Microscope | 2 |  |  |  |
|  | Haemoglobinometer | 4 |  |  |  |
|  | Centrifuge Machine | 2 |  |  |  |
|  | Urinometer | 2 |  |  |  |
|  | Plural biopsy needs (disposable) | As required |  |  |  |
|  | Liver biopsy needs (disposable) | As required |  |  |  |
|  | Kidney biopsy needs (disposable) | As required |  |  |  |
|  | X-ray viewing box | 25 |  |  |  |
|  | Over head Projector | 2 |  |  |  |
|  | Slide projector | 2 |  |  |  |
|  | Upper GI Endoscope | 3 |  |  |  |
|  | Colonoscope | 3 |  |  |  |
|  | Sigmoidoscope | 3 |  |  |  |
|  | Proctoscope | 10 |  |  |  |
|  | Facilities doing tests for malabsorption | As required |  |  |  |
|  | Ultrasound Machine | 1 |  |  |  |
|  | Fiberoptic brochoscope | 2 |  |  |  |
|  | Spirometer | 1 |  |  |  |
|  | Bedside Cardiac Monitors | 16 |  |  |  |
|  | Central Cardiac Monitor Console | 1 |  |  |  |
|  | Defibrallator | 16 |  |  |  |
|  | Non-invasive B.P.Apparatus | 16 |  |  |  |
|  | Pulse Oxymeter | 16 |  |  |  |
|  | Equipment for cardiac pacing | 1 |  |  |  |
|  | Ambu bag | 16 |  |  |  |
|  | Laryngoscope | 16 |  |  |  |
|  | ECG machine | 16 |  |  |  |
|  | Echocardiography machine | 2 |  |  |  |
|  | Thread Mill test machine | 1 |  |  |  |
|  | Haemodialysis machine | 4 |  |  |  |
|  | Peritoneal dialysis catheters | As required |  |  |  |
|  | Arterial blood gas analyzer | 1 |  |  |  |
|  | Na/K analyzer | 1 |  |  |  |
|  | Equipment for measuring diffusion capacity | 1 |  |  |  |
|  | Microprocessor based spectrometer | 2 |  |  |  |
|  | Gamma cameras | 1 |  |  |  |
|  | Glucometer | 10 |  |  |  |
|  | Radiosotope scan laboratory | 1 |  |  |  |
|  | Electro Encephalogram (EEG) Machine | 1 |  |  |  |
|  | EMC and nerve conduction velocity machine | 1 |  |  |  |
|  | Fine needle aspiration needle | As required |  |  |  |
|  | Torches | 40 |  |  |  |
|  | Patient examination table | 35 |  |  |  |
|  | Rubber Hammer | 35 |  |  |  |
|  | Reagents for doing Gram’s and Ziel Neilson Staining | As required |  |  |  |
|  | Computer (one for each medical unit) | 4 |  |  |  |
|  | Radiopagers | 40 |  |  |  |
|  | Endotracheal tubes | As required |  |  |  |
|  | Emergency lights | 10 |  |  |  |

      - DEPARTMENT OF PAEDIATRICS

        - Resuscitation equipments:

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Ambu bag – infant | 4 |  |  |  |
|  | Children | 4 |  |  |  |
|  | Face Mask | 4 |  |  |  |
|  | Nasal prongs | As required |  |  |  |
|  | Endotracheal tubes | As required |  |  |  |
|  | Suction Apparatus | 1 |  |  |  |
|  | Suction Catheters | As required |  |  |  |
|  | Laryngoscope – Infant | 1 |  |  |  |
|  | - Children | 1 |  |  |  |

        - Oxygen Delivery System

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Oxygen Cylinder | 1 |  |  |  |
|  | Oxygen regulator | 1 |  |  |  |
|  | Oxygen humidifiers | 1 |  |  |  |
|  | Oxygen headbox (of each size) | 1 |  |  |  |
|  | Nebulizers | 8 |  |  |  |

        - Drug Deliver Equipment / Catheter / tube

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Intra-venous (I.V.) drip set | As required |  |  |  |
|  | Measured Volume | 4 |  |  |  |
|  | Blood transfusion set | 4 |  |  |  |
|  | Intra-venous (I.V) canula (Butterfly type) | As required |  |  |  |
|  | Intracath | 8 |  |  |  |
|  | Umbilical vein catheter | 8 |  |  |  |
|  | Feeding tubes | As required |  |  |  |
|  | Three way and four way valve | 4 |  |  |  |
|  | Malecot’s catheter | 8 |  |  |  |
|  | Cut open canula | As required |  |  |  |

        - Measurement Equipments

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Weighing machine – Infant | 1 |  |  |  |
|  | - Child | 1 |  |  |  |
|  | - Neonates | 1 |  |  |  |
|  | Infantometer | 1 |  |  |  |
|  | Measuring tape | As required |  |  |  |
|  | Shakir’s tape | As required |  |  |  |

(E)Work lab and investigations

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Student Microscope | 2 |  |  |  |
|  | NueBauer Chamber | 4 |  |  |  |
|  | Hemoglobinometer | 4 |  |  |  |
|  | Test Tube | As required |  |  |  |
|  | Spirit Lamp | 4 |  |  |  |
|  | Stains for – Leishman’s staining | As required |  |  |  |
|  | - AFB staining | - do - |  |  |  |
|  | - Grams Staining | - do - |  |  |  |
|  | Dextrostix | As required |  |  |  |
|  | Multisix | - do - |  |  |  |
|  | Uristix | - do - |  |  |  |
|  | Micro Erythrocite Sedimntation Rate |  |  |  |  |
|  | (ESR) tubes | As required |  |  |  |
|  | Filter Paper | As required |  |  |  |
|  | Bone marrow needle | 4 |  |  |  |
|  | Lumbar Puncture (L.P.) Needles | 4 |  |  |  |
|  | Pleural aspiration needle | 4 |  |  |  |
|  | Vim-Silverman Liver Biopsy needle | 4 |  |  |  |
|  | Mengneiz needle | 4 |  |  |  |
|  | True cut Renal Biopsy needle | 4 |  |  |  |
|  | X-ray view box | 1 |  |  |  |

        - Miscellaneous

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Radiant Warmer | 1 |  |  |  |
|  | Infant Incubator | 1 |  |  |  |
|  | Phototherapy unit | 1 |  |  |  |
|  | Ophtholmoscope | 1 |  |  |  |
|  | Thermometer-Oral | As required |  |  |  |
|  | Rectal | As required |  |  |  |

DEPARTMENT OF PSYCHIATRY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Electro convulsive therapy (E.C.T) machine preferably with ECG monitoring | 3 |  |  |  |
|  | E.E.G. monitoring | 1 |  |  |  |
|  | ECG Machine | 1 |  |  |  |
|  | EEG Machine | 1 |  |  |  |
|  | Lithium Analyzer | 1 |  |  |  |
|  | Biofeed-back instruments (sets) | 1 |  |  |  |
|  | Thin layer chromatography (for dependence treatment) | 1 |  |  |  |
|  | Alcohol breath analyzer | 1 |  |  |  |

Psychological Tests equipment

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Project tests | 4 |  |  |  |
|  | Intelligence tests | 4 |  |  |  |
|  | Personality tests | 4 |  |  |  |
|  | Neuro psychological tests | 4 |  |  |  |

### DEPARTMENT OF SURGERY

- O.P.D

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Blood pressure Apparatus, Stethoscopy, Diagnostic kit, weighing machine, skinfold Caliper, weight scale | 8 |  |  |  |
|  | X-ray viewing box 4 in 1 | 8 |  |  |  |
|  | Proctoscope and Gabriel syringe | 8 |  |  |  |
|  | Sigmoidoscope (Rigid) | 2 |  |  |  |
|  | Flexible Endoscope, upper GI | 2 |  |  |  |
|  | Colonoscope (one set in Main O.T) |  |  |  |  |
|  | Diagnostic Cystoscope | 1 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Uroflowmetry | 1 |  |  |  |

ii) MINOR O.T.

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Operation Theatre Table | 2 |  |  |  |
|  | Operation Theatre Ceiling light | 2 |  |  |  |
|  | Pedestal lights | 4 |  |  |  |
|  | Electro-surgical unit | 1 |  |  |  |
|  | Suction | 4 |  |  |  |
|  | Pulse Oximeter(one for Endoscopy Room) | 4 |  |  |  |
|  | Anaesthesia Equipment | 1 set |  |  |  |
|  | Resuscitation kit | 1 |  |  |  |
|  | Assorted surgical instrument for minor operation sets | 12 |  |  |  |
|  | Autoclave | 1 |  |  |  |

### WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | B.P.Apparatus, Stethescope, diagnostic kit (4 sets in each ward) | 16 sets |  |  |  |
|  | Weighing Machine, height scale, skin fold caliper (2 each in each ward) | 8 |  |  |  |
|  | Proctoscope (2 in each ward) | 8 |  |  |  |
|  | Monitors for pulse rate, Heart rate, E.C.G. Invasive and non-invasive Pressure (2 in each ward) | 8 |  |  |  |
|  | Incubators / Transport incubators | 4 |  |  |  |
|  | Neonatal Bassinet | 4 |  |  |  |
|  | Ultrasound | 1 |  |  |  |
|  | Arterial blood analyzer | 1 |  |  |  |
|  | Oesophageal / Gastric pH & Pressure recorder | 1 |  |  |  |

Iii) OPERATION THEATRE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Operating Tables | 8 |  |  |  |
|  | Operating Ceiling lights | 8 |  |  |  |
|  | Paedestal side light (for emergency use) | 4 |  |  |  |
|  | Electrosurgical unit | 10 |  |  |  |
|  | General sets (8 for each operation Theatre) | 64 |  |  |  |
|  | Burr hole set | 2 |  |  |  |
|  | Vascular set (1 in each O.T) | 8 |  |  |  |
|  | Anaesthesia equipment as per requirement of Anaesthesia department diagnostic and Operative Laparoscop | 2 |  |  |  |
|  | Cystoscope and Resectoscope | 2 |  |  |  |
|  | Bronchoscope | 1 |  |  |  |
|  | Flexible G.I. Endoscope | 1 |  |  |  |
|  | Laser (May be shared with other Dept) | 1 |  |  |  |
|  | C-Arm Image Intensifier | 1 |  |  |  |
|  | Operating microscope-binocular with Video monitor | 1 |  |  |  |
|  | Operative ultrasound | 1 |  |  |  |
|  | Stapling device assorted | 2 sets |  |  |  |
|  | Endo-stapler | 1 set |  |  |  |
|  | Closed circuit T.V. | 2 |  |  |  |

iv) MISCELLANEOUS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Photocopier | 1 |  |  |  |
|  | Computer with laser Printer | 1 |  |  |  |
|  | Electronic Typewriters | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Over head Projector | 2 |  |  |  |
|  | Video Cassett Recorder/video Cassette Player | 1 |  |  |  |

### DEPARTMENT OF PAEDIATRIC SURGERY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks of Inspection Team |
| --- | --- | --- | --- | --- | --- |
|  | Resuscitation equipment |  |  |  |  |
|  | Ambubags | 6 |  |  |  |
|  | ET tubes (all sizes 2.5-8) | 10 sets |  |  |  |
|  | Guedell’s air way (all sizes) | 8sets |  |  |  |
|  | Laryngoscope | 6 |  |  |  |
|  | Suction Catheters assorted sizes | 30 sets |  |  |  |
|  | Suction machines | 6 |  |  |  |
|  | Oxygen cylinders Oxygen | 12 |  |  |  |
|  | B.P.Apparatus | 12 |  |  |  |
|  | Slow suction machine | 4 |  |  |  |
|  | Nebulizer | 4 |  |  |  |
|  | Heater | 4 |  |  |  |
|  | I.C.U. equipment incubator | 4 sets |  |  |  |
|  | Operation Theatre equipment | 2 |  |  |  |
|  | Cystoscope – Paediatrics | 2 |  |  |  |
|  | Rigid Bronchoscope (sets) | 2 |  |  |  |
|  | Oesophageal dilators (sets) | 2 |  |  |  |
|  | Paediatrics Sigmoidoscope | 2 |  |  |  |

### DEPARTMENT OF ORTHOPAEDICS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Basic instrumentation set for fracture | 8 sets |  |  |  |
|  | Mall fragment and large fragment | 4 |  |  |  |
|  | External fixator | 8 |  |  |  |
|  | C-Arm (Image Intensifier) | 2 |  |  |  |
|  | Portable x-ray Machine | 1 |  |  |  |
|  | Arthroscope | 1 |  |  |  |
|  | Slide Projector | 1 |  |  |  |
|  | Over-head projector | 1 |  |  |  |
|  | Movie Camera for demonstration of live operations | 1 |  |  |  |
|  | Plaster room equipment (sets) with plastic table | 2 |  |  |  |

### DEPARTMENT OPHTHALMOLOGY

i) O.P.D

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Snellen chart snellen drum with or without remote control | 6 |  |  |  |
|  | Trial set with trial fame both for adult and children | 6 |  |  |  |
|  | Bjerrum screen | 2 |  |  |  |
|  | Perimeter | 2 |  |  |  |
|  | Colour vision chart | 3 |  |  |  |
|  | Near vision chart with different language | 6 |  |  |  |
|  | 3 cell torch | 12 |  |  |  |
|  | Ophthalmoscope and Retinoscope | 6 |  |  |  |

### Common equipments in the OPD

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Sit lamp | 3 |  |  |  |
|  | Applanation tonometer | 2 |  |  |  |
|  | Keratometer | 2 |  |  |  |
|  | Indirect ophthalmoscope | 2 |  |  |  |
|  | Synoptophore | 2 |  |  |  |
|  | Maddox rod | 2 |  |  |  |
|  | Maddox wing | 2 |  |  |  |
|  | Diplopia goggles | 1 |  |  |  |
|  | Gonioscope | 2 |  |  |  |
|  | Placido disc | 2 |  |  |  |
|  | Prism bar | 2 |  |  |  |
|  | Schoutz tonometer | 4 |  |  |  |

ii) MAJOR Operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operating microscope with TV unit with camera | 2 |  |  |  |
|  | Cyro Unit | 2 |  |  |  |
|  | Cataract Set | 7 |  |  |  |
|  | Glaucoma set | 3 |  |  |  |
|  | DCR set | 3 |  |  |  |
|  | Entropian set | 3 |  |  |  |
|  | Enucleation set | 3 |  |  |  |
|  | Eviscerations set | 2 |  |  |  |
|  | Squint set | 2 |  |  |  |

ii) GENERAL OPHTHALMIC EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operation Theatre Table | 2 |  |  |  |
|  | Operation Theatre light | 2 |  |  |  |

iv) MINOR Operation Theatre: Minor OT should have the equipment for the removal of the foreign body, sutures and chalzion or style etc.

v) WARD

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Slit lamp |  |  |  |  |
|  | Snellen Chart/ snallen drum with or without remote control | 1 |  |  |  |
|  | Trial set with trial frame both for adult and children | 1 |  |  |  |
|  | Bjerri, screen | 1 |  |  |  |
|  | Perimeter | 1 |  |  |  |
|  | Colour vision chart | 1 |  |  |  |
|  | Near vision chart with different language | 6 |  |  |  |
|  | 3 cell torch | 6 |  |  |  |
|  | Opthalmoscope and retinoscope | 2 |  |  |  |

10) DEPARTMENT OF ENT

i) OPD					(Per doctor)

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Nasal spectulum | 4 |  |  |  |
|  | Tongue depressor | 4 |  |  |  |
|  | Laryngeal mirrors | 4 |  |  |  |
|  | Nasopharyngeal mirrors | 4 |  |  |  |
|  | Aural speculum | 4 |  |  |  |
|  | Ear suction | 2 |  |  |  |
|  | Nasal suction | 2 |  |  |  |
|  | Suction apparatus | 1 |  |  |  |
|  | Siegles speculum | 1 |  |  |  |
|  | Tuning fork (512 Hz) | 1 |  |  |  |
|  | Otoscope | 2 |  |  |  |
|  | Bayonet forces | 1 |  |  |  |
|  | Bulls lamp | 1 |  |  |  |
|  | Head lamp | 1 |  |  |  |
|  | ENT examination Chair | 2 |  |  |  |
|  | Jobson Horne probe | 1 |  |  |  |
|  | Sterilizer | 1 |  |  |  |
|  | BP Apparatus | 1 |  |  |  |
|  | Stethoscope | 1 |  |  |  |

ii) MAJOR Operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Tonsillectomy and Adenoidectomy set | 2 |  |  |  |
|  | b) Set for nasal bone fracture Asch forceps | 1 |  |  |  |
|  | c) Septoplasty set | 1 |  |  |  |
|  | d) Caldwel Iue set | 1 |  |  |  |
|  | e) Antrostomy set | 1 |  |  |  |
|  | f) FESS set | 1 |  |  |  |
|  | g) Direct laryngoscopy set | 1 |  |  |  |
|  | h) Microlaryngoscopy set | 1 |  |  |  |
|  | i) Tympanoplasty set | 1 |  |  |  |
|  | j) Mastoidectomy set | 1 |  |  |  |
|  | k) Stapedctomy set | 1 |  |  |  |
|  | l) Oesophagoscopy set | 1 |  |  |  |
|  | m) Bronchoscopy set | 1 |  |  |  |
|  | n) Tracheostomy set | 1 |  |  |  |

iii) MINOR operation Theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Antral wash set | 2 |  |  |  |
|  | b) Direct Laryngoscope set | 1 |  |  |  |
|  | Biopsy forceps | 1 |  |  |  |
|  | Foreign body removal forceps | 1 |  |  |  |
|  | Sterilizer | As required |  |  |  |
|  | Aural syringe | As required |  |  |  |
|  | Tracheostomy set | As required |  |  |  |
|  | Intubation set | As required |  |  |  |
|  | Cricothyrotomy set | As required |  |  |  |

iv) WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Semi intensive care unit (4 beds) | As required |  |  |  |
|  | Central suction | As required |  |  |  |
|  | Oxygen | As required |  |  |  |
|  | Humidifier | As required |  |  |  |
|  | Optional for MBBS | As required |  |  |  |

v) MISCELLANEOUS EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Operating microscope for major operation Theatre | 1 |  |  |  |
|  | For minor operation theatre | 1 |  |  |  |
|  | Puretone audiometer | As required |  |  |  |
|  | Impendance audiometer | As required |  |  |  |

SPECIAL EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | a) Temporal bone lab Microscope |  |  |  |  |
|  | b) Drill |  |  |  |  |
|  | Mastoid set | 1 |  |  |  |
|  | Optional for MBBS | 1 |  |  |  |

vi) ANY OTHER ADDITIONAL EQUIPMENT WHICH ARE DESIRABLE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Flexible nasopharyngolaryngoscope | 1 |  |  |  |
|  | Electronystagmograph | 1 |  |  |  |
|  | Brainstem evoked response audiometer | 1 |  |  |  |
|  | Goggles, plastic apron, gloves for examination of patients with biohazard (HIV and Au positive) | 6 sets |  |  |  |
|  | FESS unit | 2 sets |  |  |  |

(11) DEPARTMENT OF OBSTETRICS AND GYNAECOLOGY

i) General

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Speculums and retractors | 75 |  |  |  |
|  | EA+ECC sets | 30 |  |  |  |
|  | PCT forceps | 15 |  |  |  |
|  | Ayers spatula | 45 |  |  |  |
|  | Cytology bottle | 45 |  |  |  |
|  | Microscope | 3 |  |  |  |
|  | MR Syringes | 15 |  |  |  |
|  | Colonoscope | 3 |  |  |  |
|  | Cryo/electro cautery apparatus | 3 |  |  |  |
|  | Simple fetal Doppler | 3 |  |  |  |
|  | NST Machine | 6 |  |  |  |
|  | Stitch removal sets | 15 |  |  |  |
|  | Dressings sets | 15 |  |  |  |
|  | Ultrasound machine | 3 |  |  |  |
|  | Proctoscope | 9 |  |  |  |
|  | Weighing machine | 3 |  |  |  |
|  | Height scale | 3 |  |  |  |
|  | View box (Blood pressure apparatus, measuring tapes, syringes, needles, torch) | 3 |  |  |  |
|  | Resuscitation tray (Laryngoscope, ET Tube, Ambu bag, suction catheter, Essential drugs). | 2 |  |  |  |
|  | Suction machine | 2 |  |  |  |
|  | Hysterosalphigogram Canula | 15 |  |  |  |

ii) Main operation theatre

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Abdominal Hysterectomy set (Arteries, scissors, scalpel, Allis’s kelly’s clamps, Badcock forceps, thumb forceps, Harington & Richardson retractors) |  |  |  |  |
|  | Vaginal Hysterectomy set (Scalpel, scissors, Metal Catheter, Sim’s speculum volsellum, Kelly’s clamps, Right angle retractor, arteries , Allis, uterine sound, bladder sound). | 9 |  |  |  |
|  | Tuboplasty set | 6 |  |  |  |
|  | Myomectomy instruments (Myoma screw, Boney’s clamp) | 3 |  |  |  |
|  | Diagnostic laparoscopy set | 6 |  |  |  |
|  | Hystroscopy set | 3 |  |  |  |
|  | Electronic Carbondioxide insuffator/ Insuffator basic unit | 6 |  |  |  |
|  | Resctoscope | 3 |  |  |  |
|  | Hyseromat | 3 |  |  |  |
|  | Operation microscope/ Loupe | 2 |  |  |  |
|  | Electrocauter | 3 |  |  |  |

iii) SPECIAL EQUPIMENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Contact microhystroscope | 2 |  |  |  |
|  | Co2 & Nd Yag laser | 1 |  |  |  |

iv) LABOUR ROOM

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Delivery sets | 30 |  |  |  |
|  | B.P.Apparatus | 9 |  |  |  |
|  | Weighing machine | 2 |  |  |  |
|  | Fetal Doppler | 1 |  |  |  |
|  | Cardiotocogram machine | 5 |  |  |  |
|  | Portable ultrasound | 2 |  |  |  |
|  | High suction machine | 3 |  |  |  |
|  | Resuscitation tray | 3 |  |  |  |

v) SPECIAL EQUIPMENT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Oxytocin infusion pumps | 9 |  |  |  |
|  | Multichannel monitors | 6 |  |  |  |
|  | Intrauterine Pressure monitoring system | 6 |  |  |  |
|  | Fetal scalp electrodes Facilities for fetal Scalp pH | 4 |  |  |  |

vi) TEACHING SET

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Doll and Dummy | 3 |  |  |  |
|  | Female Pelvis | 3 |  |  |  |
|  | Gross specimens |  |  |  |  |
|  | X-ray/US films view box | 3 |  |  |  |
|  | VCR | 3 |  |  |  |
|  | Overhead Projector | 1 |  |  |  |
|  | Slide Projector | 2 |  |  |  |
|  | Set of instruments/foreceps etc. |  |  |  |  |

vii) MISCELLANEOUS

Camera with 200 m lens Endocamera/Television, TTL flash light, Carbondioxide

Monitor, Calculator channelizer, Disposables, to be issued on monthly basis.

viii) MINOR OPERATION THEATRE

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Cervical biopsy set | 10 |  |  |  |
|  | MTP set | 15 |  |  |  |
|  | D&C set | 15 |  |  |  |
|  | Hydrotubation set | 6 |  |  |  |
|  | IUCD insertion/removal set | 20 |  |  |  |
|  | High suction machine | 4 |  |  |  |
|  | Resuscitation tray | 1 |  |  |  |
|  | E.B.Set (O.T. Lights, OT tables) | 10 |  |  |  |

ix) MATERNITY O.T.

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Set for LSCS | 12 |  |  |  |
|  | D&C set | 15 |  |  |  |
|  | MTP set | 15 |  |  |  |
|  | High suction machine | 4 |  |  |  |
|  | Cervical exploration set | 6 |  |  |  |
|  | Uterine packing forceps | 6 |  |  |  |
|  | Abdominal hysterectomy set | 3 |  |  |  |
|  | Diagnostic laparoscopy set | 4 |  |  |  |
|  | Laprocator for tubal ligation | 6 |  |  |  |
|  | Postputum ligation | 6 |  |  |  |
|  | Outlet forceps | 9 |  |  |  |
|  | Low mid cavity forceps/kjielland forceps | 6 |  |  |  |
|  | Vaccum Extractor and suction machine | 6 |  |  |  |
|  | Resuscitation tray | 3 |  |  |  |
|  | Decapitation hook | 3 |  |  |  |
|  | Cranioclast with cephalotribe | 3 |  |  |  |
|  | Oldham Perforator | 2 |  |  |  |
|  | Infusion Pump | 6 |  |  |  |
|  | EB set | 6 |  |  |  |
|  | Operation Theatre table, operation theatre lights, Central oxygen and suction |  |  |  |  |

x) SPECIAL EQUIPMENT:

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Multichannel monitor with ECG, BP, HR, Pulse oxymetry for high risk pregnant patients (eclampsia, heart diseases etc). | 3 |  |  |  |

xi) WARDS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Blood Pressuer Apparatus | 10 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Speculum and retractors | 100 |  |  |  |
|  | Glucometer | 2 |  |  |  |
|  | Microscope | 2 |  |  |  |
|  | Suture removal sets | 15 |  |  |  |
|  | Dressing sets | 20 |  |  |  |
|  | Ultrasound | 2 |  |  |  |
|  | Cutdown sets | 3 |  |  |  |
|  | Blood gas analyzer | 1 |  |  |  |
|  | CTG machine | 2 |  |  |  |
|  | Suction machine | 4 |  |  |  |
|  | Resuscitation tray | 4 |  |  |  |
|  | View box | 3 |  |  |  |

xii) SPECIAL EQUIPMENTS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Ultrasound machine with Doppler/Vaginal Probe/ | 2 |  |  |  |
|  | Facilities for Interventional procedure |  |  |  |  |
|  | Multichannel Monitor | 2 |  |  |  |
|  | Fetal Monitor for Antepartum Surveillance | 3 |  |  |  |
|  | Computer for data entry (Gloves, syringes, needles, torch, measuring tape etc) | 1 |  |  |  |

xiii) Laboratory equipment for following investigations:

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | H-Gram |  |  |  |  |
|  | Urine Examination |  |  |  |  |
|  | Semen Analysis |  |  |  |  |
|  | Renal function Test (RFT), Liver function test (LFT), Including Serum Blutamase Test (SBT) Electrolytes, Blood sugar Culture facilities |  |  |  |  |
|  | 24 hr. urine alb. Creatinine |  |  |  |  |
|  | VDRL, TORCH |  |  |  |  |
|  | HIV |  |  |  |  |
|  | Serum, BHCG, estroil, MSAFP |  |  |  |  |
|  | Semen wash |  |  |  |  |
|  | FSH, LH PROCLACTIN, T3, T4, TSH, Testosterone, DHEAS |  |  |  |  |
|  | Chlamydia and other reproductive tract infection testing |  |  |  |  |
|  | GENETIC LAB: Cytology chromosome study, PCR for various |  |  |  |  |
|  | Abnormalities. Facilities for biochemical tests. And enzyme studies for prenatal diagnosis |  |  |  |  |
|  | Blood gas analyzer |  |  |  |  |
|  | Thalassemia study |  |  |  |  |
|  | ABO and Rh typing |  |  |  |  |
|  | PCR for tuberculosis |  |  |  |  |
|  | Viral markers for Hepatitic studies. |  |  |  |  |
|  | Coagulation profile, fibrinogen degradation products, Blood bank facilities. |  |  |  |  |
|  | Cryopresservation. |  |  |  |  |
|  | Assisted reproductive techniques. |  |  |  |  |

(12) DEPARTMENT OF ANAESTHESIOLOGY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | OPD-Anaesthesia clinic |  |  |  |  |
|  | Blood Pressure Instrument (Non-invasive) | 1 |  |  |  |
|  | Weighing machine | 1 |  |  |  |
|  | Height scale | 1 |  |  |  |
|  | Ware (Recovery) |  |  |  |  |
|  | Resucitation equipments (CPR) |  |  |  |  |
|  | a) Adult Dummy | 1 |  |  |  |
|  | b) Paediatric dummy | 1 |  |  |  |
|  | c) Artificial breathing Bag with face Masks |  |  |  |  |
|  | d) Defibrillator Suction machine |  |  |  |  |
|  | - Electrical | 5 |  |  |  |
|  | - Manual | 5 |  |  |  |
|  | Oxygen therapy unit | 8 |  |  |  |
|  | Pulse Oximeter | 2 |  |  |  |
|  | E.C.G. Monitor | 2 |  |  |  |
|  | E.T. Co.2 Monitor | 1 – one for each O.T. |  |  |  |
|  | Simple anaesthesia machine with resuscitation equipments and accessories | 1 |  |  |  |
|  | Machanical Ventilator | 2 |  |  |  |

(13) DEPARTMENT OF RADIO-DIAGNOSIS

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Conventional x-ray unit for routine x-ray and IVV | 4 |  |  |  |
|  | Mobile x-ray units |  |  |  |  |
|  | a) 30 MA | 3 |  |  |  |
|  | b) 60 MA | 3 |  |  |  |
|  | Fluroscopic unit | 2 |  |  |  |
|  | Both conventional and image intensifying unit for gastro enterology & gynae work etc. | 2 |  |  |  |
|  | Ultrasonography equipment |  |  |  |  |
|  | 2+1 additional unit independently for Obstetrics and Gynaecology. |  |  |  |  |
|  | CT | 1 |  |  |  |
|  | Mammography (preferably) MRI (preferably) |  |  |  |  |

OPTIONAL DEPARTMENTS

(14) RADIO-THERAPY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Examination Table | 4 |  |  |  |
|  | ENT examination set up | 2 |  |  |  |
|  | Gynae/pelvic examination tables | 2 |  |  |  |
|  | Treatment planning and mould room including |  |  |  |  |
|  | i) Computerised treatment planning system | 1 |  |  |  |
|  | ii) Simulator | 1 |  |  |  |
|  | iii) Immobilization cast making system | 1 |  |  |  |

#### Brachytherapy setup

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) Manual afterloading intercavitory system (sets) | 2 |  |  |  |
|  | ii) Manual afterloading | 1 |  |  |  |
|  | Interstitial / surface mould systems (sets) |  |  |  |  |

Teletherapy set-up

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Isocentrically mounted | 2 |  |  |  |
|  | Rotational telecobalt |  |  |  |  |
|  | Unit minimum 80 cm SSD |  |  |  |  |

#### Radiation Protection and Dosimetry set-up

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) Secondary standard dosimeter with ionization chamber | 2 |  |  |  |
|  | ii) Survey meter | 2 |  |  |  |
|  | iii) Area/Zone monitors (by BARC) As per the number of staff members in the department | 4 |  |  |  |

#### Radiotherapy Department

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | i) Dual Photon energy linear accelerator with electrons and multileaf collimeter | 1 |  |  |  |
|  | ii) Remote controlled intracavitory system | 1 |  |  |  |
|  | iii) Remote controlled interstitial system | 1 |  |  |  |
|  | iv) CT-Sim 3D treatment | 1 |  |  |  |
|  | Planning system |  |  |  |  |
|  | v) Isodose plotte (Automatic) | 1 |  |  |  |
|  | vi) Customised shielding | 1 |  |  |  |
|  | v) Block making system |  |  |  |  |
|  | vii) Customised compensator making system | 1 |  |  |  |
|  | viii) Computerised Dosimetry system | 1 |  |  |  |
|  | ix) Thermoluminiscent dosimetry system | 1 |  |  |  |
|  | x) Intra operative Radiotherapy and stereotactic radiotherapy set up alongwith linear accelerator (multi leaf). | 1 |  |  |  |

N.B: Normally one teletherapy unit should be provided for every 1000 new cancer cases.

All radiation therapy equipments (tele/Brachy) should be BARC type approved with BARC sanctioned layout / installation plan.

(15) PHYSICAL MEDICINE and REHABILITATION

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | 1. Rehabilitation Diagnosis and treatment equipments including exercise set-ups |  |  |  |  |
|  | 2. Remedial and recreational set up |  |  |  |  |
|  | 3. Electrotherapy equipments |  |  |  |  |
|  | 4. Prosthetic-Orthotic workshop equipments. |  |  |  |  |

(C) OTHER DEPARTMENTS

1. MEDICAL EDUCATION UINIT

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Overhead Projectors | 2 |  |  |  |
|  | Slide Projectors | 2 |  |  |  |
|  | Computer with printer | 1 |  |  |  |
|  | Electronic Typewriter | 1 |  |  |  |
|  | Video Camera | 1 |  |  |  |
|  | Video cassette Recorder | 1 |  |  |  |
|  | Television | 1 |  |  |  |
|  | Black board | 2 |  |  |  |
|  | Xerox copier | 1 |  |  |  |
|  | Books and Journals | As required |  |  |  |

2. DEPARTMENT OF AUDIO VISUAL AIDS

ARTIST SECTION

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Drawing Board size 42” x 27” | 1 |  |  |  |
|  | Drawing Board size 22” x 30” | 1 |  |  |  |
|  | Instrument box steadler | 1 |  |  |  |
|  | Plastic Transparent set square 10” | 1 pair |  |  |  |
|  | Plastic scale transparent 18” | 1 |  |  |  |
|  | Parallel ruler 18” | 1 |  |  |  |
|  | Proportional Compass | 1 |  |  |  |
|  | Bowpen “Stanley” one for fine and one for thick line | 2 |  |  |  |
|  | “T” scale 24” wooden. | 1 |  |  |  |
|  | “T” scale 48” wooden | 1 |  |  |  |
|  | Frenat curves plastic 1 set of 12 | 1 set |  |  |  |
|  | Protractor plastic semiround 6” dia | 1 |  |  |  |
|  | Kent paper size 22” x 30” | 12 |  |  |  |
|  | Scolor drawing paper 22” x 30” | 12 |  |  |  |
|  | Drawing paper Norway 72 lbs | 12 |  |  |  |
|  | Water colour tubes “Winsor and Newton” | 24 |  |  |  |
|  | Posterocolours in different shades | 13 |  |  |  |
|  | Reeves Indian black ink | 12 |  |  |  |
|  | Water colour box “Peliken” Sable Hari brushes | 16 |  |  |  |
|  | Series No. 00 to 6 and 10 | 8 |  |  |  |
|  | Speed ball nibs style A.B.C. & D | 1 set |  |  |  |
|  | Crequil Nibs | 12 |  |  |  |
|  | Drawing Nibs 303 and 304 | 12 |  |  |  |
|  | Clip Holders | 6 |  |  |  |
|  | Computer facilities | As required |  |  |  |

### MODELLING SECTIONS AND PHOTROGRAPHY

| Sl. No. | Equipment | Minimum No. required | Available No. | Shortage | Remarks |
| --- | --- | --- | --- | --- | --- |
|  | Modeling instrument box | 1 |  |  |  |
|  | Saw for wood work | 1 |  |  |  |
|  | Bew saw iron | 1 |  |  |  |
|  | Jamboor | 1 |  |  |  |
|  | Plier | 1 |  |  |  |
|  | Plier Goldsmith | 1 |  |  |  |
|  | Scissors Goldsmith | 1 |  |  |  |
|  | Hammer | 1 |  |  |  |
|  | Mortar Iron | 1 |  |  |  |
|  | Bucket Iron | 1 |  |  |  |
|  | Chisel | 1 |  |  |  |
|  | Tagari Iron | 1 |  |  |  |
|  | E.L.Bowls | 4 |  |  |  |
|  | Drill Machine | 1 |  |  |  |
|  | Modelling clay | As required |  |  |  |
|  | Chalk clay | As required |  |  |  |
|  | Multani clay | As required |  |  |  |
|  | Yellow clay | As required |  |  |  |
|  | Soft stone powder | As required |  |  |  |
|  | Plaster of Paris | As required |  |  |  |
|  | Old raddy | As required |  |  |  |
|  | Gum | As required |  |  |  |
|  | Stand paper | As required |  |  |  |
|  | Plasticine | As required |  |  |  |
|  | Wires G.I. copper and wire netting | As required |  |  |  |
|  | Synthetic Enamel colours 1/16 gallon | As required |  |  |  |
|  | Oil colour brushes | As required |  |  |  |
|  | Soap and coconut oil | As required |  |  |  |
|  | Epidiascope B & L or alatis | 4 |  |  |  |
|  | Radiant Screen size 72” x 72” | 2 |  |  |  |
|  | 16 mm. Film projector bell and Howell |  |  |  |  |
|  | Camera Rollieflex automatic |  |  |  |  |
|  | Camera 35 mm. Contax 4/D with copying attachment |  |  |  |  |
|  | Microscopic attachment of Contax |  |  |  |  |
|  | Micro Projectr Zeiss or B&L |  |  |  |  |
|  | Enlarger Omega D2 |  |  |  |  |
|  | Dark room and developing equipment35 mm. Slide projector viewlex. |  |  |  |  |
|  | Lumbar puncture needles (disposable) |  |  |  |  |

CERTIFICATE

This is to certify that the information furnished in this LIC inspection format is true to the best of my knowledge and belief.

Date:									Signature of the Principal

with office seal.

Place:

##### RAJIV GANDHI UNIVERSITY OF HEALTH SCIENCES, KARNATAKA, BANGALORE

POST GRADUATE MEDICAL EDUCATION: MINIMUM REQUIREMENTS.

The regulations prescribed by MCI as amended from time to time are strictly followed.  In brief the requirements are given below:

1. The Medical College whose MBBS course is recognized by MCI after the first batch has completed the course can start Post Graduate Degree and Diploma Courses.

2. Minimum requirements prescribed by MCI for UG courses must be present.  In addition extra requirements are present for each individual departments which starts PG course.

3. Department with PG course should have a separate research lab of minimum of 50 Sq. mtrs, in addition to the Central Research Lab

4. Student Teacher ratio to be maintained at 1:1.

5. Extra staff required for Post Graduate Degree in different subjects in addition to the UG Courses is given below:

Anatomy:             1. Asso. Professor – 1

2. Asst. Professor  – 1

3. Demonstrators   – 1

4.Steno/Typist       -  1

Physiology:		- do-

Biochemistry:		- do-

Pathology		-do-

Microbiology		-do-

Pharmacology		-do-

Community Medicine	-do-

Radio diagnosis	-do-

Radiotherapy		-do-

Anesthesiology	-do-

Forensic Medicine	-do-

Department of Medicine, Surgery & OBG

Each Unit shall have in addition one whole time Asst. Professor and Steno

Staff for Ancillary Department

1. All ancillary braches running Post Graduate courses should have at least 60 beds in case of broad specialties and 20 beds in higher specialties.  A Unit shall consitst of 30 beds for MD/MS.

2. To determine the number of students who may be admitted for training, Out patient attendence, work turnover and ambulatory care, also have to be taken in to consideration.

3. Adequate Laboratory must be available for training

4. The department shall have adequate number of al equipments including the latest once necessary for training as prescribed by MCI

5. All these ancillary departments should have Professor in charge instead of Asso. Professor.

A detailed training programme for Degree and Diploma as prescribed by MCI must be present.  PG’s should take part in UG training.

What is the contribution of the Institution to the Civil Society in terms of social accountability: (This can be answered by the inspectors in discussion with the authorities of the Institution).

To enclose relevant documents